## Schedule 1
Rate=H | MOSES KOTANE LOCAL MUNICIPALITY
<NewDataSet>· <xs:schema id="NewDataSet" xmlns="" xmlns:xs="http://www.w3.org/2001/XMLSchema" xmlns:msdata="urn:schemas-microsoft-com:xml-msdata">· <xs:element name="NewDataSet" msdata:IsDataSet="true" msdata:MainDataTable="SummaryItems" msdata:UseCurrentLocale="true">· <xs:complexType>· <xs:choice minOccurs="0" maxOccurs="unbounded">· <xs:element name="SummaryItems">· <xs:complexType>· <xs:sequence>· <xs:element name="ContractNo" type="xs:short" minOccurs="0" />· <xs:element name="ScheduleNo" type="xs:short" minOccurs="0" />· <xs:element name="SortNo" type="xs:short" minOccurs="0" />· <xs:element name="Item" type="xs:string" minOccurs="0" />· <xs:element name="SubTotalText" type="xs:string" minOccurs="0" />· <xs:element name="Description" type="xs:string" minOccurs="0" />· <xs:element name="CalcType" type="xs:string" minOccurs="0" />· <xs:element name="CalcValue" type="xs:double" minOccurs="0" />· <xs:element name="UseFirstSubTotal" type="xs:boolean" minOccurs="0" />· <xs:element name="ExclFromWorks" type="xs:boolean" minOccurs="0" />· <xs:element name="ExclFromProjected" type="xs:boolean" minOccurs="0" />· </xs:sequence>· </xs:complexType>· </xs:element>· </xs:choice>· </xs:complexType>· </xs:element>· </xs:schema>·</NewDataSet>
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
1200A : GENERAL REQUIREMENTS AND CHARGES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
199 |  |  |  | SECTION 1 : PRELIMINARY AND GENERAL
200 |  | PSA 8.3 |  | Preliminary and general charges
1997 | A1.1 |  |  | a) Fixed charges | L/SUM | 1 | 0 | 0
1998 | A1.2 |  |  | b)Time-related charges | month | 6 | 0 | 0
2389 |  | 8.3.2 |  | Scheduled Fixed-Charge and Value-Related Items
2390 |  | 8.3.2.1 C3.4.5.2 |  | Facilities for Engineer
2393 | A1.3 | PSAB2 8.3.2.1 |  | a) Office complete as specified including monthly levies | month | 6 | 0 | 0
2394 | A1.4 |  |  | b) Supply and erect a contract notice board (2.8m x 1.9m x 1.6mm thick chromodeck steel plate to be reveted @ 200mm centre along the square steel tubing frame) | No | 2 | 0 | 0
2385 |  | 8.6 |  | Prime Cost and provisional Sums
3651 | A1.5 |  |  | a) Living accommodation | PC Sum | 1 | 82000 | 82000
2558 | A1.6 |  |  | b) Community liaison officer | Prov Sum | 1 | 30000 | 30000
2557 | A1.7 |  |  | c) Steering Committee Members (SCM’s) - max. of 5 individuals | Prov Sum | 1 | 20000 | 20000
2387 | A1.8 |  |  | d) Allowance for control survey, testing and the placement of erf pegs by a land surveyor as required by the engineer | PC Sum | 1 | 10000 | 10000
3843 | A1.9 | 10.3.5 |  | e) Materials for dayworks | Prov Sum | 1 | 5000 | 5000
2388 | A1.10 |  |  | f) Handling cost and profit in respect of prime cost and Provisional sums | % | 147000 | 0 | 0
| Total Carried Forward | [6 empty] | 147000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
1200A : GENERAL REQUIREMENTS AND CHARGES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 147000
1999 |  | 8.8 |  | Temporary Works
2371 | A1.11 | 8.8.1 |  | Main Access Road Works | Prov Sum | 1 | 60000 | 60000
3853 | A1.12 |  |  | A) Handling cost and profit in respect of prime cost and Provisional sums | % | 60000 | 0 | 0
3844 | A1.13 | 8.8.2 |  | (a) Dealing with traffic or accommodation of traffic | Sum | 1 | 0 | 0
2000 | A1.14 | 8.8.4 | LI | (c) Excavate by hand in soft material to expose services | m³ | 50 | 0 | 0
3653 | A1.15 |  |  | (e) Relocation or protection of existing services | Prov Sum | 1 | 40000 | 40000
3854 | A1.16 |  |  | f) Handling cost and profit in respect of prime cost and Provisional sums | % | 40000 | 0 | 0
2372 |  | PSA 8.8.10 |  | Compliance with Occupational Health and Safety Act and applicable regulations
2083 | A1.17 |  |  | a) Provision of Health and Safety Plan | L/SUM | 1 | 0 | 0
2084 | A1.18 |  |  | b) Provision of Health and Safety file | L/SUM | 1 | 0 | 0
2375 | A1.19 |  |  | c) Provision of a full-time safety officer | month | 6 | 0 | 0
2376 | A1.20 |  |  | d) Health and Safety training | L/SUM | 1 | 0 | 0
2377 | A1.21 |  |  | e) Provision of personal protective clothing and equipment (Incl. requirements for Covid 19) | L/SUM | 1 | 0 | 0
2378 | A1.22 |  |  | f) Provision of safety fences,signs and barricades | L/SUM | 1 | 0 | 0
| Total Carried Forward To Summary | [6 empty] | 247000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 2: BOREHOLES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
3654 |  |  |  | SECTION 2: BOREHOLES
3686 | SECTION 1 |  |  | SECTION 1: DRILLING OF NEW BOERHOLES
3673 |  | SANS-10299 |  | Boreholes ( acquifer and water quality tests).
3680 | B1.1 |  |  | Aquifer testing (Setp, constant, recovery) & Water sampling (ground water chemical analysis) for 2 boreholes | Prov Sum | 1 | 110000 | 110000
3682 | B1.2 |  |  | Registration of new boreholes at DWS | Prov Sum | 1 | 120000 | 120000
3849 | B1.3 |  |  | a) Handling cost and profit in respect of prime cost and Provisional sums | % | 230000 | 0 | 0
3683 | B1.4 |  |  | Closed-circuit Television (CCTV) inspection of boreholes | No | 3 | 0 | 0
3687 | SECTION 2 |  |  | SECTION 2: PROVIDE AND INSTALL CONCRETE BOREHOLE PUMPHOUSES
3684 |  | 8.2.1 SANS 1200GE |  | Provide and install Structural precast units
3685 | B2.1 |  |  | Supply and install Precast Concrete borehole Pumphouse 2.8m X 2.8m x 2m (CJC Precast spec or similar.) - Ref395 mesh on all panels, 4 additional Y16's @ 300 spacing in roof panels and at critical points with lockable 600 x 600 x 3mm thick steel access on roof slab, door using 3mm steel plate bent in pan shape with 1m x 1m inside panel to protect locking devices and including pumphouse floor slab: 3200mm x 3200mm x 150mm, 25MPa/19 with 395 mesh, 100mm blinding C3@95%. include plinth 80mm x 500mm x 500mm | No | 3 | 0 | 0
| Total Carried Forward | [6 empty] | 230000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 2: BOREHOLES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 230000
3842 | B2.2 | SANS1200DA |  | Steel Bars | t | 1 | 0 | 0
3848 | B2.3 | 8.3.2 |  | High-tensile welded mesh (ref 395) | kg | 200 | 0 | 0
4184 |  | 8.3.1 SANS 1200HA |  | FENCES & Gates
4185 | B2.4 |  |  | a) Supply and Erection of diamond Mesh fence 1.8m high including poles, stranded barb wire on top etc complete | m | 120 | 0 | 0
4186 | B2.5 |  |  | b) Single pedestrian gate size 1400 x 1800mm high formed of 50mm diameter x 2,8mm thick pipe framing all round complete with one 50mm diameter x 2,8mm thick pipe diagonal brace all neatly mitred and welded at intersections; the gate with two strands of 4mm thick galvanised mild steel straining wire mechanically strained between and securely fixed to gate styles and covered with and including 50mm mesh chain link netting of 3,15mm diameter galvanised mild steel wire securely fixed to straining wires and framing with and including 2mm galvanised binding wire, the one style fitted with and including two standard type pin and collar hinges bolted onto gate post (elsewhere) including drilling holes through gate post and other style with purpose made plate gate locking device and hand-hole opening formed of 10mm diameter bar 320mm girth bent to semi-circular shape and welded on, including locking mechanism. | No | 6 | 0 | 0
3688 | SECTION 3 | 8.2.5 SANS 1200L |  | SECTION 3: GENERAL PIPE ARRANGEMENT FOR PUMPHOUSE
| Total Carried Forward | [6 empty] | 230000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 2: BOREHOLES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 230000
3689 |  |  |  | Supply, handle, X-ray & Dye test at workshop, Hydro test on site and disinfect. The Steel grade shall be S355 JR. Coat the steel pipe sections with hot dip galvanizing minimum mass of zinc coating of 650g/sqm in accordance with SABS 763-1977 clause 4.3.1 Table 2. The 4,5 mm wall thickness. Flanges to be drilled to SABS 1123 – 1977 Table 100/4
3690 |  |  |  | Please refer to Moses Kotane Local Municipality Pump house Pipe Arrangement drawing.
4187 | B3.1 |  |  | Allowance for shop drawings | Prov Sum | 1 | 12000 | 12000
4189 | B3.2 |  |  | a) Handling cost and profit in respect of prime cost and Provisional sums | % | 12000 | 0 | 0
3691 | B3.3 |  |  | 60 mm diameter (60 DN) | m | 36 | 0 | 0
3692 |  |  |  | i) Specials:
3693 | B3.4 |  |  | a) Brass Ball Valve female tread ends and male outlet DN 20/PN25 | No | 3 | 0 | 0
3694 | B3.5 |  |  | b) 20 mm Stainless steel socket | No | 3 | 0 | 0
3695 | B3.6 |  |  | c) Heavy duty galvanised tee complete with 100mm Dia (glycerine filled) Pressure gauge reading from 0-1600 KPa | No | 3 | 0 | 0
3696 | B3.7 |  |  | d) Flow switch hole | No | 3 | 0 | 0
3697 | B3.8 |  |  | e) Pedestal to suite pipe work | No | 9 | 0 | 0
3698 |  |  |  | 2) Valves, Water meters, Flanges to be drilled to SABS 1123 – 1977 Table 100/4 for 60 mm diameter
| Total Carried Forward | [6 empty] | 242000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 2: BOREHOLES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 242000
3699 | B3.9 |  |  | a. Flanged strainer | No | 3 | 0 | 0
3700 | B3.10 |  |  | b. Meinecke cosmos water meter (WPD) Y mm flanged steel pipe- Water meter specifications the metrological class shall be class B or better in accordance with SABS 1529 | No | 3 | 0 | 0
3701 | B3.11 |  |  | c. Water type non return valve | No | 3 | 0 | 0
3702 | B3.12 |  |  | d. AVK non rising spindle valve | No | 3 | 0 | 0
3703 | B3.13 |  |  | e. Air valve with T-pees (Vento – Mat or Similar) | No | 3 | 0 | 0
3704 | B3.14 |  |  | g. flanged adaptor for uPVC pipes drilled to SABS 1123 Table 16 diameter 90 mm (DN90) | No | 3 | 0 | 0
3705 | B3.15 |  |  | f. 90° Bend flanged adaptor | No | 9 | 0 | 0
4183 | B3.16 |  |  | g.Scour valve | No | 3 | 0 | 0
4190 | B3.17 |  |  | h. Pressure switch (MDR 4 SD or similar) | No | 3 | 0 | 0
3706 | SECTION 4 | SANS 10299 |  | SECTION 4: MECHANICAL WORKS
3707 | B4.1 |  |  | General Requirements and Charges | L/SUM | 1 | 0 | 0
3708 |  |  |  | Supply Pump elements for mono pumps - Rates must include an allowance for wasteage, attendant activities such as cutting, drilling, welding, rigging, powdercoating etc. Consumable items such as bolts, nuts, washers, welding rods etc. must also be included in the rates submitted.
3709 | B4.2 |  |  | Mono BP 4H FE | No | 0 | 0 | Rate Only
| Total Carried Forward | [6 empty] | 242000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 2: BOREHOLES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 242000
3710 | B4.3 |  |  | Mono BP 10H FE 50 | No | 0 | 0 | Rate Only
3711 | B4.4 |  |  | Mono BP 40M/80 twin datum | No | 0 | 0 | Rate Only
3712 | B4.5 |  |  | Mono BP 16H/65 twin datum | No | 3 | 0 | 0
3713 | B4.6 |  |  | Mono BP 30H/80 twin datum | No | 0 | 0 | Rate Only
3714 | B4.7 |  |  | Monostroom hd kit 50 x 250 2g uo Ms MK3 | No | 0 | 0 | Rate Only
3715 | B4.8 |  |  | Monomeester hd kit 65x295x3g uo Mm MK3 | No | 0 | 0 | Rate Only
4002 | B4.9 |  |  | Monomeester hd kit 65x380x2g uo Mm MK3 | No | 3 | 0 | 0
3716 | B4.10 |  |  | Monomeester hd kit 80x380x4g uo Mm MK3 | No | 0 | 0 | Rate Only
3717 | B4.11 |  |  | Base assy Ms MK3 50 uo Ms MK3 | No | 0 | 0 | Rate Only
3718 | B4.12 |  |  | Base assy Mm MK3 80 | No | 0 | 0 | Rate Only
3719 | B4.13 |  |  | Bracket motr Mtg Mm MK3 | No | 3 | 0 | 0
3720 | B4.14 |  |  | Bearing assy Ms MK3 250 | No | 0 | 0 | Rate Only
3721 | B4.15 |  |  | Pulley SPB 380 2g uo Mm MK3 dual | No | 0 | 0 | Rate Only
3722 | B4.16 |  |  | Adaptor colmn AquaB 50 x 550 | No | 0 | 0 | Rate Only
3723 | B4.17 |  |  | Adaptor colmn AquaC 80 x 550 | no. | 0 | 0 | Rate Only
3724 | B4.18 |  |  | Bracket motr mtg Mm MK3 | No | 0 | 0 | Rate Only
3725 | B4.19 |  |  | Spacer Ms MK3 | No | 0 | 0 | Rate Only
3726 | B4.20 |  |  | Spacer Irg Mm MK3 | No | 3 | 0 | 0
3727 | B4.21 |  |  | Column 50 x 3 trunc med glv - cw sckt Alt 830003321 | No | 0 | 0 | Rate Only
| Total Carried Forward | [6 empty] | 242000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 2: BOREHOLES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 242000
3728 | B4.22 |  |  | Column 65 x 3 hvy ctd cw sckt ALT 830003303 | No | 90 | 0 | 0
3729 | B4.23 |  |  | Column 80 x 3 trunc med glv - cw sckt Alt 830003321 | No | 0 | 0 | Rate Only
3730 | B4.24 |  |  | Bobbin brg 50 x 16 x 4 | No | 0 | 0 | Rate Only
3731 | B4.25 |  |  | Bobbin brg 65 x 19 x 3 | No | 132 | 0 | 0
3732 | B4.26 |  |  | Bobbin brg 80 x 22 x 3 | No | 0 | 0 | Rate Only
3733 | B4.27 |  |  | Shaft drv 16 uo Ms MK2 & MK3 | No | 0 | 0 | Rate Only
4003 | B4.28 |  |  | Shaft 19 x 1330 EN3A/3B | No | 0 | 0 | Rate Only
3734 | B4.29 |  |  | Shaft column 16 x 1386 EN3A/3B | No | 0 | 0 | Rate Only
3735 | B4.30 |  |  | Shaft column 19 x 1330 EN3A/3B | No | 96 | 0 | 0
3736 | B4.31 |  |  | Shaft column 22 x 1330 EN3A/3B | No | 0 | 0 | Rate Only
3737 | B4.32 |  |  | Shaft column 22 R x 865 uo Mm MK3 | No | 0 | 0 | Rate Only
3738 | B4.33 |  |  | Stabilizer 50 x 150 nitr 370 RS0107 Mould no.8 | No | 0 | 0 | Rate Only
3739 | B4.34 |  |  | Stabilizer 65 x 150 nitr 370 RS0108 Mould no.9 | No | 12 | 0 | 0
3740 | B4.35 |  |  | Stabilizer 80 x 150 nitr 370 RS0107 Mould no.8 | No | 0 | 0 | Rate Only
3741 | B4.36 |  |  | Powermastic - 410ml per tube | No | 6 | 0 | 0
3742 | B4.37 |  |  | Pulley SPB 140 x 2g | No | 0 | 0 | Rate Only
4004 | B4.38 |  |  | Pulley SPB 212 x 2g | No | 3 | 0 | 0
| Total Carried Forward | [6 empty] | 242000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 2: BOREHOLES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 242000
3743 | B4.39 |  |  | Pulley SPB 250 x 3g | No | 0 | 0 | Rate Only
3744 | B4.40 |  |  | Pulley SPB 355 x 4g | No | 0 | 0 | Rate Only
3745 | B4.41 |  |  | Vbelt SPB 16N 1260 | No | 0 | 0 | Rate Only
4005 | B4.42 |  |  | Vbelt SPB 16N 1590 | No | 6 | 0 | 0
3746 | B4.43 |  |  | Vbelt SPB 16N 1800 | No | 0 | 0 | Rate Only
3747 | B4.44 |  |  | Vbelt SPB 16N 2020 | No | 0 | 0 | Rate Only
3748 | B4.45 |  |  | Vbelt SPB 16N 1900 | No | 0 | 0 | Rate Only
3749 | B4.46 |  |  | Bush taperlock 2012 x 28 | No | 0 | 0 | Rate Only
3750 | B4.47 |  |  | Bush taperlock 2517 x 48 | No | 3 | 0 | 0
3751 | B4.48 |  |  | Bush taperlock 3020 x 48 | No | 0 | 0 | Rate Only
3752 | B4.49 |  |  | Bush taperlock 2517 x 42 | No | 0 | 0 | Rate Only
3753 | B4.50 |  |  | 1xMotor 3kW 4P 400V for WEG W20 | No | 0 | 0 | Rate Only
3754 | B4.51 |  |  | 1xMotor 4kW 4P 400V for WEG W20 | No | 0 | 0 | Rate Only
4006 | B4.52 |  |  | 1xMotor 5.5kW 4P 380V for WEG W20 | No | 0 | 0 | Rate Only
3841 | B4.53 |  |  | 1xMotor 7.5kW 4P 400V for WEG W20 | No | 3 | 0 | 0
3755 | B4.54 |  |  | 1xMotor 15kW 4P 400V for WEG W20 | No | 0 | 0 | Rate Only
3756 | B4.55 |  |  | 1xMotor 22kW 4P 400V for WEG W20 | No | 0 | 0 | Rate Only
3757 | B4.56 |  |  | 1xMotor 11kW 4P 400V for WEG W20 | No | 0 | 0 | Rate Only
3758 | B4.57 |  |  | Vbelt Cover | No | 3 | 0 | 0
4191 | B4.58 |  |  | Bi-Level Control float Valve bermad water | No | 1 | 0 | 0
| Total Carried Forward | [6 empty] | 242000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 2: BOREHOLES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 242000
3760 | B4.59 |  |  | Deliver equipment and material to site | Sum | 1 | 0 | 0
3761 | B4.60 |  |  | Additional Mechanical works | Prov Sum | 1 | 120000 | 120000
3852 | B4.61 |  |  | a) Handling cost and profit in respect of prime cost and Provisional sums | % | 120000 | 0 | 0
3762 | SECTION 5 | SANS 10142-1 |  | SECTION 5: ELECTRICAL WORKS
3763 | B5.1 |  |  | General Requirements and Charges Rates must include the following: travelling to site and accommodation, site establishment, safety officer and safety files, project management, site supervision; an allowance for wasteage, attendant activities such as cutting, drilling, welding, rigging, powdercoating making off and terminating of cables and internal wirinh etc. Consumable items such as bolts, nuts, washers, welding rods terminal lugs, cable glands etc. must also be included in the rates submitted. | L/SUM | 1 | 0 | 0
3764 | B5.2 |  |  | Provisional Sums - Eskom Supply & Install Application | PC Sum | 1 | 300000 | 300000
3765 | B5.3 |  |  | a) Handling cost and profit in respect of prime cost sums | % | 300000 | 0 | 0
3766 | B5.4 | SANS 156 |  | Supply 3 phase 400V 100A 25kA MCCB c/w integrated earth leakage protection | No | 3 | 0 | 0
3767 | B5.5 | SANS 60947 |  | Supply wired starter panel for a 4kW 4 pole induction electric motor c/w start/stop push buttons, e/stop, timers and aux contacts (Refer to Drawings) | No | 0 | 0 | Rate Only
| Total Carried Forward | [6 empty] | 662000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 2: BOREHOLES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 662000
3768 | B5.6 | SANS 60947 |  | Supply wired starter panel for a 5.5kW 4 pole induction electric motor c/w start/stop push buttons, e/stop, timers and aux contacts (Refer to Drawings) | No | 0 | 0 | Rate Only
3769 | B5.7 | SANS 60947 |  | Supply wired starter panel for a 7.5kW 4 pole induction electric motor c/w start/stop push buttons, e/stop, timers and aux contacts (Refer to Drawings) | No | 3 | 0 | 0
3770 | B5.8 | SANS 474:2006 NRS 057:2005 |  | Supply 5(100)A digital 3 phase 400v +N kWH Meter digital | No | 3 | 0 | 0
3771 |  |  |  | Supply lights and switches for BH house:
3772 | B5.9 |  |  | PL9 Fitting c/w Bulkhead Clear Light | No | 6 | 0 | 0
3773 | B5.10 |  |  | 2 Lever 2 Way Light Switch for 2 X 4 Electrical Box | No | 3 | 0 | 0
3774 | B5.11 |  |  | 25mm galvanized conduit, complete with saddles/brackets | m | 50 | 0 | 0
3775 |  | SANS 1507 |  | Supply 600V/1000V PVC SWA cables. Cables to have stranded Cu. Conductors:
3776 | B5.12 |  |  | 4 core 25mm2 | m | 100 | 0 | 0
4007 | B5.13 |  |  | 4 core 50mm2 | m | 100 | 0 | 0
4008 | B5.14 |  |  | 4 core 75mm2 | m | 100 | 0 | 0
4060 | B5.15 |  |  | 4 core 6mm2 | m | 25 | 0 | 0
4061 | B5.16 |  |  | 2 core & earth 2.5mm2 | m | 100 | 0 | 0
4062 | B5.17 |  |  | 2 core & earth 1.5mm2 | m | 100 | 0 | 0
| Total Carried Forward | [6 empty] | 662000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 2: BOREHOLES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 662000
4009 |  | SANS 1418 | LI | Supply 600V/1000V PVC Aerial bundle conductor cables. Cables to have stranded Cu. Conductors:
4063 | B5.18 |  |  | Clearing and grubbing | ha | 0.3 | 0 | 0
4010 | B5.19 |  |  | Supply and install treated poles with all accessories and dressing of poles to hang cables (including pigtails, cable hooks, anchor cable, end hooks etc.) | No | 25 | 0 | 0
4011 | B5.20 |  |  | 70mm2 | m | 1000 | 0 | 0
3780 | B5.21 |  |  | Excavate to minimum 800mm depth and trench 4 corex 25mm2 cable. Backfill trench | m | 300 | 0 | 0
4169 |  | SANS 1200 LC |  | Cable Ducts
4170 |  | 8.2.5 |  | Supply, lay, bed and prove duct
4171 | B5.22 |  |  | 110mm HDPE | m | 200 | 0 | 0
3781 | B5.23 |  |  | Deliver equipment to site | No | 3 | 0 | 0
3782 | B5.24 | SANS 10142-1 |  | Install above electrical equipment for rescuscitation of boreholes BH1& BH2 inccluding trenching and backfilling. | L/SUM | 1 | 0 | 0
3783 | B5.25 | SANS 10142-1 |  | SAT; Earth Resistivity / Continuity tests etc for Electrical Installations at BH1 & BH2 | L/SUM | 1 | 0 | 0
3784 | B5.26 |  |  | Grey M. Steel enclosure (400mm x 300mm x 200 IP65) | No | 3 | 0 | 0
3786 | B5.27 |  |  | Additional Electrical works | Prov Sum | 1 | 140000 | 140000
3850 | B5.28 |  |  | a) Handling cost and profit in respect of prime cost and Provisional sums | % | 140000 | 0 | 0
| Total Carried Forward To Summary | [6 empty] | 802000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 3: STORAGE TANKS
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
3787 |  |  |  | SECTION 3: STORAGE TANKS
3788 |  |  |  | MASS STORAGE TANK
3798 | C1.1 | PSL 8.2.17 |  | a) Provision for bulk water storage (1 x 732 000 L circular galvanised coated Steel tank including concrete foundation - Aquadam or similar) | PC Sum | 1 | 920000 | 920000
3799 | C1.2 |  |  | b) Handling cost and profit in respect of prime cost | % | 920000 | 0 | 0
3793 | SANS 1200HA | 8.3.1 |  | FENCES & Gates
3794 | C1.3 |  |  | a) Supply and Erection of diamond Mesh fence 1.8m high including poles, stranded barb wire on top etc complete | m | 100 | 0 | 0
| Total Carried Forward | [6 empty] | 920000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 3: STORAGE TANKS
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 920000
3795 | C1.4 |  |  | b) Single pedestrian gate size 1400 x 1800mm high formed of 50mm diameter x 2,8mm thick pipe framing all round complete with one 50mm diameter x 2,8mm thick pipe diagonal brace all neatly mitred and welded at intersections; the gate with two strands of 4mm thick galvanised mild steel straining wire mechanically strained between and securely fixed to gate styles and covered with and including 50mm mesh chain link netting of 3,15mm diameter galvanised mild steel wire securely fixed to straining wires and framing with and including 2mm galvanised binding wire, the one style fitted with and including two standard type pin and collar hinges bolted onto gate post (elsewhere) including drilling holes through gate post and other style with purpose made plate gate locking device and hand-hole opening formed of 10mm diameter bar 320mm girth bent to semi-circular shape and welded on, including locking mechanism. | No | 1 | 0 | 0
| Total Carried Forward | [6 empty] | 920000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 3: STORAGE TANKS
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 920000
3796 | C1.5 |  |  | c) Double gate size 4100 x 1800mm high overall in two equal leaves, each leaf formed of 50mm diameter x 2,8mm thick pipe framing all round complete with one 50mm diameter x 2,8mm thick pipe diagonal brace all neatly mitred and welded at intersections; each leaf with two strands of 4mm thick galvanised mild steel straining wire mechanically strained between and securely fixed to gate styles and covered with and including 50mm mesh chain link netting of 3,15mm galvanised mild steel wire securely fixed to straining wires and framing with and including 2mm galvanised binding wire, the one style fitted with and including two standard type pin and collar hinges bolted onto gate post (elsewhere) including drilling holes through gate post and other style with purpose made plate gate locking device and hand-hole opening formed of 10mm diameter bar 320mm girth bent to semi-circular shape and welded on | No | 1 | 0 | 0
| Total Carried Forward To Summary | [6 empty] | 920000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
363 |  |  |  | Hydraulic field-testing of pipelines, the tendered rate shall include full compensation for the provision of all labour, materials and water required, for the provision, installation, calibration and operation of the equipment used for testing and for visually inspecting the pipe for leaks - Rising Main & main reticulation
3800 |  | SANS 1200 C |  | Clearing and grubbing
3801 | D1.1 | 8.2.1 | LI | Areas | ha | 2 | 0 | 0
3802 |  | 8.2.2 |  | Remove and grub large trees and tree stumps of girth
3803 | D1.2 |  | LI | a) over 1 m and up to and including 2 m | No | 10 | 0 | 0
3804 | D1.3 |  |  | b) over 2 m and up to and including 3 m | No | 5 | 0 | 0
3805 |  | 1200 DB |  | Excavation
3806 |  | 8.3.2 |  | (a) Excavate in all materials for trenches, backfill, compact and dispose of surplus/unsuitable material for 50 - 125mm dia. pipes:
3807 | D1.4 |  | LI | 01. up to 1,5 m deep | m3 | 11080 | 0 | 0
3808 | D1.5 |  |  | 02. over 1,5 m and up to 2,0 m deep | m3 | 400 | 0 | 0
3809 |  | 8.3.2 |  | (b) Extra-over items 8.3.2(a) for excavation in:
3810 | D1.6 |  |  | 01. Intermediate excavation | m3 | 100 | 0 | 0
3811 | D1.7 |  |  | 02. Hard rock excavation | m3 | 440 | 0 | 0
3812 | D1.8 |  |  | c) Excavate and dispose of unsuitable material from trench bottom | m³ | 10 | 0 | 0
3813 |  | 8.3.3 |  | Excavation Ancillaries
3814 |  | 8.3.3.1 |  | Make up deficiency in backfill material from:
| Total Carried Forward | [6 empty] | 0
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 0
3815 | D1.9 |  | LI | a) From other necessary excavations on site | m3 | 50 | 0 | 0
3816 | D1.10 |  |  | b) By importation from designated borrow pits | m3 | 50 | 0 | 0
3817 | D1.11 |  | LI | c) by importation from commercial or off-site sources selected by the egineer | m³ | 80 | 0 | 0
4024 |  | SANS 1200LB |  | Bedding
3656 |  | PSLB 8.2.1 (SANS 1200 LB) |  | Provision of bedding from trench excavation (Including screening)
3657 | D1.12 |  | LI | (a) Selected granular bedding material for Class B bedding | m3 | 945 | 0 | 0
3658 | D1.13 |  | LI | (b) Selected fill material (fill blanket) | m3 | 945 | 0 | 0
3659 |  | 8.2.2 |  | Supply only of bedding by importation
3660 |  |  |  | Other necessary excavations on site:
3661 | D1.14 |  | LI | (a) Selected granular material for bedding | m3 | 20 | 0 | 0
3662 | D1.15 |  | LI | (b) Selected fill material for fill blanket | m3 | 20 | 0 | 0
3663 |  | 8.2.2.2 |  | From Borrow pits or approved off site sources identified by the contractor
3664 | D1.16 |  | LI | (a) Selected granular material for bedding | m3 | 20 | 0 | 0
3665 | D1.17 |  | LI | (b) Selected fill material for fill blanket | m3 | 20 | 0 | 0
3666 |  | 8.2.2.3 |  | Commercial sources
3667 | D1.18 |  | LI | (a) 13.2 mm crushed stone for stone bedding | m3 | 50 | 0 | 0
| Total Carried Forward | [6 empty] | 0
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 0
4021 |  | 8.2.5 |  | Overhaul
4022 | D1.19 |  |  | (a) Selected granular material for bedding | m3-km | 60 | 0 | 0
4023 | D1.20 |  |  | (b) Selected fill material for fill blanket | m3-km | 60 | 0 | 0
4029 |  | SANS 1200L |  | Pipes (HDPE)
4030 |  | 1200 L 8.2.1 |  | Supply, Lay and bed pipes complete with couplings:
4031 |  |  |  | SABS ISO 4427 PE100 Class PN 12.5 HDPE pipes (including all fittings and couplings) - Reticulation
4188 | D1.21 |  |  | 01. 25mm | m | 190 | 0 | 0
4035 | D1.22 |  |  | 02. 50mm | m | 3200 | 0 | 0
4032 | D1.23 |  |  | 03. 90 mm | m | 1550 | 0 | 0
4033 | D1.24 |  |  | 04. 110 mm | m | 2120 | 0 | 0
4165 |  |  |  | SABS ISO 4427 PE100 Class PN 16 HDPE pipes (including all fittings and couplings) - Rising Main
4166 | D1.25 |  |  | 01. 90 mm | m | 4010 | 0 | 0
4037 |  | SANS 1200L |  | Specials and Fittings (HDPE)
4038 |  | 8.2.2 |  | Extra-over 8.2.1 for the Supplying, Laying, and Bedding of Specials Complete with Couplings
4064 |  |  |  | (a) 50mm dia Class PN 16 HDPE Bends
| Total Carried Forward | [6 empty] | 0
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 0
4065 | D1.26 |  |  | 01. 90 & 45 Degree bends | No | 14 | 0 | 0
4066 | D1.27 |  |  | 02. 22.5 & 11.25 Degree bends | No | 6 | 0 | 0
4039 |  |  |  | (b) 90mm dia Class PN 16 HDPE Bends
4040 | D1.28 |  |  | 01. 90 & 45 Degree bends | No | 10 | 0 | 0
4041 | D1.29 |  |  | 02. 22.5 & 11.25 Degree bends | No | 2 | 0 | 0
4042 |  |  |  | (c) 110mm dia Class PN 16 HDPE Bends
4043 | D1.30 |  |  | 01. 90 & 45 Degree bends | No | 14 | 0 | 0
4044 | D1.31 |  |  | 02. 22.5 & 11.25 Degree bends | No | 4 | 0 | 0
4045 |  |  |  | (d) HDPE T-Pieces for
4067 | D1.32 |  |  | 01. 50mm dia. | No | 2 | 0 | 0
4046 | D1.33 |  |  | 02. 90mm dia. | No | 10 | 0 | 0
4047 | D1.34 |  |  | 03. 110 mm dia. | No | 2 | 0 | 0
4048 |  |  |  | (e) Reducing T-Pieces for:
4049 | D1.35 |  |  | 01. 90 x 50mm dia. | No | 4 | 0 | 0
4050 | D1.36 |  |  | 02. 90 x 110mm dia. | No | 2 | 0 | 0
4069 | D1.37 |  |  | 03. 110 x 50mm dia. | No | 5 | 0 | 0
4068 | D1.38 |  |  | 04. 110 x 90mm dia. | No |  | 0 | Rate Only
4192 |  |  |  | (f) Reducers for:
4197 | D1.39 |  |  | 01. 50 x 25mm dia. | No | 1 | 0 | 0
4193 | D1.40 |  |  | 02. 90 x 50mm dia. | No | 8 | 0 | 0
| Total Carried Forward | [6 empty] | 0
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 0
4194 | D1.41 |  |  | 03. 90 x 110mm dia. | No | 1 | 0 | 0
4195 | D1.42 |  |  | 04. 110 x 50mm dia. | No |  | 0 | Rate Only
4196 | D1.43 |  |  | 05. 110 x 90mm dia. | No | 1 | 0 | 0
4051 |  |  |  | (g) End caps / Stop ends for:
4070 | D1.44 |  |  | 01. 50mm dia. | No | 4 | 0 | 0
4052 | D1.45 |  |  | 02. 90mm dia. | No | 1 | 0 | 0
4053 | D1.46 |  |  | 03. 110 mm dia. | No | 1 | 0 | 0
4054 |  |  |  | (h) Hydrant T-pieces for:
4055 | D1.47 |  |  | 110mm dia. | No | 8 | 0 | 0
4058 |  |  |  | Valves
2449 |  | 8.2.3 |  | Extra-over 8.2.1 for the Supplying, Fixing and of Bedding of Valves
4168 |  |  |  | (a) Class 16 gate valves with caps (socket ending for HDPE pipes to SABS 664), anti-clockwise closing non-rising spindle type for the following sizes: Rising Main & main reticulation
3836 | D1.48 |  |  | 01. 50 mm dia. | No | 10 | 0 | 0
2673 | D1.49 |  |  | 02. 90 mm dia. | No | 10 | 0 | 0
4056 | D1.50 |  |  | 03. 110 mm dia. | No | 6 | 0 | 0
4163 |  |  |  | (b) Air valve with T-pees (Vento – Mat or Similar) for the following sizes: Rising Main
4164 | D1.51 |  |  | 01. 90 mm dia. | No | 7 | 0 | 0
| Total Carried Forward | [6 empty] | 0
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 0
4057 | D1.52 |  |  | 02. Installation of fire hydrants (Valve and hydrant tee measured seperately) (Drw 7515-W208) | No | 8 | 0 | 0
2663 |  |  |  | Sundries
2664 | D1.53 | 8.2.5 |  | Allow provisional sum for miscellaneous fittings, valves, flow meters and other specials that may be required. | Prov Sum | 1 | 100000 | 100000
2665 | D1.54 |  |  | a) Handling cost and profit in respect of item above | % | 100000 | 0 | 0
2678 | D1.55 | 8.2.7 |  | Extra-over 8.2.1 for Encasing Joints | No | 12 | 0 | 0
2460 | D1.56 | 8.2.12 |  | Concrete Casing | m3 | 15 | 0 | 0
2461 | D1.57 | 8.2.13 |  | Valve and Hydrant Chambers Type A complete as detailed in CoT standard detail drawings (Drw 7515-W203) | No | 43 | 0 | 0
385 | D1.59 | 8.2.11 | LI | b) Providing thrust blocks using class 15MPa/19mm concrete | m3 | 30 | 0 | 0
2466 |  |  |  | Hydraulic field-testing of pipelines, the tendered rate shall include full compensation for the provision of all labour, materials and water required, for the provision, installation, calibration and operation of the equipment used for testing and for visually inspecting the pipe for leaks. (Rising Main & main reticulation)
4071 | D1.60 | PS L 8.2.16 |  | 01. 50 mm dia. Class PN 12.5 | m | 3200 | 0 | 0
3840 | D1.61 | PS L 8.2.16 |  | 02. 90 mm dia. Class PN 12.5 and Class PN 12.5 | m | 1550 | 0 | 0
| Total Carried Forward | [6 empty] | 100000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 100000
4167 | D1.62 | PS L 8.2.16 |  | 03. 90 mm dia. Class PN 12.5 and Class PN 16 | m | 4010 | 0 | 0
2467 | D1.63 | PS L 8.2.16 |  | 04. 110 mm dia. Class PN 12.5 | m | 2120 | 0 | 0
3845 |  | SABS 1200 LG |  | Directional drilling / Horizontal Boring
3846 |  | PSLG 2.1 |  | Install pipes by trenchless methods, complete with excavations in all materials for launching and reception pits, including removal of spoil material off site for the following pipe diameters:
3847 | D1.64 |  |  | 01. 90mm dia | m | 60 | 0 | 0
4036 | D1.65 |  |  | 02. 110mm dia | m | 60 | 0 | 0
4059 | D1.66 | SANS 1200 LF |  | Supply and install stand pipes complete with special fittings (Drw 7515-W212 - normal layout excl. meter) | No | 30 | 0 | 0
| Total Carried Forward To Summary | [6 empty] | 100000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE A
SUMMARY OF SECTIONS
|  | SECTION |  | DESCRIPTION |  |  |  | AMOUNT R
|  | 1 |  | SECTION 1 : GENERAL REQUIREMENTS AND CHARGES |  |  |  | 247000
|  | 2 |  | SECTION 2: BOREHOLES |  |  |  | 802000
|  | 3 |  | SECTION 3: STORAGE TANKS |  |  |  | 920000
|  | 4 |  | SECTION 4 : MEDIUM-PRESSURE PIPE LINES |  |  |  | 100000
|  | Total Carried Forward To Summary Of Schedules | [5 empty] | 2069000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
Note on A1: Item¦Payment¦LIC¦Description¦Unit¦Qty¦Rate¦Amount§1¦BID NO: 011/MKLM/2021/2022 : TWEELAGTE WATER SUPPLY PHASE II§1¦SCHEDULE A§SECTION 1 : GENERAL REQUIREMENTS AND CHARGES¦SECTION 2: BOREHOLES¦SECTION 3: STORAGE TANKS¦SECTION 4 : MEDIUM-PRESSURE PIPE LINES
Note on A11: ¦1¦1¦1¦1¦2¦Null§SubSection
Note on A13: ¦1¦1¦1¦2¦0¦Null§
Note on A15: ¦1¦1¦1¦3¦0¦Null§
Note on A17: ¦1¦1¦1¦4¦0¦Null§
Note on A19: ¦1¦1¦1¦5¦0¦Null§
Note on A21: ¦1¦1¦1¦6¦0¦Null§
Note on A23: ¦1¦1¦1¦7¦0¦Null§
Note on A25: ¦1¦1¦1¦8¦0¦Null§
Note on A27: ¦1¦1¦1¦9¦0¦Null§
Note on A29: ¦1¦1¦1¦10¦0¦Null§
Note on A31: ¦1¦1¦1¦11¦0¦Null§
Note on A33: ¦1¦1¦1¦12¦0¦Null§
Note on A35: ¦1¦1¦1¦13¦0¦Null§
Note on A37: ¦1¦1¦1¦14¦0¦Null§
Note on A39: ¦1¦1¦1¦15¦0¦Null§
Note on A53: ¦1¦1¦1¦16¦0¦Null§
Note on A55: ¦1¦1¦1¦17¦0¦Null§
Note on A57: ¦1¦1¦1¦18¦0¦Null§
Note on A59: ¦1¦1¦1¦19¦0¦Null§
Note on A61: ¦1¦1¦1¦20¦0¦Null§
Note on A63: ¦1¦1¦1¦21¦0¦Null§
Note on A65: ¦1¦1¦1¦22¦0¦Null§
Note on A67: ¦1¦1¦1¦23¦0¦Null§
Note on A69: ¦1¦1¦1¦24¦0¦Null§
Note on A71: ¦1¦1¦1¦25¦0¦Null§
Note on A73: ¦1¦1¦1¦26¦0¦Null§
Note on A75: ¦1¦1¦1¦27¦0¦Null§
Note on A77: ¦1¦1¦1¦28¦0¦Null§
Note on A79: ¦1¦1¦1¦29¦0¦Null§
Note on A95: ¦1¦1¦2¦1¦0¦Null§
Note on A97: ¦1¦1¦2¦2¦0¦Null§
Note on A99: ¦1¦1¦2¦3¦0¦Null§
Note on A101: ¦1¦1¦2¦4¦0¦Null§
Note on A103: ¦1¦1¦2¦5¦0¦Null§
Note on A105: ¦1¦1¦2¦6¦0¦Null§
Note on A107: ¦1¦1¦2¦7¦0¦Null§
Note on A109: ¦1¦1¦2¦8¦0¦Null§
Note on A111: ¦1¦1¦2¦9¦0¦Null§
Note on A113: ¦1¦1¦2¦10¦0¦Null§
Note on A129: ¦1¦1¦2¦11¦0¦Null§
Note on A131: ¦1¦1¦2¦12¦0¦Null§
Note on A133: ¦1¦1¦2¦13¦0¦Null§
Note on A135: ¦1¦1¦2¦14¦0¦Null§
Note on A137: ¦1¦1¦2¦15¦0¦Null§
Note on A139: ¦1¦1¦2¦16¦0¦Null§
Note on A155: ¦1¦1¦2¦17¦0¦Null§
Note on A157: ¦1¦1¦2¦18¦0¦Null§
Note on A159: ¦1¦1¦2¦19¦0¦Null§
Note on A161: ¦1¦1¦2¦20¦0¦Null§
Note on A163: ¦1¦1¦2¦21¦0¦Null§
Note on A165: ¦1¦1¦2¦22¦0¦Null§
Note on A167: ¦1¦1¦2¦23¦0¦Null§
Note on A169: ¦1¦1¦2¦24¦0¦Null§
Note on A171: ¦1¦1¦2¦25¦0¦Null§
Note on A173: ¦1¦1¦2¦26¦0¦Null§
Note on A175: ¦1¦1¦2¦27¦0¦Null§
Note on A177: ¦1¦1¦2¦28¦0¦Null§
Note on A191: ¦1¦1¦2¦29¦0¦Null§
Note on A193: ¦1¦1¦2¦30¦0¦Null§
Note on A195: ¦1¦1¦2¦31¦0¦Null§
Note on A197: ¦1¦1¦2¦32¦0¦Null§
Note on A199: ¦1¦1¦2¦33¦0¦Null§
Note on A201: ¦1¦1¦2¦34¦0¦Null§
Note on A203: ¦1¦1¦2¦35¦0¦Null§
Note on A205: ¦1¦1¦2¦36¦0¦Null§
Note on A207: ¦1¦1¦2¦37¦0¦Null§
Note on A209: ¦1¦1¦2¦38¦0¦Null§
Note on A211: ¦1¦1¦2¦39¦0¦Null§
Note on A213: ¦1¦1¦2¦40¦0¦Null§
Note on A215: ¦1¦1¦2¦41¦0¦Null§RateOnly
Note on A229: ¦1¦1¦2¦42¦0¦Null§RateOnly
Note on A231: ¦1¦1¦2¦43¦0¦Null§RateOnly
Note on A233: ¦1¦1¦2¦44¦0¦Null§
Note on A235: ¦1¦1¦2¦45¦0¦Null§RateOnly
Note on A237: ¦1¦1¦2¦46¦0¦Null§RateOnly
Note on A239: ¦1¦1¦2¦47¦0¦Null§RateOnly
Note on A241: ¦1¦1¦2¦48¦0¦Null§
Note on A243: ¦1¦1¦2¦49¦0¦Null§RateOnly
Note on A245: ¦1¦1¦2¦50¦0¦Null§RateOnly
Note on A247: ¦1¦1¦2¦51¦0¦Null§RateOnly
Note on A249: ¦1¦1¦2¦52¦0¦Null§
Note on A251: ¦1¦1¦2¦53¦0¦Null§RateOnly
Note on A253: ¦1¦1¦2¦54¦0¦Null§RateOnly
Note on A255: ¦1¦1¦2¦55¦0¦Null§RateOnly
Note on A257: ¦1¦1¦2¦56¦0¦Null§RateOnly
Note on A259: ¦1¦1¦2¦57¦0¦Null§RateOnly
Note on A261: ¦1¦1¦2¦58¦0¦Null§RateOnly
Note on A263: ¦1¦1¦2¦59¦0¦Null§
Note on A265: ¦1¦1¦2¦60¦0¦Null§RateOnly
Note on A280: ¦1¦1¦2¦61¦0¦Null§
Note on A282: ¦1¦1¦2¦62¦0¦Null§RateOnly
Note on A284: ¦1¦1¦2¦63¦0¦Null§RateOnly
Note on A286: ¦1¦1¦2¦64¦0¦Null§
Note on A288: ¦1¦1¦2¦65¦0¦Null§RateOnly
Note on A290: ¦1¦1¦2¦66¦0¦Null§RateOnly
Note on A292: ¦1¦1¦2¦67¦0¦Null§RateOnly
Note on A294: ¦1¦1¦2¦68¦0¦Null§RateOnly
Note on A296: ¦1¦1¦2¦69¦0¦Null§
Note on A298: ¦1¦1¦2¦70¦0¦Null§RateOnly
Note on A300: ¦1¦1¦2¦71¦0¦Null§RateOnly
Note on A302: ¦1¦1¦2¦72¦0¦Null§RateOnly
Note on A304: ¦1¦1¦2¦73¦0¦Null§
Note on A306: ¦1¦1¦2¦74¦0¦Null§RateOnly
Note on A308: ¦1¦1¦2¦75¦0¦Null§
Note on A310: ¦1¦1¦2¦76¦0¦Null§RateOnly
Note on A312: ¦1¦1¦2¦77¦0¦Null§
Note on A327: ¦1¦1¦2¦78¦0¦Null§RateOnly
Note on A329: ¦1¦1¦2¦79¦0¦Null§RateOnly
Note on A331: ¦1¦1¦2¦80¦0¦Null§RateOnly
Note on A333: ¦1¦1¦2¦81¦0¦Null§
Note on A335: ¦1¦1¦2¦82¦0¦Null§RateOnly
Note on A337: ¦1¦1¦2¦83¦0¦Null§RateOnly
Note on A339: ¦1¦1¦2¦84¦0¦Null§RateOnly
Note on A341: ¦1¦1¦2¦85¦0¦Null§RateOnly
Note on A343: ¦1¦1¦2¦86¦0¦Null§
Note on A345: ¦1¦1¦2¦87¦0¦Null§RateOnly
Note on A347: ¦1¦1¦2¦88¦0¦Null§RateOnly
Note on A349: ¦1¦1¦2¦89¦0¦Null§RateOnly
Note on A351: ¦1¦1¦2¦90¦0¦Null§RateOnly
Note on A353: ¦1¦1¦2¦91¦0¦Null§RateOnly
Note on A355: ¦1¦1¦2¦92¦0¦Null§
Note on A357: ¦1¦1¦2¦93¦0¦Null§RateOnly
Note on A359: ¦1¦1¦2¦94¦0¦Null§RateOnly
Note on A361: ¦1¦1¦2¦95¦0¦Null§RateOnly
Note on A363: ¦1¦1¦2¦96¦0¦Null§
Note on A365: ¦1¦1¦2¦97¦0¦Null§
Note on A379: ¦1¦1¦2¦98¦0¦Null§
Note on A381: ¦1¦1¦2¦99¦0¦Null§
Note on A383: ¦1¦1¦2¦100¦0¦Null§
Note on A385: ¦1¦1¦2¦101¦0¦Null§
Note on A387: ¦1¦1¦2¦102¦0¦Null§
Note on A389: ¦1¦1¦2¦103¦0¦Null§
Note on A391: ¦1¦1¦2¦104¦0¦Null§PercPrevItem
Note on A393: ¦1¦1¦2¦105¦0¦Null§
Note on A395: ¦1¦1¦2¦106¦0¦Null§RateOnly
Note on A411: ¦1¦1¦2¦107¦0¦Null§RateOnly
Note on A413: ¦1¦1¦2¦108¦0¦Null§
Note on A415: ¦1¦1¦2¦109¦0¦Null§
Note on A417: ¦1¦1¦2¦110¦0¦Null§
Note on A419: ¦1¦1¦2¦111¦0¦Null§
Note on A421: ¦1¦1¦2¦112¦0¦Null§
Note on A423: ¦1¦1¦2¦113¦0¦Null§
Note on A425: ¦1¦1¦2¦114¦0¦Null§
Note on A427: ¦1¦1¦2¦115¦0¦Null§
Note on A429: ¦1¦1¦2¦116¦0¦Null§
Note on A431: ¦1¦1¦2¦117¦0¦Null§
Note on A433: ¦1¦1¦2¦118¦0¦Null§
Note on A435: ¦1¦1¦2¦119¦0¦Null§
Note on A437: ¦1¦1¦2¦120¦0¦Null§
Note on A451: ¦1¦1¦2¦121¦0¦Null§
Note on A453: ¦1¦1¦2¦122¦1¦Null§
Note on A455: ¦1¦1¦2¦123¦0¦Null§
Note on A457: ¦1¦1¦2¦124¦0¦Null§
Note on A459: ¦1¦1¦2¦125¦0¦Null§
Note on A461: ¦1¦1¦2¦126¦0¦Null§
Note on A463: ¦1¦1¦2¦127¦0¦Null§
Note on A465: ¦1¦1¦2¦128¦0¦Null§
Note on A467: ¦1¦1¦2¦129¦0¦Null§
Note on A469: ¦1¦1¦2¦130¦0¦Null§
Note on A471: ¦1¦1¦2¦131¦0¦Null§
Note on A473: ¦1¦1¦2¦132¦0¦Null§
Note on A475: ¦1¦1¦2¦133¦0¦Null§
Note on A477: ¦1¦1¦2¦134¦0¦Null§
Note on A490: ¦1¦1¦3¦1¦0¦Null§
Note on A492: ¦1¦1¦3¦2¦0¦Null§
Note on A494: ¦1¦1¦3¦3¦0¦Null§
Note on A496: ¦1¦1¦3¦4¦0¦Null§
Note on A498: ¦1¦1¦3¦5¦0¦Null§
Note on A500: ¦1¦1¦3¦6¦0¦Null§
Note on A536: ¦1¦1¦3¦7¦0¦Null§
Note on A567: ¦1¦1¦3¦8¦0¦Null§
Note on A591: ¦1¦1¦4¦1¦0¦Null§SubSection
Note on A593: ¦1¦1¦4¦2¦0¦Null§
Note on A595: ¦1¦1¦4¦3¦0¦Null§
Note on A597: ¦1¦1¦4¦4¦0¦Null§
Note on A599: ¦1¦1¦4¦5¦0¦Null§
Note on A601: ¦1¦1¦4¦6¦0¦Null§
Note on A603: ¦1¦1¦4¦7¦0¦Null§
Note on A605: ¦1¦1¦4¦8¦0¦Null§
Note on A607: ¦1¦1¦4¦9¦0¦Null§
Note on A609: ¦1¦1¦4¦10¦0¦Null§
Note on A611: ¦1¦1¦4¦11¦0¦Null§
Note on A613: ¦1¦1¦4¦12¦0¦Null§
Note on A615: ¦1¦1¦4¦13¦0¦Null§
Note on A617: ¦1¦1¦4¦14¦0¦Null§
Note on A619: ¦1¦1¦4¦15¦0¦Null§
Note on A621: ¦1¦1¦4¦16¦0¦Null§
Note on A635: ¦1¦1¦4¦17¦0¦Null§
Note on A637: ¦1¦1¦4¦18¦0¦Null§
Note on A639: ¦1¦1¦4¦19¦0¦Null§
Note on A641: ¦1¦1¦4¦20¦0¦Null§
Note on A643: ¦1¦1¦4¦21¦0¦Null§
Note on A645: ¦1¦1¦4¦22¦0¦Null§
Note on A647: ¦1¦1¦4¦23¦0¦Null§
Note on A649: ¦1¦1¦4¦24¦0¦Null§
Note on A651: ¦1¦1¦4¦25¦0¦Null§
Note on A653: ¦1¦1¦4¦26¦0¦Null§
Note on A655: ¦1¦1¦4¦27¦0¦Null§
Note on A657: ¦1¦1¦4¦28¦0¦Null§
Note on A659: ¦1¦1¦4¦29¦0¦Null§
Note on A661: ¦1¦1¦4¦30¦0¦Null§
Note on A663: ¦1¦1¦4¦31¦0¦Null§
Note on A665: ¦1¦1¦4¦32¦0¦Null§
Note on A680: ¦1¦1¦4¦33¦0¦Null§
Note on A682: ¦1¦1¦4¦34¦0¦Null§
Note on A684: ¦1¦1¦4¦35¦0¦Null§
Note on A686: ¦1¦1¦4¦36¦0¦Null§
Note on A688: ¦1¦1¦4¦37¦0¦Null§
Note on A690: ¦1¦1¦4¦38¦0¦Null§
Note on A692: ¦1¦1¦4¦39¦0¦Null§
Note on A694: ¦1¦1¦4¦40¦0¦Null§
Note on A696: ¦1¦1¦4¦41¦0¦Null§
Note on A698: ¦1¦1¦4¦42¦0¦Null§
Note on A700: ¦1¦1¦4¦43¦0¦Null§
Note on A702: ¦1¦1¦4¦44¦0¦Null§
Note on A704: ¦1¦1¦4¦45¦0¦Null§
Note on A706: ¦1¦1¦4¦46¦0¦Null§
Note on A708: ¦1¦1¦4¦47¦0¦Null§
Note on A723: ¦1¦1¦4¦48¦0¦Null§
Note on A725: ¦1¦1¦4¦49¦0¦Null§
Note on A727: ¦1¦1¦4¦50¦0¦Null§
Note on A729: ¦1¦1¦4¦51¦0¦Null§
Note on A731: ¦1¦1¦4¦52¦0¦Null§
Note on A733: ¦1¦1¦4¦53¦0¦Null§
Note on A735: ¦1¦1¦4¦54¦0¦Null§
Note on A737: ¦1¦1¦4¦55¦0¦Null§
Note on A739: ¦1¦1¦4¦56¦0¦Null§
Note on A741: ¦1¦1¦4¦57¦0¦Null§
Note on A743: ¦1¦1¦4¦58¦0¦Null§
Note on A745: ¦1¦1¦4¦59¦0¦Null§
Note on A747: ¦1¦1¦4¦60¦0¦Null§
Note on A749: ¦1¦1¦4¦61¦0¦Null§
Note on A751: ¦1¦1¦4¦62¦0¦Null§
Note on A753: ¦1¦1¦4¦63¦0¦Null§
Note on A755: ¦1¦1¦4¦64¦0¦Null§RateOnly
Note on A757: ¦1¦1¦4¦65¦0¦Null§
Note on A759: ¦1¦1¦4¦66¦0¦Null§
Note on A761: ¦1¦1¦4¦67¦0¦Null§
Note on A775: ¦1¦1¦4¦68¦0¦Null§
Note on A777: ¦1¦1¦4¦69¦0¦Null§RateOnly
Note on A779: ¦1¦1¦4¦70¦0¦Null§
Note on A781: ¦1¦1¦4¦71¦0¦Null§
Note on A783: ¦1¦1¦4¦72¦0¦Null§
Note on A785: ¦1¦1¦4¦73¦0¦Null§
Note on A787: ¦1¦1¦4¦74¦0¦Null§
Note on A789: ¦1¦1¦4¦75¦0¦Null§
Note on A791: ¦1¦1¦4¦76¦0¦Null§
Note on A793: ¦1¦1¦4¦77¦0¦Null§
Note on A795: ¦1¦1¦4¦78¦0¦Null§
Note on A797: ¦1¦1¦4¦79¦0¦Null§
Note on A799: ¦1¦1¦4¦80¦0¦Null§
Note on A801: ¦1¦1¦4¦81¦0¦Null§
Note on A803: ¦1¦1¦4¦82¦0¦Null§
Note on A805: ¦1¦1¦4¦83¦0¦Null§
Note on A807: ¦1¦1¦4¦84¦0¦Null§
Note on A821: ¦1¦1¦4¦85¦0¦Null§
Note on A823: ¦1¦1¦4¦86¦0¦Null§
Note on A825: ¦1¦1¦4¦87¦0¦Null§
Note on A827: ¦1¦1¦4¦88¦0¦Null§PercPrevItem
Note on A829: ¦1¦1¦4¦89¦0¦Null§
Note on A831: ¦1¦1¦4¦90¦0¦Null§
Note on A833: ¦1¦1¦4¦91¦0¦Null§
Note on A835: ¦1¦1¦4¦92¦0¦Null§
Note on A837: ¦1¦1¦4¦93¦0¦Null§
Note on A839: ¦1¦1¦4¦94¦0¦Null§
Note on A841: ¦1¦1¦4¦95¦0¦Null§
Note on A857: ¦1¦1¦4¦96¦0¦Null§
Note on A859: ¦1¦1¦4¦97¦0¦Null§
Note on A861: ¦1¦1¦4¦98¦0¦Null§
Note on A863: ¦1¦1¦4¦99¦0¦Null§
Note on A865: ¦1¦1¦4¦100¦0¦Null§
Note on A867: ¦1¦1¦4¦101¦0¦Null§
Note on A869: ¦1¦1¦4¦102¦0¦Null§

## Schedule 2
Rate=H | MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE B
SECTION 1 : GENERAL REQUIREMENTS AND CHARGES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
3859 |  |  |  | SECTION 1 : PRELIMINARY AND GENERAL
3860 |  | PSA 8.3 |  | Preliminary and general charges
3861 | A1.1 |  |  | a) Fixed charges | L/SUM | 1 | 0 | 0
3862 | A1.2 |  |  | b)Time-related charges | month | 6 | 0 | 0
3876 |  | 8.3.2 |  | Scheduled Fixed-Charge and Value-Related Items
3877 |  | 8.3.2.1 C3.4.5.2 |  | Facilities for Engineer
3878 | A1.3 | PSAB2 8.3.2.1 |  | a) Office complete as specified including monthly levies | month | 6 | 0 | 0
3879 | A1.4 |  |  | b) Supply and erect a contract notice board (2.8m x 1.9m x 1.6mm thick chromodeck steel plate to be reveted @ 200mm centre along the square steel tubing frame) | No | 2 | 0 | 0
3873 |  | 8.6 |  | Prime Cost and provisional Sums
3882 | A1.5 |  |  | a) Living accommodation | PC Sum | 1 | 82000 | 82000
3881 | A1.6 |  |  | b) Community liaison officer | Prov Sum | 1 | 30000 | 30000
3880 | A1.7 |  |  | c) Steering Committee Members (SCM’s) - max. of 5 individuals | Prov Sum | 1 | 20000 | 20000
3874 | A1.8 |  |  | d) Allowance for control survey, testing and the placement of erf pegs by a land surveyor as required by the engineer | PC Sum | 1 | 10000 | 10000
3884 | A1.9 | 10.3.5 |  | e) Materials for dayworks | Prov Sum | 1 | 5000 | 5000
3875 | A1.10 |  |  | f) Handling cost and profit in respect of prime cost and Provisional sums | % | 147000 | 0 | 0
| Total Carried Forward | [6 empty] | 147000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE B
SECTION 1 : GENERAL REQUIREMENTS AND CHARGES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 147000
3863 |  | 8.8 |  | Temporary Works
3867 | A1.11 | 8.8.1 |  | Main Access Road Works | Prov Sum | 1 | 30000 | 30000
3886 | A1.12 |  |  | A) Handling cost and profit in respect of prime cost and Provisional sums | % | 60000 | 0 | 0
3885 | A1.13 | 8.8.2 |  | (a) Dealing with traffic or accommodation of traffic | Sum | 1 | 0 | 0
3864 | A1.14 | 8.8.4 | LI | (c) Excavate by hand in soft material to expose services | m³ | 50 | 0 | 0
3883 | A1.15 |  |  | (e) Relocation or protection of existing services | Prov Sum | 1 | 40000 | 40000
3887 | A1.16 |  |  | f) Handling cost and profit in respect of prime cost and Provisional sums | % | 40000 | 0 | 0
3868 |  | PSA 8.8.10 |  | Compliance with Occupational Health and Safety Act and applicable regulations
3865 | A1.17 |  |  | a) Provision of Health and Safety Plan | L/SUM | 1 | 0 | 0
3866 | A1.18 |  |  | b) Provision of Health and Safety file | L/SUM | 1 | 0 | 0
3869 | A1.19 |  |  | c) Provision of a full-time safety officer | month | 6 | 0 | 0
3870 | A1.20 |  |  | d) Health and Safety training | L/SUM | 1 | 0 | 0
3871 | A1.21 |  |  | e) Provision of personal protective clothing and equipment (Incl. requirements for Covid 19) | L/SUM | 1 | 0 | 0
3872 | A1.22 |  |  | f) Provision of safety fences,signs and barricades | L/SUM | 1 | 0 | 0
| Total Carried Forward To Summary | [6 empty] | 217000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE B
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
4073 |  |  |  | Hydraulic field-testing of pipelines, the tendered rate shall include full compensation for the provision of all labour, materials and water required, for the provision, installation, calibration and operation of the equipment used for testing and for visually inspecting the pipe for leaks - Rising Main & main reticulation
4121 |  | SANS 1200 C |  | Clearing and grubbing
4122 | B1.1 | 8.2.1 | LI | Areas | ha | 2 | 0 | 0
4123 |  | 8.2.2 |  | Remove and grub large trees and tree stumps of girth
4124 | B1.2 |  | LI | a) over 1 m and up to and including 2 m | No | 10 | 0 | 0
4125 | B1.3 |  |  | b) over 2 m and up to and including 3 m | No | 5 | 0 | 0
4126 |  | 1200 DB |  | Excavation
4127 |  | 8.3.2 |  | (a) Excavate in all materials for trenches, backfill, compact and dispose of surplus/unsuitable material for 50 - 125mm dia. pipes:
4128 | B1.4 |  | LI | 01. up to 1,5 m deep | m3 | 9900 | 0 | 0
4129 | B1.5 |  |  | 02. over 1,5 m and up to 2,0 m deep | m3 | 1000 | 0 | 0
4130 |  | 8.3.2 |  | (b) Extra-over items 8.3.2(a) for excavation in:
4131 | B1.6 |  |  | 01. Intermediate excavation | m3 | 500 | 0 | 0
4132 | B1.7 |  |  | 02. Hard rock excavation | m3 | 800 | 0 | 0
4133 | B1.8 |  |  | c) Excavate and dispose of unsuitable material from trench bottom | m³ | 100 | 0 | 0
4134 |  | 8.3.3 |  | Excavation Ancillaries
4135 |  | 8.3.3.1 |  | Make up deficiency in backfill material from:
| Total Carried Forward | [6 empty] | 0
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE B
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 0
4136 | B1.9 |  | LI | a) From other necessary excavations on site | m3 | 1000 | 0 | 0
4137 | B1.10 |  |  | b) By importation from designated borrow pits | m3 | 1000 | 0 | 0
4138 | B1.11 |  | LI | c) by importation from commercial or off-site sources selected by the egineer | m³ | 500 | 0 | 0
4074 |  | SANS 1200LB |  | Bedding
4098 |  | PSLB 8.2.1 (SANS 1200 LB) |  | Provision of bedding from trench excavation (Including screening)
4099 | B1.12 |  | LI | (a) Selected granular bedding material for Class B bedding | m3 | 1600 | 0 | 0
4100 | B1.13 |  | LI | (b) Selected fill material (fill blanket) | m3 | 1700 | 0 | 0
4101 |  | 8.2.2 |  | Supply only of bedding by importation
4102 |  |  |  | Other necessary excavations on site:
4103 | B1.14 |  | LI | (a) Selected granular material for bedding | m3 | 20 | 0 | 0
4104 | B1.15 |  | LI | (b) Selected fill material for fill blanket | m3 | 20 | 0 | 0
4105 |  | 8.2.2.2 |  | From Borrow pits or approved off site sources identified by the contractor
4106 | B1.16 |  | LI | (a) Selected granular material for bedding | m3 | 20 | 0 | 0
4107 | B1.17 |  | LI | (b) Selected fill material for fill blanket | m3 | 20 | 0 | 0
4108 |  | 8.2.2.3 |  | Commercial sources
4109 | B1.18 |  | LI | (a) 13.2 mm crushed stone for stone bedding | m3 | 50 | 0 | 0
| Total Carried Forward | [6 empty] | 0
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE B
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 0
4110 |  | 8.2.5 |  | Overhaul
4111 | B1.19 |  |  | (a) Selected granular material for bedding | m3-km | 400 | 0 | 0
4112 | B1.20 |  |  | (b) Selected fill material for fill blanket | m3-km | 400 | 0 | 0
4119 |  | SANS 1200L |  | Pipes (HDPE)
4120 |  | 1200 L 8.2.1 |  | Supply, Lay and bed pipes complete with couplings:
4139 |  |  |  | SABS ISO 4427 PE100 Class PN 12.5 HDPE pipes (including all fittings and couplings)
4174 | B1.21 |  |  | 01. 50 mm | m | 5500 | 0 | 0
4140 | B1.22 |  |  | 01. 90 mm | m | 2000 | 0 | 0
4141 | B1.23 |  |  | 02. 110 mm | m | 2400 | 0 | 0
4079 |  | SANS 1200L |  | Specials and Fittings (HDPE)
4090 |  | 8.2.2 |  | Extra-over 8.2.1 for the Supplying, Laying, and Bedding of Specials Complete with Couplings
4175 |  |  |  | (a) 50mm dia Class PN 12.5 HDPE Bends
4176 | B1.24 |  |  | 01. 90 & 45 Degree bends | No | 18 | 0 | 0
4177 | B1.25 |  |  | 02. 22.5 & 11.25 Degree bends | No | 10 | 0 | 0
4092 |  |  |  | (b) 90mm dia Class PN 12.5 HDPE Bends
4093 | B1.26 |  |  | 01. 90 & 45 Degree bends | No | 6 | 0 | 0
4094 | B1.27 |  |  | 02. 22.5 & 11.25 Degree bends | No | 6 | 0 | 0
| Total Carried Forward | [6 empty] | 0
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE B
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 0
4118 |  |  |  | (c) 110mm dia Class PN 12.5 HDPE Bends
4142 | B1.28 |  |  | 01. 90 & 45 Degree bends | No | 4 | 0 | 0
4144 | B1.29 |  |  | 02. 22.5 & 11.25 Degree bends | No | 4 | 0 | 0
4149 |  |  |  | (d) HDPE T-Pieces for
4172 | B1.30 |  |  | 01. 50mm dia. | No | 4 | 0 | 0
4150 | B1.31 |  |  | 02. 90mm dia. | No | 4 | 0 | 0
4151 | B1.32 |  |  | 03. 110 mm dia. | No | 2 | 0 | 0
4152 |  |  |  | (e) Reducing T-Pieces for:
4178 | B1.33 |  |  | 01. 90mm x 50mm dia. | No | 10 | 0 | 0
4154 | B1.34 |  |  | 02. 110 x 90mm dia. | No | 2 | 0 | 0
4155 |  |  |  | (e) End caps / Stop ends for:
4173 | B1.35 |  |  | 01. 50mm dia. | No | 4 | 0 | 0
4156 | B1.36 |  |  | 02. 90mm dia. | No | 4 | 0 | 0
4157 | B1.37 |  |  | 03. 110 mm dia. | No | 2 | 0 | 0
4158 |  |  |  | (f) Hydrant T-pieces for:
4159 | B1.38 |  |  | 110mm dia. | No | 20 | 0 | 0
4085 |  |  |  | Valves
| Total Carried Forward | [6 empty] | 0
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE B
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 0
4077 |  | 8.2.3 |  | Extra-over 8.2.1 for the Supplying, Fixing and of Bedding of Valves , Class 16 gate valves with caps (socket ending for HDPE pipes to SABS 664), anti-clockwise closing non-rising spindle type for the following sizes: Rising Main & main reticulation
4179 | B1.39 |  |  | 01. 50 mm dia. | No | 100 | 0 | 0
4089 | B1.40 |  |  | 02. 90 mm dia. | No | 20 | 0 | 0
4160 | B1.41 |  |  | 03. 110 mm dia. | No | 10 | 0 | 0
4161 | B1.42 |  |  | 04. Installation of fire hydrants (Valve and hydrant tee measured seperately) (Drw 7515-W208) | No | 20 | 0 | 0
4084 |  |  |  | Sundries
4087 | B1.43 | 8.2.5 |  | Allow provisional sum for miscellaneous fittings, valves, flow meters and other specials that may be required. | Prov Sum | 1 | 120000 | 120000
4088 | B1.44 |  |  | a) Handling cost and profit in respect of item above | % | 120000 | 0 | 0
4091 | B1.45 | 8.2.7 |  | Extra-over 8.2.1 for Encasing Joints | No | 12 | 0 | 0
4080 | B1.46 | 8.2.12 |  | Concrete Casing | m3 | 15 | 0 | 0
4081 | B1.47 | 8.2.13 |  | Valve and Hydrant Chambers Type A complete as detailed in CoT standard detail drawings (Drw 7515-W203) | No | 32 | 0 | 0
4076 | B1.48 | 8.2.11 | LI | b) Providing thrust blocks using class 15MPa/19mm concrete | m3 | 50 | 0 | 0
| Total Carried Forward | [6 empty] | 120000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE B
SECTION 4 : MEDIUM-PRESSURE PIPE LINES
| ITEM NO | PAYMENT | LIC | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [6 empty] | 120000
4082 |  |  |  | Hydraulic field-testing of pipelines, the tendered rate shall include full compensation for the provision of all labour, materials and water required, for the provision, installation, calibration and operation of the equipment used for testing and for visually inspecting the pipe for leaks. (Rising Main & main reticulation)
4180 | B1.49 | PS L 8.2.16 |  | 01. 50 mm dia. Class PN 12.5 | m | 5500 | 0 | 0
4145 | B1.50 | PS L 8.2.16 |  | 02. 90 mm dia. Class PN 12.5 | m | 2000 | 0 | 0
4083 | B1.51 | PS L 8.2.16 |  | 03. 110 mm dia. Class PN 12.5 | m | 2396 | 0 | 0
4086 | B1.52 | SANS 1200 LF |  | Supply and install stand pipes complete with special fittings (Drw 7515-W212 - normal layout excl. meter) | No | 50 | 0 | 0
4181 | B1.53 | 8.2.1 |  | (a) Provide Erf Connections Complete as detailed in CoT standard detail drawings - Drw 7515-W206 using 25mm dia pipes branching to 20mm at erven (single erf connection). | No | 420 | 0 | 0
4182 | B1.54 |  |  | (b) Provide Erf Connections Complete as detailed in CoT standard detail drawings - Drw 7515-W206 using 25mm dia pipes branching to 20mm at erven (double erf connection). | No | 180 | 0 | 0
| Total Carried Forward To Summary | [6 empty] | 120000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SCHEDULE B
SUMMARY OF SECTIONS
|  | SECTION |  | DESCRIPTION |  |  |  | AMOUNT R
|  | 1 |  | SECTION 1 : GENERAL REQUIREMENTS AND CHARGES |  |  |  | 217000
|  | 4 |  | SECTION 4 : MEDIUM-PRESSURE PIPE LINES |  |  |  | 120000
|  | Total Carried Forward To Summary Of Schedules | [5 empty] | 337000
| 14-09-2021 | [6 empty] | PM934_Tweelagte Water supply Phase II_Rev4.bill
Note on A1: Item¦Payment¦LIC¦Description¦Unit¦Qty¦Rate¦Amount§1¦BID NO: 011/MKLM/2021/2022 : TWEELAGTE WATER SUPPLY PHASE II§2¦SCHEDULE B§SECTION 1 : GENERAL REQUIREMENTS AND CHARGES¦SECTION 4 : MEDIUM-PRESSURE PIPE LINES
Note on A11: ¦1¦2¦1¦1¦2¦Null§SubSection
Note on A13: ¦1¦2¦1¦2¦0¦Null§
Note on A15: ¦1¦2¦1¦3¦0¦Null§
Note on A17: ¦1¦2¦1¦4¦0¦Null§
Note on A19: ¦1¦2¦1¦5¦0¦Null§
Note on A21: ¦1¦2¦1¦6¦0¦Null§
Note on A23: ¦1¦2¦1¦7¦0¦Null§
Note on A25: ¦1¦2¦1¦8¦0¦Null§
Note on A27: ¦1¦2¦1¦9¦0¦Null§
Note on A29: ¦1¦2¦1¦10¦0¦Null§
Note on A31: ¦1¦2¦1¦11¦0¦Null§
Note on A33: ¦1¦2¦1¦12¦0¦Null§
Note on A35: ¦1¦2¦1¦13¦0¦Null§
Note on A37: ¦1¦2¦1¦14¦0¦Null§
Note on A39: ¦1¦2¦1¦15¦0¦Null§
Note on A53: ¦1¦2¦1¦16¦0¦Null§
Note on A55: ¦1¦2¦1¦17¦0¦Null§
Note on A57: ¦1¦2¦1¦18¦0¦Null§
Note on A59: ¦1¦2¦1¦19¦0¦Null§
Note on A61: ¦1¦2¦1¦20¦0¦Null§
Note on A63: ¦1¦2¦1¦21¦0¦Null§
Note on A65: ¦1¦2¦1¦22¦0¦Null§
Note on A67: ¦1¦2¦1¦23¦0¦Null§
Note on A69: ¦1¦2¦1¦24¦0¦Null§
Note on A71: ¦1¦2¦1¦25¦0¦Null§
Note on A73: ¦1¦2¦1¦26¦0¦Null§
Note on A75: ¦1¦2¦1¦27¦0¦Null§
Note on A77: ¦1¦2¦1¦28¦0¦Null§
Note on A79: ¦1¦2¦1¦29¦0¦Null§
Note on A95: ¦1¦2¦2¦1¦0¦Null§SubSection
Note on A97: ¦1¦2¦2¦2¦0¦Null§
Note on A99: ¦1¦2¦2¦3¦0¦Null§
Note on A101: ¦1¦2¦2¦4¦0¦Null§
Note on A103: ¦1¦2¦2¦5¦0¦Null§
Note on A105: ¦1¦2¦2¦6¦0¦Null§
Note on A107: ¦1¦2¦2¦7¦0¦Null§
Note on A109: ¦1¦2¦2¦8¦0¦Null§
Note on A111: ¦1¦2¦2¦9¦0¦Null§
Note on A113: ¦1¦2¦2¦10¦0¦Null§
Note on A115: ¦1¦2¦2¦11¦0¦Null§
Note on A117: ¦1¦2¦2¦12¦0¦Null§
Note on A119: ¦1¦2¦2¦13¦0¦Null§
Note on A121: ¦1¦2¦2¦14¦0¦Null§
Note on A123: ¦1¦2¦2¦15¦0¦Null§
Note on A125: ¦1¦2¦2¦16¦0¦Null§
Note on A139: ¦1¦2¦2¦17¦0¦Null§
Note on A141: ¦1¦2¦2¦18¦0¦Null§
Note on A143: ¦1¦2¦2¦19¦0¦Null§
Note on A145: ¦1¦2¦2¦20¦0¦Null§
Note on A147: ¦1¦2¦2¦21¦0¦Null§
Note on A149: ¦1¦2¦2¦22¦0¦Null§
Note on A151: ¦1¦2¦2¦23¦0¦Null§
Note on A153: ¦1¦2¦2¦24¦0¦Null§
Note on A155: ¦1¦2¦2¦25¦0¦Null§
Note on A157: ¦1¦2¦2¦26¦0¦Null§
Note on A159: ¦1¦2¦2¦27¦0¦Null§
Note on A161: ¦1¦2¦2¦28¦0¦Null§
Note on A163: ¦1¦2¦2¦29¦0¦Null§
Note on A165: ¦1¦2¦2¦30¦0¦Null§
Note on A167: ¦1¦2¦2¦31¦0¦Null§
Note on A169: ¦1¦2¦2¦32¦0¦Null§
Note on A184: ¦1¦2¦2¦33¦0¦Null§
Note on A186: ¦1¦2¦2¦34¦0¦Null§
Note on A188: ¦1¦2¦2¦35¦0¦Null§
Note on A190: ¦1¦2¦2¦36¦0¦Null§
Note on A192: ¦1¦2¦2¦37¦0¦Null§
Note on A194: ¦1¦2¦2¦38¦0¦Null§
Note on A196: ¦1¦2¦2¦39¦0¦Null§
Note on A198: ¦1¦2¦2¦40¦0¦Null§
Note on A200: ¦1¦2¦2¦41¦0¦Null§
Note on A202: ¦1¦2¦2¦42¦0¦Null§
Note on A204: ¦1¦2¦2¦43¦0¦Null§
Note on A206: ¦1¦2¦2¦44¦0¦Null§
Note on A208: ¦1¦2¦2¦45¦0¦Null§
Note on A210: ¦1¦2¦2¦46¦0¦Null§
Note on A212: ¦1¦2¦2¦47¦0¦Null§
Note on A214: ¦1¦2¦2¦48¦0¦Null§
Note on A216: ¦1¦2¦2¦49¦0¦Null§
Note on A230: ¦1¦2¦2¦50¦0¦Null§
Note on A232: ¦1¦2¦2¦51¦0¦Null§
Note on A234: ¦1¦2¦2¦52¦0¦Null§
Note on A236: ¦1¦2¦2¦53¦0¦Null§
Note on A238: ¦1¦2¦2¦54¦0¦Null§
Note on A240: ¦1¦2¦2¦55¦0¦Null§
Note on A242: ¦1¦2¦2¦56¦0¦Null§
Note on A244: ¦1¦2¦2¦57¦0¦Null§
Note on A246: ¦1¦2¦2¦58¦0¦Null§
Note on A248: ¦1¦2¦2¦59¦0¦Null§
Note on A250: ¦1¦2¦2¦60¦0¦Null§
Note on A252: ¦1¦2¦2¦61¦0¦Null§
Note on A254: ¦1¦2¦2¦62¦0¦Null§
Note on A256: ¦1¦2¦2¦63¦0¦Null§
Note on A258: ¦1¦2¦2¦64¦0¦Null§
Note on A260: ¦1¦2¦2¦65¦0¦Null§
Note on A262: ¦1¦2¦2¦66¦0¦Null§
Note on A282: ¦1¦2¦2¦67¦0¦Null§
Note on A284: ¦1¦2¦2¦68¦0¦Null§
Note on A286: ¦1¦2¦2¦69¦0¦Null§
Note on A288: ¦1¦2¦2¦70¦0¦Null§
Note on A290: ¦1¦2¦2¦71¦0¦Null§
Note on A292: ¦1¦2¦2¦72¦0¦Null§
Note on A294: ¦1¦2¦2¦73¦0¦Null§
Note on A296: ¦1¦2¦2¦74¦0¦Null§PercPrevItem
Note on A298: ¦1¦2¦2¦75¦0¦Null§
Note on A300: ¦1¦2¦2¦76¦0¦Null§
Note on A302: ¦1¦2¦2¦77¦0¦Null§
Note on A304: ¦1¦2¦2¦78¦0¦Null§
Note on A321: ¦1¦2¦2¦79¦0¦Null§
Note on A323: ¦1¦2¦2¦80¦0¦Null§
Note on A325: ¦1¦2¦2¦81¦0¦Null§
Note on A327: ¦1¦2¦2¦82¦0¦Null§
Note on A329: ¦1¦2¦2¦83¦0¦Null§
Note on A331: ¦1¦2¦2¦84¦0¦Null§
Note on A333: ¦1¦2¦2¦85¦0¦Null§

## Summary
Rate=H | MOSES KOTANE LOCAL MUNICIPALITY
BID NO: 011/MKLM/2021/2022
TWEELAGTE WATER SUPPLY PHASE II
SUMMARY OF SCHEDULES
|  | SCHEDULE | DESCRIPTION | AMOUNT R
|  | 1 | SCHEDULE A | 2069000
|  | 2 | SCHEDULE B | 337000
|  | Total |  | 2406000
| 14-09-2021 |  |  | PM934_Tweelagte Water supply Phase II_Rev4.bill