## works
PROJECT NO: 011/MKLM/2022/2023 | DATE: 10-08-2022
MOSES KOTANE LOCAL MUNICIPALITY
MANAMAKGOTENG RESERVOIR AND BULK WATER SUPPLY
MOSES KOTANE LOCAL MUNICIPALITY
MANAMAKGOTENG RESERVOIR AND BULK WATER SUPPLY
BOQ PAGE NUMBER 125
Contractor
Employer
Witness 1
Witness 1
Witness 2
Witness 2

## pg1
PROJECT NO: 011/MKLM/2022/2023 | [8 empty] | DATE: 10-08-2022
MOSES KOTANE LOCAL MUNICIPALITY
MANAMAKGOTENG RESERVOIR AND BULK WATER SUPPLY
Item | Payment | Item Description | Unit | Quantities |  |  |  |  | Rate | Amount
number | reference |  |  | tender | final | previous | current | to date |  | Rands.cents
| SANS | SCHEDULE 1
| 1200 | PRELIMARY AND GENERAL
A,AB
1.1 |  | FIXED CHARGE ITEMS
A
1.1.1 | 8.3.1 | Contractual requirements | sum | 1
1.1.2 | PSAB 1 | The Contractor to provide a name board | No | 1
1.1.3 | PSAB 4 | The Contractor to provide survey assistant | sum | 1
1.1.4 | PSAB 5 | The Contractor to provide survey equipments | sum | 1
1.1.5 | PS 6.3 | The Contractor to provide offices and storage sheds | sum | 1
1.1.8 | PS 7.1 | The Contractor to provide ablution and latrine facilities | sum | 1
1.1.9 |  | The Contractor to supply tools and equipments | sum | 1
1.1.10 | PS 6.1& | The Contractor to provide water, electricity & communications | sum | 1
1.1.11 | 5.5 | Deal with water as described in SANS 1 200 A section 5.5 | sum | 1
1.1.12 |  | The Contractor to establish access road to site | sum | 1
1.1.13 | 8.3.3 | Other fixed charge obligations by the Contractor | sum | 1
1.1.14 | 8.3.4 | The Contractor to remove site establishment | sum | 1
1.1.15 |  | The Contractor to make provision for traffic control | sum | 1
1.2 |  | TIME RELATED ITEMS
PSA
1.2.1 | 8.4.1 | Contractual requirements | sum | 1
1.2.2 | 8.4.2 | The Contractor to maintain facilities on the site | sum | 1
1.2.3 | 8.4.3 | The Contractor's supervision of the site | sum | 1
1.2.4 | 8.4.4 | The Contractor's company and head office overhead costs | sum | 1
1.2.5 | 8.4.5 | Other time related obligations by the Contractor | sum | 1
1.2.6 |  | Time related costs for traffic control | sum | 1
1.3 |  | PROVISIONAL SUMS BY THE ENGINEER
PSA
1.3.1 |  | Provisional sum for various tests requested by the Engineer | Prov | 1 |  |  |  |  | 50000 | 50000
1.3.2 |  | Contractor's overhead and profit on Item 1.3.1 | %
1.3.3 |  | Provisional sum for the remuneration of the CLO on monthly basis as determined by the Client | Prov | 1 | 24000 | 24000 |  |  | 25000 | 25000
1.3.4 |  | Contractor's overhead and profit on Item 1.3.3 | % |  | 24000 | 0
1.3.5 |  | Provisional sum for the Sitting Allowance of the PSC Members attending PSC meetings during the Construction Phase of the project | Prov | 1 | 24000 | 24000 |  |  | 10000 | 10000
1.3.6 |  | Contractor's overhead and profit on Item 1.3.5 | % |  | 24000 | 0
TOTAL CARRIED TO SUMMARY
BOQ PAGE NUMBER 126
Contractor
Employer
Witness 1
Witness 1
Witness 2
Witness 2

## ewtank
PROJECT NO: 011/MKLM/2022/2023 | [8 empty] | DATE: 10-08-2022
MOSES KOTANE LOCAL MUNICIPALITY
MANAMAKGOTENG RESERVOIR AND BULK WATER SUPPLY
Item | Payment | Item Description | Unit | Quantities |  |  |  |  | Rate | Amount
number | reference |  |  | tender | final | previous | current | to date |  | Rands.cents
| SANS | SCHEDULE 2
| 1 200 | STORAGE TANKS
DRAWING REFERS: MKLM_01 - 07
2 |  | MISCELLANEOUS ITEMS
2.1 | D | Earthworks
| 8.3.1 | Site preparation: Clear and strip site | m² | 750
| 8.3.3 | Restricted Excavations for concrete bases
2.1.1 |  | (a) In soft material | m³ | 175.68
2.1.2 |  | (b) In hard material | m³ | 8.784
2.2 | G | Concrete (Structural)
2.2.1 | 8.4.3 | Concrete bases for the tank Grade 25/19 | m³ | 197.64
2.2.2 |  | Concrete Ancillaries
2.2.2.1 | 8.3.1 | Reinforcement | t | 1.5
2.2.2.2 | 8.2 | Formwork | m² | 1756.8
2.3 | PSHA | Supply and Installation of storage tank
|  | Supply, delivery to site and erection of sectional pressed steel tank, sterilising and water tightness test in the following size : 1.99Ml, including pipe fittings to the inlet and outlet- DWG No 011/MKLM_01-02 | Prov | 1 |  |  |  |  | 3165557.76 | 3165557.76
2.3.1 |  | Contractor's overhead and profit on Item 6.1 | %
2.4 |  | Dealing with existing services
DB
2.4.1 | 8.3.5.a | Electrical cables crossing the new trenches | No | R/O | [5 empty] | Rate only
2.4.2 | 8.3.5.a | Non optic post office cables and pipes crossing the new trenches | No | R/O | [5 empty] | Rate only
2.4.3 | 8.3.5.a | House / stand connection pipes crossing the new trenches | No | R/O | [5 empty] | Rate only
2.4.4 | 8.3.5.a | Main water pipes crossing the new trenches | No | R/O | [5 empty] | Rate only
2.4.5 | 8.3.5.a | Main sewer pipes crossing the new trenches | No | R/O | [5 empty] | Rate only
2.4.6 | 8.3.5.a | Other services not specified effecting the construction | No | R/O | [5 empty] | Rate only
2.4.7 | 8.3.5.a | Open up for inspection of existing water pipes | No | 5
2.4.8 |  | Remove and reinstate existing fences (no new material involved) | m | 50
2.5 |  | Isolating Valves
| L | Supply, transport, inspect and install complete, joint to the pipes including the cutting of pipes where neccesary, test, disinfect PN16, Valves,left hand closing non rising spindle with cap top
2.5.1 |  | 150 mm Ø gate valve with valve chamber | No | 1
2.5.2 |  | Supply and install a non return valve on 150mm Diameter pipe | No | 1
2.6 |  | Security fence
2.6.1 |  | Supply and install perimeter fence 1,8m high, including corner posts,gate posts with stays on one side, intermediate posts, and 5m wide double gate, concrete 15/19 of 200mm deep x 200mm wide around fence bottom as per DWG No 011/MKLM_07 | Sum | 1
TOTAL CARRIED TO SUMMARY
BOQ PAGE NUMBER 127
Contractor
Employer
Witness 1
Witness 1
Witness 2
Witness 2

## ohs
PROJECT NO: 011/MKLM/2022/2023 | [8 empty] | DATE: 10-08-2022
MOSES KOTANE LOCAL MUNICIPALITY
MANAMAKGOTENG RESERVOIR AND BULK WATER SUPPLY
Item | Payment | Item Description | Unit | Quantities |  |  |  |  | Rate | Amount
number | reference |  |  | tender | final | previous | current | to date |  | Rands.cents
| SANS | SCHEDULE 3
| 1 200 | OCCUPATIONAL HEALTH AND SAFETY REQIREMENTS
3.1 |  | NOTIFICATION OF CONSTRUCTION WORK
3.1.1 | PS10.4.2 | Notify the Provincial Director of construction work Reg.3 | sum | 1
3.2 |  | PROGRAM
3.2.1 | PS10.5 | Set up a site and job specific H&S Plan including a file on site to | sum | 1
| PR10.32 | contain the followings :
| 1 | Copy of H&S Act 85 of 1993 including the Construction Regulations,
July 2003
| 2 | Proof of registration with COID Insurer
| 3 | Notification of construction work
| 4 | Section 37(2) agreement
| 5 | H&S specifications provided by the Client
| 6 | Copy of tender document, drawings etc.
| 7 | H&S Plan with all information as requested in the H&S specifications
| 8 | Company safety policy to be signed by the CEO
| 9 | Company organogrammme with respect of H&S on specific site
| 10 | Letters of appointment for specific site
| 11 | List of subcontractors for specific site
| 12 | Evacuation plan from specific site
| 13 | Training material and training records
| 14 | Risk assessments and method statements
| 15 | Registers as specified elsewhere
| 16 | Safe work procedures and material safety data sheet
| 17 | Fall protection plan
| 18 | Incident recordings
| 19 | Medical records
| 20 | Minutes of H&S meetings
Note :
The file shall be a lever arch file with original color document of
acceptable standards
Emergency telephone numbers to be displayed on back of file
The file will be expanded during the project as and when required
by the Client
3.3 |  | SERVICE PROVIDER APPOINTMENTS
3.3.1 | PS10.9 | Appoint a service provider to carry out a risk assessment | sum | 1
3.3.2 |  | Appoint an H & S Induction trainer | sum | 1
3.3.3 |  | Set up safe works procedures by a competent person | sum | 1
3.4 |  | TRAINING COURSES
3.4.1 |  | Train the SHE representative | No | 1
3.4.2 |  | Induct training of all workers | No | 1
3.4.3 |  | Community training | No | 1
BOQ PAGE NUMBER 128
Contractor
Employer
Witness 1
Witness 1
Witness 2
Witness 2

## ohs2
PROJECT NO: 011/MKLM/2022/2023 | [8 empty] | DATE: 10-08-2022
MOSES KOTANE LOCAL MUNICIPALITY
MANAMAKGOTENG RESERVOIR AND BULK WATER SUPPLY
Item | Payment | Item Description | Unit | Quantities |  |  |  |  | Rate | Amount
number | reference |  |  | tender | final | previous | current | to date |  | Rands.cents
| SANS | SCHEDULE 7 CONTINUED
| 1 200 | OCCUPATIONAL HEALTH AND SAFETY REQIREMENTS
\ SCHEDULE CONTINUED FROM PAGE 125
3.4.4 |  | Hold toolbox talks on environmental awareness | No | 1
3.4.5 | PS10.13 | Train on construction vehicles and mobile plant | No | 1
3.4.6 |  | Hold talks on first aid awareness | No | 1
3.4.7 |  | Hold talks on fire fighting awareness | No | 1
3.4.8 |  | Set up HIV training - 5 units | No | 1
3.4.9 |  | Hold tool box talks on hand tools and hand tool accidents | No | 1
3.4.10 | PS10.12 | Hold tool box talks on machine guarding | No | 1
3.4.11 |  | Hold tool box talks on lifting materials by hand | No | 1
3.4.12 | PS10.11 | Hold tool box talks on safe loading | No | 1
3.4.13 | PS10.14 | Hold tool box talks on safety signs | No | 1
3.4.14 |  | Hold tool box talks on ten commandments of safety | No | 1
3.5 |  | SHE REPRESENTATIVE
3.5.1 | PS10.7 | Appoint an SHE representative to be permanently on site | sum | 1
Additional payment for workers appointed on specific H&S tasks :
3.5.2 |  | Accident investigator | sum | 1
3.5.3 |  | Construction vehicle and mobile plant inspector | sum | 1
3.5.4 |  | Hand tool inspector | sum | 1
3.5.5 |  | Portable electrical equipments inspector | sum | 1
3.5.6 |  | Stacking and storage inspector | sum | 1
3.5.7 |  | Hygiene and hygiene facility inspector | sum | 1
3.5.8 |  | Fire equipment inspector | sum | 1
3.5.9 |  | First aid box inspector | sum | 1
3.5.10 | PS10.8 | Construction supervisor | sum | 1
3.5.11 | PS10.15 | Excavation inspector | sum | 1
3.5.12 |  | Community liaison officer | sum | 1
3.6 |  | FIRE FIGHTING EQUIPMENT
3.6.1 | PR10.28 | Provide 3 kg fire fighting equipment suitable for electric fires on | No | 2
each site
3.6.2 |  | Obtain inspection certificates of fire fighting equipment | No | 2
3.7 |  | FIRST AID
7.7.1 | PR10.25 | Provide a basic First Aid Kit | No | 1
7.7.2 |  | Provide a stretcher | No | 1
3.8 |  | PERSONAL PROTECTIVE CLOTHING
3.8.1 | PS10.37.5 | Shoulder length PVC Gloves | No | 12 | [5 empty] | Rate only
3.8.2 | PS10.37.6 | Plastic Trousers | No | 5 | [5 empty] | Rate only
3.8.3 | PS10.37.2 | Safety Goggles | No | 10
SCHEDULE CARRIED FORWARD TO PAGE 128
BOQ PAGE NUMBER 129
Contractor
Employer
Witness 1
Witness 1
Witness 2
Witness 2

## ohs3
PROJECT NO: 011/MKLM/2022/2023 | [8 empty] | DATE: 10-08-2022
MOSES KOTANE LOCAL MUNICIPALITY
MANAMAKGOTENG RESERVOIR AND BULK WATER SUPPLY
Item | Payment | Item Description | Unit | Quantities |  |  |  |  | Rate | Amount
number | reference |  |  | tender | final | previous | current | to date |  | Rands.cents
| SANS | SCHEDULE 7 CONTINUED
| 1 200 | OCCUPATIONAL HEALTH AND SAFETY REQIREMENTS
\ SCHEDULE CONTINUED FROM PAGE 126
3.8.4 |  | Gum Boots | No | 15
3.8.5 |  | Welding Helmet | No | 1
3.8.6 | PS10.37.2 | Gas Welding Safety Goggles | No | 1
3.8.7 | PS10.37.4 | Safety Shoes | No | 25
3.8.8 |  | Dust Masks | No | 500
3.8.9 | PS10.37.1 | Hard hats | No | 25
3.8.10 | PS10.37.6 | Leather Aprons | No | 1
3.8.11 |  | Respiratory masks | No | 2
3.8.12 |  | Overalls | No | 25
3.9 |  | MEDICAL TESTS
3.9.1 |  | Obtain medical fitness tests of all operators | No | 10
3.9.2 |  | Provide Hepatitis A and B tests and vaccinations | No | 40 | [5 empty] | Rate only
3.9.3 |  | Provide Tetanus tests and vaccinations | No | 40 | [5 empty] | Rate only
3.10 |  | IDENTIFICATION CARDS
3.10.1 |  | Provide identification cards to employees | No | 25 | [5 empty] | Rate only
3.11 |  | COVID-19 COMPLIANCE
3.11.1 |  | Covid 19 OHS Plan, HIRA,and file | No | 1
3.11.2 |  | Hand Washing Facilities | No | 2
3.11.3 |  | Personnal Protective Equipment
|  | Cloth mask | No | 50
|  | Hand Gloves surgical plastic | No | 50
|  | Face shield | No | 5
3.11.4 |  | Supply Sanitizer foot press stand | No | 2
3.11.5 |  | Supply Sanitizers for the duration of Contract | Sum | 1
3.11.6 |  | Supply Tissue for hand wipping for the duration of the Contract | Sum | 1
3.11.7 |  | Bio Hazardous Waste bins- (the colour coded ones) | No | 2
3.11.8 |  | Transportation of the disposal of the Bio-Hazardous Waste | Sum | 1
3.11.9 |  | Cleaning Detergents, Cleaning Cloth and cleanng equipments | Sum | 1
3.11.10 |  | Screening Equipment digital body thermometer infrared | No | 1
non-contact
3.11.11 |  | Covid-19 Compliance Officer | No | 1
3.11.12 |  | Provide an Isolation room | No | 1
TOTAL CARRIED TO SUMMARY
BOQ PAGE NUMBER 130
Contractor
Employer
Witness 1
Witness 1
Witness 2
Witness 2

## sum
PROJECT NO: 011/MKLM/2022/2023 |  | DATE: 10-08-2022
MOSES KOTANE LOCAL MUNICIPALITY
MANAMAKGOTENG RESERVOIR AND BULK WATER SUPPLY
SUMMARY OF THE SCHEDULE OF QUANTITIES
SCHEDULE 1 | PRELIMARY AND GENERAL
SCHEDULE 2 | STORAGE TANKS
SCHEDULE 3 | OCCUPATIONAL HEALTH AND SAFETY REQIREMENTS
TOTAL CONSTRUCTION VALUE
ADD ESTIMATED CONTINGENCIES (5% OF CONSTRUCTION VALUE) | Add estimated (10% of construction value) contingencies
TOTAL CONSTRUCTION, CONTINGENCY & PRICE ADJUSTMENT VALUE | Total construction and contingency value
ADD 15% VALUE ADDED TAX | Add 14% Value Added Tax
TOTAL VALUE CARRIED TO TENDER DOCUMENT'S FRONT PAGE | Total value carried to Tender Document's front page
BOQ PAGE NUMBER 131
Contractor
Witness 1
Witness 2
Employer
Witness 1
Witness 2