## Claim form (hidden)
CLAIM FORM
1. | CLIENT | : | Department of Human Settlements: Free State Province
2. | PROJECT DESCRIPTION | : | Water and Sewer for Sites in Vredefort, Mokwallo
| DATE OF CLAIM No. 1 | : | 27 July 2020
| TOTAL PROJECT COST | : | #REF! | (Excluding contingencies and VAT)
| MINUS : PREVIOUS CLAIMS | : | 0
| SUB-TOTAL | : | #REF!
| CURRENT CLAIM | : | #REF!
[7 empty] | trained | 22
3. | AMOUNT STILL AVAILABLE | : | #REF!
4. | ACTUAL DATE COMMENCED | : | 2020-06-18
5. | COMPLETION DATE | : | 2021-03-21 |  | pipe | 7
[5 empty] | mh | 16
6. | NO OF NEW JOBS CREATED | : | 0 |  | hc | 7
[5 empty] | septic | 2
7. | NO OF PERSONS TRAINED | : | 0 |  | water pipe | 4
[5 empty] | ohs | 1
[5 empty] | setting | 3
ENGINEER : E'tsho Civils
DATE :
This amount is based on the estimated value of work executed as at 27 July 2020 as determined from Certificate No. 1, supporting calculations, schedule and summaries held by the Engineer. The inclusion of an item or an amount scheduled for payment does not mean that it has been passed by the Engineer. All measurements and payments are subject to revision and correction in subsequent Certificates, if necessary.

## Schedule 1
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
633 |  |  | SECTION A: GENERAL
634 |  | SANS 1200A | GENERAL
635 | A1 | 8.3 | Scheduled fixed-charge and value-related items
636 | A1.1 | PSA 8.3.1 | Fixed preliminary and general charges | Sum | 1
637 | A1.2 | PSA 8.3.2 | Value related preliminary and general charges | Sum | 1
638 | A1.3 | 8.3.4 | Removal of site establishment | Sum | 1
639 | A2 |  | Scheduled time-related items:
640 | A2.1 | PSA 8.4.1 | Time-related preliminary and general charges | Months | 8
641 | A3 |  | Engineer's Office
642 | A3.1 | PSAB 1 | Name boards | No | 2
643 | A3.2 | PSAB 2 | Office building | Sum | 1
644 | A4 | 8.6 | Prime Cost Items
645 | A4.1 |  | Additional tests required by the Engineer | PC Sum | 1 | 50000 | 50000
646 | A4.2 |  | Charge required by Contractor on subitem A4.1 above | % | 50000
647 | A4.3 |  | Surveyor for setting out of works and re-establishing erf boundary pegs by a registered land surveyor | PC Sum | 1 | 40000 | 40000
648 | A4.4 |  | Charge required by Contractor on subitem A4.3 above | % | 40000
649 | A4.5 |  | Costs encountered by the Engineer (Full time construction site supervision) | PC Sum | 1 | 500000 | 500000
650 | A4.6 |  | Charge required by Contractor on subitem A4.5 above | % | 500000
651 | A4.7 |  | Telephone and communication for the Engineer | PC Sum | 1 | 15000 | 15000
652 | A4.8 |  | Charge required by Contractor on subitem A4.7 above | % | 15000
653 | A5 | PSA 8.7 | Daywork (Provisional)
654 | A5.1 |  | Labour
655 | A5.1.1 |  | Artisan | h | Rate Only |  | Rate Only
656 | A5.1.2 |  | Skilled labour | h | Rate Only |  | Rate Only
657 | A5.1.3 |  | Semi-skilled labour | h | Rate Only |  | Rate Only
658 | A5.1.4 |  | Unskilled labour | h | Rate Only |  | Rate Only
659 | A5.2 |  | Materials
660 | A5.2.1 |  | Allow for all-inclusive materials actually used | PC Sum | 1 | 80000 | 80000
661 | A5.2.2 |  | Charge required by Contractor on subitem A5.2.1 above | % | 80000
662 | A5.3 | PSA 8.7 | Equipment
663 | A5.3.1 |  | Case 580F or similar | h | Rate Only |  | Rate Only
664 | A5.3.2 |  | Hitachi Ex 200 or similar | h | Rate Only |  | Rate Only
665 | A5.3.3 |  | Caterpillar 140G or similar | h | Rate Only |  | Rate Only
666 | A5.3.4 |  | 6m³ tipper | h | Rate Only |  | Rate Only
667 | A5.3.5 |  | 1 ton light delivery vehicle | km | Rate Only |  | Rate Only
Total Carried Forward
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Brought Forward
668 | A5.3.6 |  | Bomag BW 76S or similar | day | Rate Only |  | Rate Only
669 | A5.3.7 |  | 20m³/h water pump | day | Rate Only |  | Rate Only
670 | A5.3.8 |  | 250 A DC welder | day | Rate Only |  | Rate Only
671 | A5.3.9 |  | Compressor (breakers and piping included) | day | Rate Only |  | Rate Only
672 | A5.3.10 |  | Any other equipment (specify)
673 |  |  | 1)…………………………………………. | day | Rate Only |  | Rate Only
674 |  |  | 2)…………………………………………. | day | Rate Only |  | Rate Only
675 |  |  | 3)…………………………………………. | day | Rate Only |  | Rate Only
676 | A6 |  | Community Liaison Officer
677 | A6.1 | PSA 8.3.2 | Establish facilities on site for the Community Liaison Officer | Sum | 1
678 | A6.2 | 8.3.4 | Removal of Community Liaison Officer's site establishment and reinstate site upon completion | Sum | 1
679 | A6.3 | PSA 8.4.1 | Operate and maintain Community Liaison Officer's site office | Sum | 1
680 | A6.4 | PSA 8.5 | Allow for remuneration for Community Liaison Officer | Prov Sum | 1 | 90000 | 90000
681 | A6.5 |  | Overheads, charges and profit on subitem A6.4 above | % | 90000
682 | A6.6 |  | Allow for mobile phone allowance for CLO | Prov Sum | 1 | 10000 | 10000
683 | A6.7 |  | Overheads, charges and profit on subitem A6.6 above | % | 10000
684 | A6.8 |  | Allow for transport for CLO | Prov Sum | 1 | 5000 | 5000
685 | A6.9 |  | Overheads, charges and profit on subitem A6.8 above | % | 5000
686 | A7 | SPEC OHS | Health and safety :
687 | A7.1 | PSA 8.9 | Compliance with OHS Act and Regulations | Sum | 1
688 | A7.2 | PSA 8.5 | Health and safety specialist (Engineer) | Prov Sum | 1 | 120000 | 120000
1004 | A7.3 |  | Overheads, charges and profit on subitem A7.2 above | % | 120000
689 | A7.3 | OHS 5.2 | Penalty for non-compliance with the Occupational Health and Safety Specification:
690 | A7.3.1 |  | a) Fixed penalty per occurrence | No |  | -10000.00
691 | A7.3.2 |  | b) Time related penalty | Hour |  | -2500.00
692 | A8 | SPEC EM | Environmental management :
693 | A8.1 |  | Compliance with Environmental Management Specification | Sum | 1
694 | A8.2 | PSA 8.5 | Environmental specialist (Engineer) | Prov Sum | 1 | 120000 | 120000
695 | A8.3 |  | Overheads, charges and profit on subitem A8.2 above | % | 120000
696 | A8.4 | EM 6.2.3 | Penalty for non-compliance with the Environmental Management Specification:
697 | A8.4.1 |  | a) Fixed penalty per occurrence | No |  | -10000.00
698 | A8.4.2 |  | b) Time related penalty | Hour |  | -2500.00
699 | A9 |  | Temporary works
700 | A9.1 |  | Existing services:
| A9.1.1 | 8.8.4 | Locate, and excavate by hand in all material to expose existing services where ordered by the Engineer (provisional) | m³ | 50
Total Carried Forward
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
805 |  |  | SECTION C: WATER RETICULATION
807 | C1 | SANS 1200DB | EARTHWORKS (PIPE TRENCHES)
808 | C1.1 | 8.3.1 | Site Clearance
809 | C1.1.1 |  | Clear vegetation and trees of girth up to 1 m | m | 3200
810 | C1.1.2 |  | Remove topsoil to nominal depth of 150mm and stockpile | m² | 530
811 | C1.2 |  | Clear trees of girth over 1,0m and designated obstacles
812 | C1.2.1 |  | Over 1,0m and up to and including 2,0m | No | Rate Only |  | Rate Only
813 | C1.2.2 |  | Over 2,0m and up to and including 3,0m | No | Rate Only |  | Rate Only
814 | C2 | 8.3.2 | Excavate in all materials for trenches, backfill, compact and dispose of surplus material:
815 | C2.1 |  | DN 75mm pipes for depths :
816 | C2.1.1 |  | Up to 1,0m | m | 16590
817 | C2.1.2 |  | Over 1,0m up to 2,0m | m | 8295
818 | C2.1.3 |  | Over 2,0m up to 3,0m | m | Rate Only |  | Rate Only
819 | C2.2 |  | DN 110mm pipes for depths :
820 | C2.2.1 |  | Up to 1,0m | m | 4179
821 | C2.2.2 |  | Over 1,0m up to 2,0m | m | 2089.5
822 | C2.2.3 |  | Over 2,0m up to 3,0m | m | Rate Only |  | Rate Only
823 | C2.3 |  | DN 160mm pipes for depths :
824 | C2.3.1 |  | Up to 1,0m | m | 790.8
825 | C2.3.2 |  | Over 1,0m up to 2,0m | m | 395.4
826 | C2.3.3 |  | Over 2,0m up to 3,0m | m | Rate Only |  | Rate Only
827 | C2.4 |  | DN 250mm pipes for depths :
828 | C2.4.1 |  | Up to 1,0m | m | 2103
829 | C2.4.2 |  | Over 1,0m up to 2,0m | m | 1051.5
830 | C2.4.3 |  | Over 2,0m up to 3,0m | m | 350.5
831 | C2.5 |  | Extra over item C2.1 and C2.2 above for:
832 | C2.5.1 |  | Hard rock excavation | m³ | 5915.7
833 | C2.5.2 |  | Excavate and dispose of unsuitable material from trench bottom | m³ | 1700
834 | C3 | 8.3.3 | Excavation ancillaries:
835 | C3.1 |  | Make up deficiency in backfill material:
836 | C3.1.1 |  | From other necessary excavations on site | m³ | 5751
837 | C3.1.2 |  | By importation from commercial or off-site sources selected by the Contractor and approved by the Engineer | m³ | 3834
838 | C3.1.3 |  | Compaction in road crossings | m³ | 118.4
839 | C4 | 8.3.5 | Existing services that intersect or adjoin a pipe trench
840 | C4.1 |  | Services that intersect a trench:
841 | C4.1.1 |  | Water mains up to DN 300mm | No | 5
842 | C4.1.2 |  | Sewers up to DN 200mm | No | 2
843 | C4.1.3 |  | Eskom overhead HT power lines | No | 10
Total Carried Forward
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Brought Forward
844 | C4.1.4 |  | Overhead telephone lines | No | 5
845 | C4.2 |  | Services that adjoin a trench:
846 | C4.2.1 |  | Water mains up to DN 300mm | m | 0
847 | C4.2.2 |  | Sewers up to DN 200mm | m | 0
1006 | C4.2.3 |  | Eskom overhead HT power lines | m | 250
848 | C5 | 8.3.6 | Finishing:
849 | C5.1 |  | Reinstate road surfaces complete with all as-built courses :
850 | C5.1.1 |  | Gravel on shoulders | m² | 43.2
851 | C5.1.2 |  | Asphalt 50mm thick in paved roadways | m² | 47.36
852 | C5.1.3 |  | Gravel surfacing | m² | 43.2
853 | C5.1.4 |  | Concrete, Class 15/19 | m³ | 25
854 | C5.1.5 |  | Concrete paving blocks 80mm thick | m² | 0
855 | C5.1.6 |  | Kerbing | m | 120
856 | C5.1.7 |  | Concrete channel | m | 186.38
857 | C6 | SANS 1200 D | Location of existing services:
858 | C6.1 | 8.3.8.1 | Excavate by hand in soft material to expose existing services | m³ | 372.75
859 | C7 | SANS 1200LB | Bedding (pipes)
860 | C7.1 | 8.2.1 | Provision of bedding from trench excavations:
861 | C7.1.1 |  | Selected granular material | m³ | 804.69
862 | C7.1.2 |  | Selected fill material | m³ | 536.46
863 | C7.2 | 8.2.2 | Supply only of bedding by importation:
864 | C7.2.1 |  | From other necessary excavations:
865 | C7.2.1.1 |  | Selected granular material | m³ | 402.35
866 | C7.2.1.2 |  | Selected fill material | m³ | 268.23
867 | C7.2.2 |  | From commercial sources:
868 | C7.2.2.1 |  | Selected granular material | m³ | 396.98
869 | C7.2.2.2 |  | Selected fill material | m³ | 268.23
870 | C7.3 | 8.2.3 | Concrete bedding cradle:
871 | C7.3.1 |  | Class 20/19 concrete | m³ | 5.36
872 | C7.4 | 8.2.6 | Extra over items C7.1 and C7.2 for bedding stabilized with 5% cement | m³ | 40.23
873 | C8 | PSDB 8.3.8 | Crushed stone bedding layer and geotextile blanket (Provisional)
874 | C8.1 | 4.7.1 | 19mm crushed stone in trench bottom | m³ | 80.47
875 | C8.2 | 4.7.2 | Supply and install Bidim U24 or similar approved geotextile | m² | 4172.49
876 | C9 | SANS 1200 L | Pipework
877 | C9.1 | PSL 8.2.1 | Supply, lay, bed on flexible bedding, complete with couplings, test, clean and disinfect :
878 |  |  | Class 9 uPVC pipes:
879 | C9.1.1 |  | DN 75mm | m | 17742
| C9.1.2 |  | DN 110mm | m | 3876
Total Carried Forward
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Brought Forward
| C9.1.3 |  | DN 160mm | m | 1318
885
| C9.1.4 |  | DN 250mm | m | 3505
886
Class 12 uPVC pipes:
| C9.1.5 |  | DN 75mm | m | 9908
888
| C9.1.6 |  | DN 110mm | m | 3089
889
| C10 | 8.2.2 | Extra over items C9 for the supplying, laying, and bedding of uPVC specials complete with couplings:
890
| C10.1 |  | Medium radius (3D) DN 75mm Class 9 uPVC bends
| C10.1.1 |  | 11¼° bend | No | 106
892
| C10.1.2 |  | 22½° bend | No | 63
893
| C10.1.3 |  | 45° bend | No | 32
894
| C10.1.4 |  | 90° bend | No | 11
895
| C10.2 |  | Medium radius (3D) DN 110mm Class 9 uPVC bends
| C10.2.1 |  | 11¼° bend | No | 32
897
| C10.2.2 |  | 22½° bend | No | 19
898
| C10.2.3 |  | 45° bend | No | 10
899
| C10.2.4 |  | 90° bend | No | 3
900
| C10.3 |  | Medium radius (3D) DN 160mm Class 9 uPVC bends
| C10.3.1 |  | 11¼° bend | No | 15
902
| C10.3.2 |  | 22½° bend | No | 9
903
| C10.3.3 |  | 45° bend | No | 4
904
| C10.3.4 |  | 90° bend | No | 1
905
| C10.4 |  | Medium radius (3D) DN 315mm Class 9 uPVC bends
| C10.4.1 |  | 11¼° bend | No | 8
907
| C10.4.2 |  | 22½° bend | No | 5
908
| C10.4.3 |  | 45° bend | No | 2
909
| C10.4.4 |  | 90° bend | No | 1
910
| C11 | 8.2.5 | Extra over items C9 for the supplying, laying, and bedding of uPVC specials complete with couplings:
911
| C11.1 |  | Equal Tee pieces:
| C11.1.1 |  | DN 75 x DN 75mm socketed ends | No | 15
913
| C11.1.2 |  | DN 110 x DN 110mm socketed ends | No | 2
914
| C11.1.3 |  | DN 160 x DN 160mm socketed ends | No | 1
915
| C11.1.4 |  | DN 315 x DN 250mm socketed ends | No | 3
916
| C11.2 |  | Reducing Tee pieces:
| C11.2.1 |  | DN 250 x DN 160mm socketed ends | No | 1
918
| C11.2.2 |  | DN 160 x DN 110mm socketed ends | No | 1 |  | Rate Only
| C11.2.3 |  | DN 110 x DN 75mm socketed ends | No | 1 |  | Rate Only
| C11.3 |  | Reducers:
| C11.3.1 |  | DN 110 x DN 75mm | No | 10
| C11.3.2 |  | DN 160 x DN 110mm | No | 3
| C11.3.3 |  | DN 250 x DN 160mm | No | 3
Total Carried Forward
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Brought Forward
925 | C11.4 |  | End caps :
927 | C11.4.1 |  | DN 75m uPVC | No | 45
|  |  | DN 110m uPVC | No | 5
928 | C11.5 |  | Fire hydrants | No | 0
929 | C12 | PSL 8.2.11 | Anchor/thrust blocks and pedestals:
930 | C12.1 |  | Class 15/19 mass concrete anchor blocks | m³ | 40
931 | C12.2 |  | Extra over items C12.1 for smooth formwork to the sides of exposed thrust block | m² | 5
932 | C12.3 |  | Extra over items C12.1 and C12.2 for steel floated finishes to exposed thrust block | m² | 5
933 | C13 | PSL 8.2.13 | Valve chambers - complete installation, including excavation, pipework, connecting material, etc. for depths up to 1,5m:
934 | C13.1 |  | Scour valve chamber (Drawing no. 108-502) | No | 0
935 | C13.2 |  | Air valve chamber (Drawing no. 108-502) | No | 0
936 | C13.3 |  | Isolating valve chamber (Drawing no. 108-500) | No | 18
937 | C14 | PSL 8.2.16 | Extra over item C13 for additional depth (additional to depth shown on detail drawings) of chamber
938 | C14.1 |  | Scour valve chamber for increments of 500mm | No | 0
939 | C14.2 |  | Air valve chamber for increments of 500mm | No | 0
940 | C14.3 |  | Isolating valve chamber for increments of 500mm | No | 12
941 | C15 | PSL 8.2.17 | Pipeline markers :
942 | C15.1 |  | Pipeline markers (as per Drawing NFM-C-200) | No | 80
943 | C16 | SANS 1200LF | Erf connections (water)
944 | C16.1 | 8.2.1 | Provide erf connections complete:
945 |  |  | provive Erf connection including excavation, backfill, compaction, pipe materials and specials as per Drawing Mu,ner NFM-C-202
946 | C16.1.1 |  | Long single connection to main supply up to DN 160mm u-PVC pipe
|  |  | DN 75m uPVC | No | 367
|  |  | DN 110m uPVC | No | 30
|  |  | DN 160m uPVC | No | 7
947 | C16.1.2 |  | Short single connection to main supply up to DN 160mm u-PVC pipe
|  |  | DN 75m uPVC | No | 500
|  |  | DN 110m uPVC | No | 50
|  |  | DN 160m uPVC | No | 11
950 | C16.2 | 8.2.2 | Supply and install meters complete with couplings:
951 |  |  | Note: Bidder to specify make and model of alternative valves offered
952 | C16.2.1 |  | DN 20mm single female threaded water meter | No | 1051
Total Carried Forward
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Brought Forward
958
953 |  |  | Alternative
954 | C16.2.2 |  | DN 20mm …………………… | No | Rate Only |  | Rate Only
961
955 | C16.3 | 8.2.5 | Site testing of meters, when ordered | No | 1051
962
| C16.4 | 8.2.6 | Supply and install stop taps complete with special fittings:
963
| C16.4.1 |  | Stop taps at water meter | No | 1051
964
| C16.5 | 8.2.7 | Supply and install surface boxes:
965
| C16.5.1 |  | Water meter surface box | No | 1051
966
| C17 | SANS 1200LK | Valve installations
967
|  | 8.2.1 8.2.2 | Supply, deliver, install, bed and field-test small valve (nominal bore up to and including 300mm):
1009
Note : Bidder to specify make and model of alternative valves offered
969
| C17.1 |  | RSV Gate Valve
| C17.1.1 |  | DN 75mm PN 16 AVK | No | 13
1010
| C17.1.2 |  | DN 110mm PN 16 AVK | No | 8
1011
| C17.1.3 |  | DN 160mm PN 16 AVK | No | 9
972
| C17.1.4 |  | DN 250mm PN 16 AVK | No | 1
974
Alternative
975
| C17.1.5 |  | DN 75mm PN 16…………………… | No | 12 |  | Rate Only
976
| C17.1.6 |  | DN 110mm PN 16…………………… | No | 4 |  | Rate Only
977
| C17.1.7 |  | DN 160mm PN 16…………………… | No | 2 |  | Rate Only
978
| C17.1.8 |  | DN 250mm PN 16…………………… | No | 1 |  | Rate Only
979
| C17.2 |  | Air Valves
980
| C17.2.1 |  | DN 50mm PN 16 ARI D-040 | No | 0
981
Alternative:
982
| C17.2.2 |  | DN 50mm PN 16…………………… | No | Rate Only |  | Rate Only
983
| C17.3 |  | Watermeter
984
Dynamic watermeter
985
Flanges drilled to SANS 1123
986
Table 1600/3:
987
| C17.3.1 |  | DN 65mm PN 16 "Sensus WP-Dynamic Turbine water meter" | No | Rate Only |  | Rate Only
988
| C17.3.2 |  | DN 100mm PN 16 "Sensus WP-Dynamic Turbine water meter" | No | 1
989
| C17.3.3 |  | DN 150mm PN 16 "Sensus WP-Dynamic Turbine water meter" | No | Rate Only |  | Rate Only
990
Alternative
991
| C17.3.4 |  | DN 65mm PN 16…………………. | No | Rate Only |  | Rate Only
| C17.3.5 |  | DN 100mm PN 16…………………. | No | Rate Only |  | Rate Only
| C17.3.6 |  | DN 150mm PN 16…………………. | No | Rate Only |  | Rate Only
| C18 | PSDB 8.3.7 | Accommodation of traffic
| C18.1 |  | Streets | Sum | 1
| C18.2 |  | Gravel roads | Sum | 1
Total Carried Forward To Summary
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
992 |  |  | SECTION D: MISCELLANEOUS ITEMS
994 | D1 | PSA 8.5 | Sums stated provisionally by the Engineer:
995 |  |  | Works executed by the Contractor:
996 | D1.1 |  | Connection to existing infrastructure | Prov Sum | 1
997 | D1.2 |  | Percentage adjustment on Item D1.1 for Contractor's overheads and profit (state as a percentage and extend as an amount) | % | 0
1000 | D1.3 |  | Community participation and awareness programmes | Prov Sum | 1
1001 | D1.4 |  | Percentage adjustment on Item D1.3 for Contractor's overheads and profit (state as a percentage and extend as an amount) | % | 100000
1002 | D2 |  | Berms and V-drains
1003 | D2.1 |  | Construct berms with material excavated from pipe trenches or approved borrow areas on site, shape and compact to 90% mod. AASHTO density | m | 1000
| D2.2 |  | standpipe complete with painted barrier poles, taps, concrete works, connection to the main pipeline, HDPE pipes, galvanized pipes and all fittings as per drawing | No | 1051
Total Carried Forward To Summary
SUMMARY OF SCHEDULES
| Section A |  | GENERAL
| Section C |  | WATER RETICULATION
| Section D |  | MISCELLANEOUS ITEMS
SUB TOTAL A
ADD 10% CONTINGENCIES
ADD 2,5% CPA
SUB TOTAL B
ADD 15% VAT
GAND TOTAL
Section 4 : Bill of Quantities