## Schedule
Bid No. 025/MKLM/2022/2023 - Mabeskraal to Uitkyk Bulk Water Pipeline
Schedule 1
SECTION : GENERAL
| Item No | Payment | Lic | Description | Unit | Qty | Rate | Amount R
199 | 1 | SANS 1200 A |  | SECTION 1: PRELIMINARY AND GENERAL
200 |  | PSA 8.3 |  | Preliminary and general charges
201 | 1.1 |  |  | a) Fixed charges | L/Sum | 1 |  | 0
202 | 1.2 |  |  | b) Time-related charges | Month | 8 |  | 0
2345 |  | 8.3.2 |  | Scheduled Fixed-Charge and Value-Related Items
203 |  | 8.3.2.1 C3.4.5.2 |  | Facilities for the Engineer (SANS 1200 AB)
204 | 1.3 | PSAB2 8.3.2.1 |  | a) Office complete as specified including monthly levies | Month | 8 |  | 0
206 | 1.4 |  |  | b) Supply and erect a contract notice board (2.8m x 1.9m x 1.6mm thick chromodeck steel plate to be riveted @ 200mm centre along the square steel tubing frame) | No. | 2 |  | 0
278 |  | 8.6 |  | Prime Cost and provisional Sums
2340 | 1.5 |  |  | a) Living accommodation | PC Sum | 1 |  | 110000
2341 | 1.6 | 8.4.5 |  | b) Community liaison officer | Prov Sum | 1 |  | 80000
2342 | 1.7 |  |  | c) Steering Committee Members (SCMs) - max. of 5 individuals | Prov Sum | 1 |  | 50000
2343 | 1.8 |  |  | d) Allowance for control survey, testing and the placement of erf pegs by a land surveyor as required by the engineer | PC Sum | 1 |  | 100000
279 | 1.9 | PSA 8.3.2.1 e) |  | f) Handling cost and profit in respect of prime cost and Provisional sums | % | 340000 |  | 0
269 | 1.1 | 8.8 |  | TEMPORARY WORKS
270 | 1.1.1 | 8.8.1 |  | Main access road to works | Prov Sum | 1 |  | 100000
271 | 1.1.2 |  |  | a) Handling cost and profit in respect of prime cost and Provisional sums | % | 100000 |  | 0
272 | 1.1.3 | 8.8.2 |  | (a) Dealing with traffic or accommodation of traffic | Sum | 1 |  | 25000
2344 | 1.1.4 | 8.8.4 | LI | (b) Excavate by hand in soft material to expose services | m³ | 100 |  | 0
273 | 1.1.5 | 8.8.4 |  | (c) Relocation or protection of existing services | Prov Sum | 1 |  | 100000
274 | 1.1.6 |  |  | (d) Handling cost and profit in respect of prime cost and Provisional sums | % | 100000 |  | 0
275 |  | PSA 8.8.10 |  | Compliance with Occupational Health and Safety Act and applicable regulations
276 | 1.1.7 |  |  | a) Provision of Health and Safety Plan | L/Sum | 1 |  | 0
277 | 1.1.8 |  |  | b) Provision of Health and Safety file | L/Sum | 1 |  | 0
| Total Carried Forward | [6 empty] | 565000
1
Bid No. 025/MKLM/2022/2023 - Mabeskraal to Uitkyk Bulk Water Pipeline
Schedule 1
SECTION : GENERAL
| Item No | Payment | Lic | Description | Unit | Qty | Rate | Amount R
| Brought Forward | [6 empty] | 565000
1688 | 1.1.9 |  |  | c) Provision of a full-time safety officer | Month | 8 |  | 0
1689 | 1.1.10 | PS 6.11.1 |  | d) Health and Safety training | L/Sum | 1 |  | 0
1690 | 1.1.11 |  |  | e) Provision of personal protective clothing and equipment (Incl. requirements for Covid 19) | L/Sum | 1 |  | 0
1691 | 1.1.12 |  |  | f) Provision of safety fences, signs and barricades | L/Sum | 1 |  | 0
| Total Carried Forward To Summary | [6 empty] | 565000
2
Bid No. 025/MKLM/2022/2023 - Mabeskraal to Uitkyk Bulk Water Pipeline
Schedule 1
SECTION : PIPE TRENCHES
| Item No | Payment | Lic | Description | Unit | Qty | Rate | Amount R
319 | 2 |  |  | SECTION : PIPE TRENCHES
320 | 2.1 |  |  | SITE CLEARANCE
2346 |  | SANS 1200 C |  | Clearing and grubbing
321 | 2.1.1 | 8.2.1 | LI | Areas | ha | 10 |  | 0
2347 |  | 8.2.2 |  | Remove and grub large trees and tree stumps of girth
322 | 2.1.2 |  | LI | a) over 1 m and up to and including 2 m | No. | 50 |  | 0
323 | 2.1.3 |  |  | b) over 2 m and up to and including 3 m | No. | 10 |  | 0
325 | 2.2 | SANS 1200 DB |  | EXCAVATION
326 |  | 8.3.2(a) |  | (a) Excavate in all materials for trenches, backfill, compact, and dispose of surplus/ unsuitable material, for pipes: 400 mm for total trench depth:
327 | 2.2.1 |  | LI | a) up to 1,5 m deep | m³ | 8300 |  | 0
328 | 2.2.2 |  |  | b) over 1,5 m and up to 2,0 m deep | m³ | 12000 |  | 0
329 | 2.2.3 |  |  | c) over 2, m and up to 3,0 m deep | m³ | 1000 |  | 0
341 |  | 8.3.2(b) |  | (b) Extra-over items 8.3.2(a) for excavation in:
342 | 2.2.4 |  |  | Intermediate excavation | m³ | 6000 |  | 0
343 | 2.2.5 |  |  | Hard rock excavation | m³ | 2500 |  | 0
344 | 2.2.6 | 8.3.2(c) |  | Excavate and dispose of unsuitable material from trench bottom (Provisional) | m³ | 4000 |  | 0
345 | 2.3 |  |  | EXCAVATION. ANCILLARIES
346 | 2.3.1 | 8.3.3.1(a | LI | a) from other necessary excavations on site | m³ | 4000 |  | 0
347 | 2.3.2 | 8.3.3.1(b |  | b) by importation from designated borrow pits | m³ | 1600 |  | 0
348 | 2.3.3 | 8.3.3.1(c | LI | c) by importation from commercial or off-site sources selected by the Engineer | m³ | 4000 |  | 0
| Total Carried Forward To Summary | [6 empty] | 0
3
Bid No. 025/MKLM/2022/2023 - Mabeskraal to Uitkyk Bulk Water Pipeline
Schedule 1
SECTION : BEDDING (PIPES)
| Item No | Payment | Lic | Description | Unit | Qty | Rate | Amount R
626 | 3 | SANS 1200 LB |  | SECTION : BEDDING
627 | 3.1 |  |  | PROVISION OF BEDDING
628 |  | PSLB 8.2.1 |  | Provision of bedding from trench excavation (Including screening)
629 | 3.1.1 | 8.2.1 | LI | a) Selected granular bedding material for Class B bedding | m³ | 6500 |  | 0
630 | 3.1.2 |  | LI | b) Selected fill material (fill blanket) | m³ | 3000 |  | 0
631 |  | 8.2.2 |  | Supply only of bedding by importation Other necessary excavations on site:
633 | 3.1.3 |  | LI | (a) Selected granular material for bedding | m³ | 600 |  | 0
634 | 3.1.4 |  | LI | (b) Selected fill material for fill blanket | m³ | 800 |  | 0
635 |  | 8.2.2.2 |  | From Borrow pits or approved off site sources identified by the contractor
636 | 3.1.5 |  | LI | (a) Selected granular material for bedding | m³ | 20 |  | 0
637 | 3.1.6 |  | LI | (b) Selected fill material for fill blanket | m³ | 20 |  | 0
638 |  | 8.2.2.3 |  | Commercial sources
639 | 3.1.7 |  | LI | (a) 13.2 mm crushed stone for stone bedding | m³ | 600 |  | 0
640 | 3.1.8 |  |  | (b) Selected fill material | m³ | 3000 |  | 0
642 |  | 8.2.5 |  | Overhaul
643 | 3.1.9 |  |  | (a) Selected granular material for bedding | m³.km | 120 |  | 0
644 | 3.1.10 |  |  | (b) Selected fill material for fill blanket | m³.km | 120 |  | 0
| Total Carried Forward To Summary | [6 empty] | 0
4
Bid No. 025/MKLM/2022/2023 - Mabeskraal to Uitkyk Bulk Water Pipeline
Schedule 1
SECTION : MEDIUM-PRESSURE PIPELINES
| Item No | Payment | Lic | Description | Unit | Qty | Rate | Amount R
497 | 4 |  |  | SECTION : WATER MAINS
499 | 4.1 | SANS 1200 L |  | MEDIUM-PRESSURE PIPELINES
615 |  | 8.2.1 |  | Supply, handle, lay, and bed Class B bedding, Joint with spigot and socket couplings, test, and disinfect potable water pipeline for
500 | 4.2 | 8.2.1 |  | PN 12.5 PVC-O , SABS 16422:2007 (PVC-O 500)
501 | 4.2.1 |  | LI | 400 mm diam. | m | 7100 |  | 0
2304 | 4.3 | 8.2.1 |  | PN 16 PVC-O , SABS 16422:2007 (PVC-O 500)
2305 | 4.3.1 |  |  | 400 mm diam. | m | 6100 |  | 0
616 |  |  |  | Extra over for items .2.1 for cutting of the pipe and the supply and fixing of extra couplings:
617 |  |  |  | SG iron reducers for PVC-O pipes (flanged) :
618 | 4.3.2 |  |  | 250mm dia x 200mm dia | No. | 2 |  | 0
619 | 4.3.3 |  |  | 300mm dia x 250mm dia | No. | 2 |  | 0
620 | 4.3.4 |  |  | 400mm dia x 300mm dia | No. | 2 |  | 0
621 |  |  |  | SG iron Scour Tees for PVC-O: flanged
622 | 4.3.5 |  |  | ND 400 x 100 | No. | 12 |  | 0
623 | 4.3.6 |  |  | ND 400 x 80 | No. | 5 |  | 0
2371 | 4.3.7 |  |  | ND 100 x 80 | No. | 6 |  | 0
2372 |  |  |  | SG iron Reducer T-pieces for PVC-O: flanged, as per MKLM-057-RM-011 drawing for Air valves
2373 | 4.3.8 |  |  | ND 400 x 240 | No. | 40 |  | 0
539 | 4.4 | SANS 1200 L |  | SPECIALS AND FITTINGS
540 |  | 8.2.2 |  | Extra-over 8.2.1 for the Supplying, Laying, and Bedding of Specials Complete with Couplings
541 |  |  |  | (a) Bends PVC-O Class 12.5 Plain-ended incl (No.)/(type) couplings for 400mm diameter
2374 | 4.4.1 |  |  | 11.25 deg. | No. | 1 |  | 0
543 | 4.4.2 |  |  | 22.5 deg. | No. | 1 |  | 0
544 | 4.4.3 |  |  | 45 deg. | No. | 3 |  | Rate Only
2306 |  |  |  | (b) Bends PVC-O Class 16 Plain-ended incl (No.)/(type) couplings for 400mm diameter
| Total Carried Forward | [6 empty] | 0
5
Bid No. 025/MKLM/2022/2023 - Mabeskraal to Uitkyk Bulk Water Pipeline
Schedule 1
SECTION : MEDIUM-PRESSURE PIPELINES
| Item No | Payment | Lic | Description | Unit | Qty | Rate | Amount R
| Brought Forward | [6 empty] | 0
2307 | 4.4.4 |  |  | 11.25 deg. | No. | 6 |  | 0
2308 | 4.4.5 |  |  | 22.5 deg. | No. | 2 |  | 0
2309 | 4.4.6 |  |  | 45 deg. | No. | 5 |  | 0
546 |  |  |  | (c) Flange Adaptors in accordance with SABS 719, SABS 62 & BS534. For joining plain ended pipes to flanges of following nominal sizes and rated for 12.5 Bar working pressure:
547 | 4.4.7 |  |  | 400 mm diam. | No. | 12 |  | 0
558 | 4.5 | 8.2.3 |  | VALVES
559 |  |  |  | Extra-over 8.2.1 for the Supplying, Fixing and of Bedding of Valves
2354 |  |  |  | (a) Class 16 double flanged butterfly valve c/w gearbox and handwheel, stainless steel weld deposit seat and soft seal on the edge of the disc type for the following sizes:
2355 | 4.6 |  |  | ND 300 | No. | 6 |  | 0
2356 | 4.7 |  |  | ND 400 | No. | 1 |  | Rate Only
2348 |  |  |  | (b) Class 16 metal seated wedge gate valves with caps (for PVC-O pipes ), anti-clockwise closing non-rising spindle type for the following sizes
560 | 4.8 |  |  | ND 80 | No. | 28 |  | 0
561 | 4.9 |  |  | ND 100 | No. | 1 |  | Rate Only
563 |  |  |  | (c) Supply and install double orifice air valves complete including specials and double flanged resilient seal type valves as detailed on project drawings of the following sizes:
564 | 4.10 |  |  | ND 50 | No. | 2 |  | 0
565 | 4.11 |  |  | ND 80 | No. | 34 |  | 0
566 | 4.12 |  |  | ND 100 | No. | 4 |  | 0
2350 | 4.12.1 | 8.2.5 |  | Allow provisional sum for miscellaneous fittings, valves, flow meters and other specials that may be required. | Prov Sum | 1 |  | 250000
2351 | 4.12.2 |  |  | a) Handling cost and profit in respect of item above | % | 250000 |  | 0
2352 | 4.12.3 |  |  | Extra-over 8.2.1 for Encasing Joints | No. | 25 |  | 0
2349 | 4.13 | 8.2.10 |  | METERS
567 |  | PSL 8.8.19 |  | Supply and install kent or similar approved water meters, flanged and drilled to SABS 1123, Table 16, complete including specials and valves as detailed on project drawings of the following sizes:
| Total Carried Forward | [6 empty] | 250000
6
Bid No. 025/MKLM/2022/2023 - Mabeskraal to Uitkyk Bulk Water Pipeline
Schedule 1
SECTION : MEDIUM-PRESSURE PIPELINES
| Item No | Payment | Lic | Description | Unit | Qty | Rate | Amount R
| Brought Forward | [6 empty] | 250000
568 | 4.13.1 |  |  | ND 200 in-line bulk meter | No. | 1 |  | 0
569 | 4.13.2 |  |  | ND 250 in-line bulk meter | No. | 2 |  | 0
570 | 4.14 |  |  | ANCILLARIES
571 |  | 8.2.11 |  | Anchor/Thrust blocks and pedestals
572 | 4.14.1 |  | LI | (a) Dwg No. (MKLM-057-RM-014) | m³ | 50 |  | 0
577 | 4.14.2 | 8.2.12 |  | Concrete casing | m³ | 40 |  | 0
2363 | 4.15 |  |  | CONCRETE CHAMBERS, SPECIALS AND PIPEWORK
2370 |  | PSL 8.8.18 |  | All concrete / brick work, specials, fittings, support and pipework not priced in previous items, complete for:
578 | 4.15.1 | 8.2.13 |  | (a) Air valve chamber, complete as per - Dwg XXX | No. | 40 |  | 0
579 | 4.15.2 | 8.2.14 |  | (b) Single scour valve Chambers complete as detailed in standard detail drawings (Drw XXX) | No. | 5 |  | 0
580 | 4.15.3 |  |  | (c) Double scour valve with Isolating valve, Valve chamber - complete as detailed in standard detail drawings (Drw XXX) | No. | 6 |  | 0
2357 | 4.15.4 |  |  | (d) Meter chamber complete as per drawing XXXX | No. | 1 |  | 0
2358 | 4.15.5 |  |  | (e) Meter chamber and pressure sustaining valve at take-off, complete as per drawing XXXX | No. | 1 |  | 0
2366 | 4.16 |  |  | HYDRAULIC FIELD TESTING
582 |  | PS L 8.2.16 |  | Hydraulic field-testing of pipelines, the tendered rate shall include full compensation for the provision of all labour, materials and water required, for the provision, installation, calibration and operation of the equipment used for testing and for visually inspecting the pipe for leaks.
583 | 4.16.1 |  |  | (a) 400mm dia Class PN 12.5 | m | 7100 |  | 0
584 | 4.16.2 |  |  | (b) 400 mm dia Class PN 16 | m | 6100 |  | 0
2368 | 4.17 |  |  | STERILIZING OF PIPELINES
2369 | 4.17.1 |  |  | Sterilizing pipe lines | No. | 1 |  | 0
587 | 4.18 |  |  | MARKER POST
588 | 4.18.1 | PSL 8 |  | Marker Posts (Supply and install) | No. | 25 |  | 0
611 | 4.19 | PSLG 2.1 |  | RIVER CROSSING(S)
612 | 4.19.1 |  |  | Install pipes, encased in concrete, complete as per standard drawing XXXX | m | 30 |  | 0
| Total Carried Forward To Summary | [6 empty] | 250000
7
Bid No. 025/MKLM/2022/2023 - Mabeskraal to Uitkyk Bulk Water Pipeline
Schedule 1
SUMMARY OF SECTIONS
| Section |  |  | Description |  |  |  | Amount R
| 1 |  |  | PRELIMINARY AND GENERAL |  |  |  | 565000
| 2 |  |  | PIPE TRENCHES |  |  |  | 0
| 3 |  |  | BEDDING |  |  |  | 0
| 4 |  |  | WATER MAINS |  |  |  | 250000
|  |  |  | SUB-TOTAL |  |  |  | 815000
|  |  |  | Contingency (ADD 10%) |  |  |  | 81500
|  |  |  | SUB-TOTAL |  |  |  | 896500
|  |  |  | Add 15% VAT |  |  |  | 134475
|  |  |  | TOTAL CARRIED TO FORM OF OFFER |  |  |  | 1030975
8