## Schedule
MOSES KOTANE LOCAL MUNICIPALITY
TENDER NO:
CONSTRUCTION OF COMMUNITY HALL IN PHOLA PARK
BILL OF QUANTITY
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL NO. 1
PRELIMINARIES
PRINCIPAL BUILDING AGREEMENT
DEFINITIONS
A | Definitions and interpretation Clause 1.0F:............................. V:............................ T:............................
| The works, offices and management | item | 1 |  | 0
FINANCIAL ASPECTS
Community Liaison Officer (CLO)
D | Provide the budgetary amount of R 25 000.00 (Twenty Two Thousand Five Hundred Rand) to cover the cost of the Community Liason Officer | Item | 1 | 25000 | 25000
Project Steering Comity (PSC)
E | Provide the budgetary amount of R 20000.00 (Thirty One Thousand Two Hundred and Fifty Rand) to cover the cost of the Project Steering Comity | Item | 1 | 20000 | 20000
Accredited Training
F | Provide the budgetary amount of R 90 000.00 (One Hundred and Fifty Thousand Rand) to cover the cost of accredited training | Item | 1 | 90000 | 90000
Engineer`s Accomodation
G | Provide the budgetary amount of R 30 000.00 (Twenty Five Rand) to cover the cost of accomodation for Resident Engineer | Item | 1 | 30000 | 30000
H | Provide the budgetary amount of R 10 000.00 (Ten Thousand Rand) to cover the cost of Phone and calls for Resident Engineer | Item | 1 | 10000 | 10000
I | Provide the budgetary amount of R 10 000.00 (Ten Thousand Rand) to cover the cost of Laptop for Resident Engineer | Item | 1 | 10000 | 10000
BILL NO.2
EARTHWORKS
| EXCAVATION, FILLING, ETC |  | 0
| Excavation in earth not exceeding 2m deep |  | 0
A | Bulk excavation | m3 | 1350 |  | 0
B | Trenches | m3 | 219.0342 |  | 0
C | Soft rock | m3 | 10 |  | 0
D | Hard rock | m3 | 15 |  | 0
| Extra over all excavations for carting away |  | 0
A | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 1350 |  | 0
Risk of collapse of excavations
B | Sides of trench and hole excavations not exceeding 1,5m deep | m2 | 250 |  | 0
Keeping excavations free of water
C | Keeping excavations free of all water other than subterranean water | Item | 1 |  | 0
FILLING
Earth filling obtained from the excavations and/or prescribed stock piles on site compacted to 93 % Mod AASHTO density
D | Backfilling to trenches, holes, etc. | m3 | 30 |  | 0
E | Under floors, steps, paving, etc | m3 | 1485 |  | 0
| Compaction of surfaces |  | 0
F | Compaction of ground surface under floors, etc. including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 90% Mod. AASHTO density | m3 | 1485 |  | 0
| Prescribed density tests on filling |  | 0
G | Modified AASHTO Density tests | No | 12 |  | 0
SOIL POISONING
A | Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 800 |  | 0
B | To bottoms and sides of trenches etc | m2 | 398.244 |  | 0
0
| BILL NO.3 |  | 0
| CONCRETE, FORMWORK AND REINFORCEMENT |  | 0
| UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES |  | 0
| 10MPa/19mm concrete |  | 0
A | Surface blinding under footings and bases | m3 | 12 |  | 0
| REINFORCED CONCRETE |  | 0
| 30MPa/20mm concrete |  | 0
B | Surface beds on waterproofing | m3 | 59.4 |  | 0
C | Ramps | m3 | 2 |  | 0
D | Apron slabs cast in panels | m3 | 20 |  | 0
| Concrete water channel | m3 | 5 |  | 0
| Varnity concrete tops for basin | m3 | 2 |  | 0
| REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES |  | 0
| 30MPa/20mm concrete |  | 0
E | Strip footings (sides only cast against excavated surfaces) | m3 | 45 |  | 0
| REINFORCED CONCRETE CAST ON/IN FORMWORK |  | 0
| 30MPa/20mm concrete |  | 0
F | Columns in foundations | m3 | 3 |  | 0 | 0
G | Columns | m3 | 1 |  | 0
| Precast Columns | No | 2 |  | 0
| TEST BLOCKS |  | 0
H | Prepare set of three 150 x 150 x 150mm concrete strength test cubes, label and send to an approved laboratory for testing, pay all charges and submit report to the Regional Representative. Only successful tests will be paid for. (Provisional) | No | 12 |  | 0
| CONCRETE SUNDRIES |  | 0
| Finishing top surfaces of concrete smooth with a steel float |  | 0
A | Surface beds, slabs, etc. | m2 | 600 |  | 0
B | Surface beds, slabs, etc to falls | m2 | rate only
| MOVEMENT JOINTS, ETC. |  | 0
| Slip joints between horizontal concrete and brick surfaces |  | 0
A | 20mm Joints not exceeding 300mm wide | m | 210 |  | 0
| Saw cut joints |  | 0
B | 50 x 3mm Saw cut joints in top of concrete | m | 525 |  | 0
| FORMWORK |  | 0
| ROUGH FORMWORK (DEGREE OF ACCURACY II) |  | 0
| Rough formwork to circular columns |  | 0
C | 300mm diameter column 3000mm high | No | 2 |  | 0
| SMOOTH FORMWORK (DEGREE OF ACCURACY I) |  | 0
| Smooth formwork to circular columns |  | 0
D | 220mm Diameter column 2720mm high | No | rate only
| REINFORCEMENT |  | 0
| High tensile steel reinforcement to structural concrete work |  | 0
E | 10mm Diameter bars | t | 0.35 |  | 0
F | 12mm Diameter bars. | t | 2.3 |  | 0
| 16mm Diameter bars | t | 0.35 |  | 0
| Fabric reinforcement |  | 0
G | Type 193 fabric reinforcement in concrete surface beds, slabs, etc. | m2 | 600 |  | 0
0
| BILL NO.4 |  | 0
| MASONRY |  | 0
| FOUNDATIONS (PROVISIONAL) |  | 0
| Brickwork of NFP clay bricks in class II mortar |  | 0
A | One brick walls in foundations | m2 | 110 |  | 0
A1 | One and Half brick wall | m2 | 45 |  | 0
| SUPERSTRUCTURE |  | 0
| Brickwork of NFP clay bricks in Class II mortar |  | 0
B | Piers | m3 | 5 |  | 0
C | Half brick walls | m2 | 40 |  | 0
D | One brick walls | m2 | 700 |  | 0
A1 | One and Half brick wall | m2 | 136 |  | 0
E | Half brick walls in beamfilling | m2 | 17 |  | 0
| Brickwork reinforcement |  | 0
F | 75mm Wide reinforcement built in horizontally | m | 190 |  | 0
G | 150mm Wide reinforcement built in horizontally | m | 2500 |  | 0
| Precast pre-stressed fabricated lintels |  | 0
H | 110 x 75mm Lintels in lengths not exceeding 3m | m | 50 |  | 0
| BRICKWORK SUNDRIES |  | 0
| Turning pieces |  | 0
J | 110mm Wide turning piece to lintels etc | m | 50 |  | 0
| Galvanised hoop iron cramps, ties, etc. |  | 0
K | 4mm Diameter roof tie 3m girth bent double with one end fixed to timber and other end built into brickwork. | No | 80 |  | 0
| 25 mm Galvanised tubes on brick on edge on falls | m | rate only
| FACE BRICKWORK |  | 0
| Face bricks pointed with flush horizontal and vertical joints |  | 0
A | Extra over ordinary brickwork for face brickwork in "Corobrick - Country cottage Travetine FBS" pointed with recessed horizontal and vertical joints. | m2 | 560 |  | 0
B | Extra over ordinary brickwork for face brickwork in "Corobrick - Roan Satin FBX" bricks pointed with recessed horizontal and vertical joints. | m2 | 140 |  | 0
A | Extra over brickwork for brick-on-edge header course band. | m | 50 |  | 0
B | 180mm wide cut face external sill, set sloping and slightly projecting in cement mortar and pointed on top, front edge and projecting soffit including all necessary fair raking cutting to facings under and fair and fitted ends | m | 20 |  | 0
| NUTEC-CEMENT WINDOW SILLS |  | 0
| Natural grey sills in single lengths bedded in Class I mortar including metal fixing lugs, etc. |  | 0
C | 15 x 150mm Wide sills set flat and slightly projecting with 19 x 19mm Scottia below as per Architect's specification | m | 22 |  | 0
| BUDGETARY ALLOWANCES |  | 0
| Granite vanity tops |  | 0
D | Provide the budgetary amount of R 12 000.00 (Twelve Thousand Rand) for vanity granite tops to be used as directed by the Principal Agent and to be deducted in whole or in part if not required. | Item | 1 | 12000 | 12000
E | Stone Cladding (Mount Columbia Earth Quarrystone Cladding) | m2 | 20 |  | 0
| BILL NO.5 |  | 0
| WATERPROOFING |  | 0
| DAMPPROOFING OF WALLS AND FLOORS |  | 0
| One layer of Type B 375 micron "Plastall Brikgrip Blue DPC" embossed damp-proof course |  | 0
A | In walls | m2 | 125 |  | 0
| DAMPPROOFING UNDER SURFACE BEDS |  | 0
| One layer of 250 micron "Plastall Gunplas USB Green" waterproof sheeting Type C, sealed at laps with "Gunplas Pressure Sensitive Tape" |  | 0
B | Under surface beds. | m2 | 600 |  | 0
| SEALING STRIPS, JOINTS SEALANTS, ETC |  | 0
| Two-part grey polysulphide sealing compound including backing cord, bond breaker, primer, etc. |  | 0
C | 10 x 13mm In vertical expansion joints, including raking out expansion joint filler as necessary | m | 180 |  | 0
D | 3 x 10mm in saw-cut joints in floors | m | 150 |  | 0
0
0
| BILL NO.6 |  | 0
| ROOF COVERINGS |  | 0
| RIBBED METAL SHEETING AND ACCESSORIES |  | 0
| 0.58mm "Chromadek" pre coated ribbed roof sheets in single lengths fixed to timber purlins and 0.58mm galvanised sheet steel accessories |  | 0
A | Roof covering with pitch not exceeding 25 degrees | m2 | 600 |  | 0
B | Ridge coverings 200mm girth | m | 60 |  | 0
A | Head wall flashings 300mm girth | m | 50 |  | 0
| ROOF AND WALL INSULATION |  | 0
| Sisalation 410 housing grade glass fibre reinforced aluminium foil bonded insulation |  | 0
B | Insulation laid taut overpurlins (at approximately 1m centres) and fixed concurrent with roof covering including galvanised steel straining wires | m2 | 600 |  | 0
|  |  | 0 |  | 0
| BILL NO. 7 |  | 0
| CARPENTRY AND JOINERY |  | 0
| PRE-FABRICATED TIMBER ROOF TRUSSES |  | 0
| Plate nailed timber roof truss construction |  | 0
A | Design, supply and install roof truss system complete in accordance with the Standard Building Regulations, including ring shank nails, temporary and permanent bracing, etc., to suit building overall approximate size 16 x 26m | No | 1 |  | 0
B | Design, supply and install roof truss system complete in accordance with the Standard Building Regulations, including ring shank nails, temporary and permanent bracing, etc., to suit building overall approximate size 3.520 x 9.68m | No | 1 |  | 0
C | Design, supply and install roof truss system complete in accordance with the Standard Building Regulations, including ring shank nails, temporary and permanent bracing, etc., to suit building overall approximate size 6.2 x 15m | No | 1 |  | 0
D | Design, supply and install roof truss system complete in accordance with the Standard Building Regulations, including ring shank nails, temporary and permanent bracing, etc., to suit building overall approximate size 1.35 x 2.58m | No | 0 |  | 0
| Everite Nutec medium density sheets |  | 0
E | 12 x 225mm Fascias and barge boards including standard aluminium jointing strips | m | 130 |  | 0
| Sundries |  | 0
F | Two coats creosote on sawn timbers | m2 | 40 |  | 0
| DOORS, ETC. |  | 0
| Solid doors |  | 0
| 12E 0701 hard wood solid door |  | 0
G | 44mm Door 740 x 2093mm high (D01) | No | 6 |  | 0
H | 44mm Door 813 x 2093mm high (D02) | No | 2 |  | 0
A | 44mm Door 910 x 2093mm high (D03) | No | 3 |  | 0
B | 44mm Door 1600 x 2093mm high (D04 / D05) | No | 4 |  | 0
0
0
| BILL NO.8 |  | 0
| CEILINGS, PARTITIONS AND ACCESS FLOORING |  | 0
| CEILINGS, ETC. |  | 0
| NAILED UP CEILINGS |  | 0
| 6.4mm thick "Rhino" gypsum plasterboard, skimmed, complete with plastic M-Strip cover strips over joints, expansion joint trimmings, shadow line recesses and access panels to detail, with all nail or screws heads stopped and sanded level when dray all fixed to framing system by ceiling specialist. |  | 0
A | Ceilings including 38 x 38mm SA Pine brandering at 400mm centres, all as per Architrects specification | m2 | 600 |  | 0
B | Extra over ceiling for 650 x 650mm trap door complete with frame, hinges, etc. | No | 3 |  | 0
| 4.6mm fibre-cement plain ceiling boards, complete with plastic M-Strip cover strips over joints, expansion joint trimmings, shadow line recesses and access panels to detail, with all nail or screws heads stopped and sanded level when dray all fixed to framing system by ceiling specialist. |  | 0
C | Ceilings including 38 x 38mm SA Pine brandering at 400mm centres, all as per Architrects specification | m2 | rate only
| Aerolite insulation |  | 0
D | 40mm Insulation closely fitted and laid on top of brandering between roof timbers, etc. | m2 | 600 |  | 0
| Gypsum plasterboard cornices |  | 0
E | 75mm Coved cornices | m | 144 |  | 0
| SUSPENDED CEILINGS |  | 0
| Vinyl clad gypsum 600 x 600 x 9mm panels on "Donn T38" pre-painted exposed tee suspension system including main and cross tees, all necessary hangers, grids, etc. |  | 0
A | Ceilings suspended not exceeding 1,0m below timber trusses | m2 | rate only
B | Extra over ceiling for opening for 1200 x 600mm light fitting. | No | rate only
C | Extra over ceiling for 600 x 600mm opening for ventilation/air conditioning diffuser | No | rate only
| Donn cornices to suspended ceilings |  | rate only
D | Donn SM25 profile shadowline (colour white) cornices for flush plastered ceilings, plugged | m | rate only
|  |  | 0 |  | 0
| BILL NO.9 |  | 0
| IRONMONGERY |  | 0
| LOCKS |  | 0
| EN-SUITE LOCKS |  | 0
| Yale Security Point |  | 0
A | DY22320-78SS mortice three-lever lockset | No | 6 |  | 0
| Mortice four-lever lockset | No | 9 |  | 0
| Paraplegic Bolt indicator | no. | 1 |  | 0
| Push and pull handel | no | 8 |  | 0
B | YDY80941CP bathroom indicator bolt | No | 7 |  | 0
| HANDLES |  | 0
| Yale Security Point |  | 0
C | DY682-24CH chrome glower handles | No | 15 |  | 0
| DOOR CLOSERS |  | 0
| Dorma |  | 0
| TS83 DC BC/BC/BC/EN 2-6 Silver standard arm overhead door closer with delayed closing suitable for paraplegic access, all as per Architect's specifications |  | 0
D | Overhead door closer | No | 3 |  | 0
| PUSH PLATES AND KICKING PLATES |  | 0
| Solid |  | 0
E | 875 x 150mm Aluminium push plate | No | 9 |  | 0
F | 813 x 300mm aluminium kick plate | No | 22 |  | 0
| BATHROOM FITTINGS |  | 0
| Franke |  | 0
A | 750 x 260mm cistern & flush valve back rail CNTXBR (code 359912) | No | 1 |  | 0
| Disposer plus stainless steel wall mounted waste bin code SA426135 overall size 300 x 250 x 500mm high | No | 5 |  | 0
| 32mm stainless steel paraplegic grab rails with Franke fine grip | No | 1 |  | 0
| Serra |  | 0
B | Lockable toilet roll holder(code: SerraRolTR3) | No | 7 |  | 0
| Soap dispenser fixed to wall | No | 5 |  | 0
| Paper towel dispenser | No | 5 |  | 0
| SUNDRIES |  | 0
| Dorma |  | 0
C | Type DDS-SS-017 or similar approved door stop | No | 20 |  | 0
| Double door shooter | No | 8 |  | 0
| 82mm Wall Projection Door Stop | No | 11 |  | 0
| Dook hooks 150mm | No | 16 |  | 0
| Panic and Emergency push bar | No | 1 |  | 0
| BUDGETARY ALLOWANCES |  | 0
| Signage |  | 0
D | Provide the budgetary amount of R 10 000.00 (Ten Three Thousand Rand) for signage to be used as directed by the Principal Agent and to be deducted in whole or in part if not required. | Item | 1 | 10000 | 10000
0
| BILL NO.10 |  | 0
| METALWORK |  | 0
| STEEL GATES, SCREENS, ETC |  | 0
| Welded screens and gates to steel frame |  | 0
A | Single gate 880 x 2032mm high consisting of 10 x 10mm mild steel bars at 100mm centres at a 45 degree angle fitted with a pair of suitable hinges welded to post and with hasp and staple welded on (G05) | No | 2 |  | 0
B | Double gate 1870 x 2032mm high consisting of 10 x 10mm mild steel bars at 100mm centres at a 45 degree angle fitted with a pair of suitable hinges welded to post and with hasp and staple welded on (G06) | No | 3 |  | 0
| DOOR FRAMES, DOORS, WINDOWS, ETC |  | 0
| PRESSED STEEL DOOR FRAMES |  | 0
| 1,2mm Double rebated frames suitable for one brick walls |  | 0
A | Frame for door 813 x 2 032mm high | No | 2 |  | 0
B | Frame for door 1600 x 2093mm high | No | 4 |  | 0
| 1,2mm Double rebated frames suitable for half brick walls |  | 0
C | Frame for door 740 x 2093mm high | No | 6 |  | 0
D | Frame for door 910 x 2093mm high | No | 3 |  | 0
| STEEL WINDOWS, DOORS, ETC |  | 0
| Standard residential windows |  | 0
E | Window type NCT1S, size 533 x 949mm high (W1) | No | 7 |  | 0
F | Window type Double SL7S, size 2044 x 2134mm high (W2) | No | 20 |  | 0
G | Window type ND4, size 1511 x 1245mm high (W3) | No | 2 |  | 0
| Purpose made steel sliding windows |  | 0
H | Window size 1500 x 1200mm high (W4) | No | 1 |  | 0
I | 1m bullastrades on Stage and exit Ramp | m | 30 |  | 0
|  |  | 0 |  | 0
| BILL NO.11 |  | 0
| PLASTERING |  | 0
| SCREEDS |  | 0
| Screeds on concrete |  | 0
A | 30mm Thick on floors and landings | m3 | 18 |  | 0
| INTERNAL PLASTER |  | 0
| Cement plaster wood floated on brickwork |  | 0
B | On walls | m2 | 602.4809 |  | 0
C | On narrow widths | m2 | 20 |  | 0
|  |  | 0 |  | 0
| BILL NO.12 |  | 0
| TILING |  | 0
| WALL TILING |  | 0
| 300 x 300 x 10mm Porcelain wall tiles (Allow PC amount of R200/m2) in patterns fixed with adhesive to plaster (plaster elsewhere) and flush pointed with tinted waterproof jointing compound |  | 0
A | On walls in isolated panels, splashbacks, etc | m2 | 180 |  | 0
| FLOOR TILING |  | 0
| 600 x 600 x 10mm Porcelain wall tiles (Allow PC amount of R300/m2) in patterns fixed with adhesive to floor and flush pointed with tinted waterproof jointing compound as per Architect's specification |  | 0
B | On floors | m2 | 600 |  | 0
C | Skirting 100mm high (of cut tiles) | m | 180 |  | 0
| SUNDRIES |  | 0
| Aluminium corner protectors, stair nosings, expansion joint strips, etc |  | 0
D | 10mm m-strip aluminium quadrant edge at edges and corners, fixed simultaneously with tiles. | m | 215 |  | 0
E | Rubber Strips on Ramps | m | 20 |  | 0
|  |  | 0 |  | 0
| BILL NO.13 |  | 0
| PLUMBING AND DRAINAGE (PROVISIONAL) |  | 0
| SOIL DRAINAGE |  | 0
| uPVC pipes |  | 0
A | 110mm pipes laid in and including trenches not exceeding 1m deep | m | 36 |  | 0
| Extra over uPVC for fittings |  | 0
B | 110mm bend | No | 3 |  | 0
C | 110mm Junction | No | 2 |  | 0
D | 110mm End cap | No | 2 |  | 0
E | 110mm Access junction | No | 1 |  | 0
| Precast concrete gulleys |  | 0
F | 300mm Gulley trap complete with gulley not exceeding 600mm deep | No | 2 |  | 0
| Sundries |  | 0
G | Precast concrete inspection eye marker slab set in ground | No | 2 |  | 0
| PLUMBING |  | 0
| SANITARY FITTINGS |  | 0
| Vaal sanitaryware |  | 0
H | Vitreous china "Quartz" close coupled 90° outlet closed rim washdown pan (code 772800) and matching 6 litre pushbutton top dual flush cistern (code 7116DT) complete with lid and fitments | No | 7 |  | 0
J | Orchid 439004 wall hung paraplegic WC pan with cradle bracket and legs and "Kestrel" double flap white epoxy painted wooden seat (flush valve elsewhere) | No | 1 |  | 0
K | Vitreous china 455 x 290mm "Bantam" basin (code 7030) with one semi-punched tapholes, integrated overflow and chainstay hole through the centre semi-punched taphole | No | 1 |  | 0
A | Ceramic fireslay 595 x 455mm "Cameo" oval self-rimming vanity basin (code 7028) with one semi-punched tapholes and chainstay hole through the centre semi-punched taphole | No | 5 |  | 0
B | Vitreous china wall hung "Flatback" urinal (code 705326) overall size 415 x 315 x 275mm, complete with 38mm c.p. domical grating (code 8787Z0), c.p. top inlet speader (code 8543Z0) and two hangar brackets (code 8127Z0) | No | 3 |  | 0
| WASTE UNIONS, ETC. |  | 0
C | 32mm Basin waste union | No | 6 |  | 0
| TRAPS, ETC. |  | 0
| uPVC |  | 0
D | 32mm Rubber deep seal "P" or "S" trap | No | 6 |  | 0
| TAPS, VALVES, ETC. |  | 0
| Cobra Watertech |  | 0
E | Ledimo pillar tap (code LO-214-15) | No | 5 |  | 0
F | Elbow action pillartap with raised nose and blue indice (code 503-21R) | No | 1 |  | 0
G | Flushmaster Junior FJ 6.000 urinal flush valve with push button assembly | No | 3 |  | 0
H | 15mm 1030-15 isolating ball valve | No | 13 |  | 0
J | FM1.210CP "Flushmaster" toilet flush valve with FM8.80 extended lever | No | 1 |  | 0
K | 20mm 121-20RB stopcock | No | 10 |  | 0
L | 15mm 107EC-15CP hose bib-tap | No | 3 |  | 0
| SANITARY PLUMBING |  | 0
| uPVC pipes |  | 0
A | 50mm Pipes | m | 14 |  | 0
B | 50mm pipes chased | m | 17 |  | 0
C | 100mm Pipes | m | 7 |  | 0
| Extra over uPVC pipes for fittings |  | 0
D | 50mm Bend | No | 7 |  | 0
E | 50mm Junction | No | 4 |  | 0
F | 50mm Access bend | No | 2 |  | 0
G | 50mm Access junction | No | 3 |  | 0
H | 110mm Bend | No | 2 |  | 0
J | 110mm Access bend | No | 1 |  | 0
K | 110mm Junction | No | 1 |  | 0
L | 110mm Access junction | No | 1 |  | 0
M | 110mm Straight or bent pan connector | No | 7 |  | 0
N | 110mm Two way vent valve | No | 7 |  | 0
| Testing |  | 0 |  | 0
P | Testing water pipe system. | Item | 1 |  | 0
| WATER SUPPLIES |  | 0
| Class O copper pipes |  | 0
Q | 22mm Pipes | m | 22 |  | 0
| Extra over copper pipes for fittings |  | 0
R | 22mm Fittings | No | 22 |  | 0
|  |  |  | 0 | 0
S | Connecting to existing water supply | Item | 1 |  | 0
| FIRE APPLIANCES, ETC. |  | 0
| Chubb |  | 0
A | Everyway hose reel complete with 30m plastic hose, chromium plated stopcock, shut-off nozzle and wall bracket | No | 2 |  | 0
B | 9kg DCP dry powder portable fire extinguisher on and including wrought meranti backboard size 520 x 115 x 22mm thick, plugged and screwed to wall. | No | 6 |  | 0
| WATER SUPPLIES TO FIRE APPLIANCES |  | 0
| Class 16 HDPE pipes |  | 0
C | 50mm Pipes laid in and including trenches | m | 51 |  | 0
| Extra over HDPE pipes for fittings |  | 0
D | 50mm Reducer | No | 4 |  | 0
E | 50mm Tee | No | 4 |  | 0
F | 50mm Bend | No | 5 |  | 0
| Galvanised steel pipes |  | 0
G | 25mm Pipes | m | 43 |  | 0
H | 50mm Pipes | m | 18 |  | 0
| Extra over galvanised steel pipes for steel fittings |  | 0
J | 25mm Fittings | No | 9 |  | 0
K | 50mm Bush | No | 3 |  | 0
L | 50mm Elbow or bend | No | 4 |  | 0
M | 50mm Tee | No | 3 |  | 0
N | 50 x 25mm Reducing tee | No | 2 |  | 0
|  |  | 0 |  | 0
| BILL NO.14 |  | 0
| GLAZING |  | 0
| GLAZING TO STEEL WITH PUTTY |  | 0
| 4mm obscure glass |  | 0
A | Panes exceeding 0,5m² and not exceeding 2m² | m2 | 80 |  | 0
| 4mm Clear float safety glass |  | 0
B | Panes exceeding 0.1m2 and not exceeding 0.5m2 | m2 | 2 |  | 0
| TOPS, SHELVES, DOORS, MIRRORS, ETC |  | 0
| 6mm "GG" quality polished mirrors fixed with round nose chromium plated mirror screws, four per mirror as per Architect's specifications |  | 0
C | Mirror 600 x 900mm high | No | 5 |  | 0
|  |  | 0 |  | 0
| BILL NO.15 |  | 0
| PAINTWORK |  | 0
| PAINTWORK ETC TO NEW WORK |  | 0
| ON FLOATED PLASTER |  | 0
| Prepare, stop and apply one coat Universal undercoat and two coats velvaglo paint or similar approved |  | 0
A | On internal walls | m2 | 442.2511 |  | 0
| ON PLASTERBOARD SURFACES |  | 0
| Prepare, stop and apply one coat Universal undercoat and two coats velvaglo paint or similar approved |  | 0
B | Ceilings and cornices | m2 | 600 |  | 0
| ON FIBRE-CEMENT |  | 0
| Prepare, stop and apply one coat Dulux primer and two two full coats Plascon Velvaglo paint, colour Battleship grey G13 |  | 0
A | 15 x 225mm fascias and barge boards including galvanised steel H-profile jointing strips | m2 | 57 |  | 0
| ON METAL |  | 0
| Prepare and apply one coat red oxide prime (factory) and two full coats Plascon Velvaglo paint, colour Battleship grey G13 |  | 0
B | On door frames | m2 | 3 |  | 0
C | Gates, grilles, burglar screens, balustrades, etc (both sides measured over the full flat area) | m2 | 30 |  | 0
| Guard rail on ramps | m2 | 30 |  | 0
D | On window frames | m2 | 80 |  | 0
| ON WOOD |  | 0
| Prepare, stop and apply one coat primer and two coats Plascon Velvaglo paint, colour Tequile VLO 10 |  | 0
E | On doors | m2 | 80 |  | 0
|  |  | 0 |  | 0
BILL NO.16
EXTERNAL WORK
| SITE CLEARANCE, ETC. |  | 0
Site clearance
A | Digging up and removing rubbish, debris, vegetation, shrubs, bush, etc not exceeding 200mm girth | m2 | 3000 |  | 0
B | Stripping average 150mm thick layer of top soil and stockpiling on site. | m2 | rate only
REMOVAL OF TREES ETC
Taking out and removing, grubbing up roots and filling in holes
A | Tree stump exceeding 200mm and not exceeding 500mm girth | No | 50 |  | 0
B | Tree stump exceeding 500mm and not exceeding 1 000mm girth | No | 3 |  | 0
BULK EXCAVATION, FILLING, ETC.
Open face excavation in earth over sloping site
C | Open face excavation | m3 | rate only
Extra over bulk excavations in earth for excavation in
D | Soft rock | m3 | rate only
E | Hard rock | m3 | rate only
Extra over all excavations for carting away
F | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | rate only
Imported earth filling type G5 supplied by the Contractor compacted in a minimum of 2 layers 150mm thick to 98% Mod. AASHTO density under all surface beds
G | Under floors, steps, paving, etc | m3 | rate only
Imported earth filling type G7 supplied by the Contractor compacted in a minimum of 2 layers 150mm thick to 95% Mod. AASHTO density under all surface beds
H | Under floors, steps, paving, etc | m3 | rate only
Compaction of surfaces
A | Compaction of ground surface under floors, etc. including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 90% Mod. AASHTO density | m2 | rate only
Prescribed density tests on filling
B | Modified AASHTO Density tests | No | rate only
SOIL POISONING
Soil insecticide
C | Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | rate only
THE FOLLOWING IN BOUNDARY WALL & FENCE
EXCAVATION, FILLING, ETC
Excavation in earth not exceeding 2m deep
D | Trenches | m3 | rate only
Extra over trench and hole excavations in earth for excavation in
E | Soft rock | m3 | rate only
F | Hard rock | m3 | rate only
Risk of collapse of excavations
A | Sides of trench and hole excavations not exceeding 1,5m deep | m2 | rate only
Keeping excavations free of water
B | Keeping excavations free of all water other than subterranean water | Item | rate only
FILLING
Earth filling obtained from the excavations and/or prescribed stock piles on site compacted to 93 % Mod AASHTO density
C | Backfilling to trenches, holes, etc. | m3 | rate only
Compaction of surfaces
D | Compaction of ground surface under floors, etc. including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 90% Mod. AASHTO density | m2 | rate only
SOIL POISONING
Soil insecticide
E | To bottoms and sides of trenches etc | m2 | rate only
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
30MPa/20mm concrete
F | Strip footings (sides only cast against excavated surfaces) | m3 | rate only
TEST BLOCKS
A | Prepare set of three 150 x 150 x 150mm concrete strength test cubes, label and send to an approved laboratory for testing, pay all charges and submit report to the Regional Representative. Only successful tests will be paid for. (Provisional) | No | rate only
| Carried Forward |  |  |  | 0
FOUNDATIONS (PROVISIONAL)
Brickwork of NFP clay bricks in class II mortar
B | One brick walls in foundations | m2 | rate only
SUPERSTRUCTURE
Brickwork of NFP clay bricks in Class II mortar
C | One brick walls | m2 | rate only
Brickwork reinforcement
D | 150mm Wide reinforcement built in horizontally | m | rate only
FACE BRICKWORK
Face bricks pointed with flush horizontal and vertical joints
E | Extra over ordinary brickwork for face brickwork in "Corobrick - Country cottage Travetine FBS" pointed with recessed horizontal and vertical joints. | m2 | rate only
F | Extra over brickwork for brick-on-edge header course band. | m | rate only
DAMPPROOFING OF WALLS AND FLOORS
One layer of Type B 375 micron "Plastall Brikgrip Blue DPC" embossed damp-proof course
G | In walls | m2 | rate only
THE FOLLOWING IN SEPTIC TANK AND FRENCH DRAIN
EXCAVATION, FILLING, ETC
Excavation in earth not exceeding 2m deep
A | Bulk excavations | m3 | 106 |  | 0
Extra over trench and hole excavations in earth for excavation in
B | Soft rock | m3 | 5 |  | 0
C | Hard rock | m3 | 11 |  | 0
Extra over all excavations for carting away
D | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 106 |  | 0
Risk of collapse of excavations
E | Sides of trench and hole excavations not exceeding 3,5m deep | m2 | 78 |  | 0
Keeping excavations free of water
F | Keeping excavations free of all water other than subterranean water | Item | 1 |  | 0
FILLING
Stone filling of 300mm broken stone
G | Under floors etc | m3 | 5 |  | 0
Coarse river sand filling supplied by the contractor
H | In floor ducts | m3 | rate only
Compaction of surfaces
J | Compaction of ground surface under floors, etc. including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 90% Mod. AASHTO density | m2 | 38 |  | 0
SOIL POISONING
Soil insecticide
A | Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 110 |  | 0
B | To bottoms and sides of trenches etc | m2 | 78 |  | 0
REINFORCED CONCRETE
30MPa/20mm concrete
C | Surface beds on waterproofing | m3 | 7 |  | 0
D | Slabs including beams, inverted beams and box gutters | m3 | 3 |  | 0
TEST BLOCKS
E | Prepare set of three 150 x 150 x 150mm concrete strength test cubes, label and send to an approved laboratory for testing, pay all charges and submit report to the Regional Representative. Only successful tests will be paid for. (Provisional) | No | 6 |  | 0
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a steel float
F | Surface beds, slabs, etc. | m2 | 23 |  | 0
G | Cover slabs, etc to falls | m2 | 23 |  | 0
SMOOTH FORMWORK (DEGREE OF ACCURACY I)
Smooth formwork to soffits
H | Soffit of septic tank cover slab, remove through small opening | m2 | 24 |  | 0
Smooth formwork to sides
A | Opening through 760mm x 760mm concrete slab exceeding 2m andnot exceeding 3.5m high | no | 2 |  | 0
| Carried Forward |  |  |  | 0
REINFORCEMENT
Mild steel reinforcement to structural concrete work
B | 10mm Diameter bars | t | 0.7 |  | 0
High tensile steel reinforcement to structural concrete work
C | 12mm Diameter bars. | t | 0.38 |  | 0
D | 16mm Diameter bars. | t | 0.19 |  | 0
Fabric reinforcement
E | Type 193 fabric reinforcement in concrete surface beds, slabs, etc. | m2 | 55 |  | 0
FOUNDATIONS (PROVISIONAL)
| Brickwork of NFP clay bricks in class II mortar | m2 | 8 |  | 0
A | Half brick work
B | One brick walls in foundations | m2 | 50 |  | 0
Brickwork reinforcement
B | 75mm Wide reinforcement built in horizontally | m | 35 |  | 0
B | 150mm Wide reinforcement built in horizontally | m | 220 |  | 0
DAMPPROOFING UNDER SURFACE BEDS
One layer of 250 micron "Plastall Gunplas USB Green" waterproof sheeting Type C, sealed at laps with "Gunplas Pressure Sensitive Tape"
C | Under surface beds. | m2 | 33 |  | 0
TAPS, VALVES, ETC.
Cobra Watertech
D | 15mm 106-15CP "Star" bib-tap | No | rateonly
INTERNAL PLASTER
Cement plaster wood floated on brickwork
E | On walls | m2 | 52 |  | 0
Covers
F | 650mm Diameter cast iron double seal manhole cover and frame | No | 2 |  | 0
G | Lifting key for manhole cover | No | 2 |  | 0
ROADWORK, PARKING AREAS AND PAVING
SUPPLEMENTARY PREAMBLES
Testing of material and filling
Descriptions of earth filling, compaction, etc shall be deemed to include for all necessary testing required in accordance with the SABS 1200 series
Precast concrete block road surfacing
Paving shall be laid in accordance with SABS 1200 MJ, SANS 1058 and the Concrete Masonry Association's specifications
Clean sand shall be swept into joints between roadstones at completion
Open face excavation in earth over sloping site
A | Open face excavation | m3 | 282 |  | 0
Extra over bulk excavations in earth for excavation in
B | Soft rock | m3 | 17 |  | 0
C | Hard rock | m3 | 8 |  | 0
Extra over all excavations for carting away
D | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 282 |  | 0
Imported earth filling type G7 supplied by the Contractor compacted in a minimum of 2 layers 150mm thick to 95% Mod. AASHTO density under all surface beds
E | Under floors, steps, paving, etc | m3 | 3.3034 |  | 0
Compaction of surfaces
F | Compaction of ground surface under floors, etc. including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 90% Mod. AASHTO density | m2 | 3.3034 |  | 0
G | Modified AASHTO Density tests | No | 1 |  | 0
60mm Thick interlocking paving laid on 20mm thick clear sharp sand bed with sand swept into joints and hosed down including weed killer and ant poisoning
A | Paving to to aprons, parking areas, etc. | m2 | 564 |  | 0
B | Circular cutting to paving | m | rate only
C | Non-mountable kerb (fig. 3) 300 x 150 x 300mm high with 150 x 150 x 300mm unreinforced concrete haunching at back of each joint including excavation, backfilling, on 35mm 1:4 mortar bedding, etc | m | 112 |  | 0
| Figure 10 kerb | m | rate only
Road marking paint on concrete and paving
D | Line 100mm wide | m | 50 |  | 0
E | Numeral 200mm high | No | 10 |  | 0
F | Traffic arrow 3000 x 1000mm wide etreme | No | 6 |  | 0
G | Paraplegic Sign | No | 2 |  | 0
| Carried Forward |  |  |  | 0
FENCING
A | Security fence 2.40m high vertically with overhang to one side, of Y section standards with overhang, with strands of 1.6mm straining wire and strands of barbed wire tied to standards, posts and eye bolts and the vertical height covered with 2.5mm diamond wire mesh tied to each straining wire | m | 250 |  | 0
B | Extra over for horizontal stay 2.4m long with ends bolted to posts | no |  |  | 0
C | Extra over for inclined stay 3m long with one end bolted to post, including concrete base | No | 43 |  | 0
D | Extra over for intermediate post 3m long vertically, including concrete base | No | 160 |  | 0
E | Extra over for straining or gate post 3m long vertically, including concrete base | No | 80 |  | 0
BUDGETARY ALLOWANCES
Steel gates
F | Provide the budgetary amount of R 15 000.00 (Fifteen Three Thousand Rand) for steel gates installation to be used as directed by the Principal Agent and to be deducted in whole or in part if not required. | Item | 1 | 15000 | 15000
A | Name board | item | 1 |  | 0
Structural Steel Structure
| Supply, Delivery and Install Steel Strucure as per drawings with Ridge Cap Flasings, Sag Rods, Bubblefoil | item | 1 |  | 0
|  |  | 0 | 0
| BILL NO. 17 |  | 0
| PROVISIONAL AMOUNTS |  | 0
| PROVISIONAL AMOUNTS FOR SELECTED SUB-CONTRACTS |  | 0
| BUDGETARY ALLOWANCES |  | 0
| Electrical installation |  | 0
A | Provide the Amount of R 120 000.00 (One Hundred Thousand Rand) for electrical installation, executed complete | Item | 1 | 120000 | 120000
B | Profit & attendance | % | 120000 | 0% | 0
| Eskom connection |  | 0
C | Provide the Amount of R 50 000.00 (Eighty Thousand Rand) for Eskom connnection, executed complete | Item | 1 | 50000 | 50000
D | Profit & attendance | % | 50000 |  | 0
| Borehole installation |  | 0
E | Provide the Amount of R 100 000.00 (Two Hundred and Fifty Thousand Rand) for borehole installation, executed complete | Item | 1 | 100000 | 100000
F | Profit & attendance | % | 100000 |  | 0
| Furniture supply |  | 0
G | Provide the Amount of R 70 000.00 (Seventy Thousand Rand) for furniture supply, executed complete | Item | 1 | 70000 | 70000
H | Profit & attendance | % | 70000 |  | 0
| Tank stand |  | 0
G | Provide the Amount of R 30 000.00 (Thirty Thousand Rand) for 10KL JOJO Tank together with Stand supply, executed complete | Item | 1 | 30000 | 30000
H | Profit & attendance | % | 30000 |  | 0
I | Provide the Amount of R 15 000.00 (Fifteen Thousand Rand) for sundry general builders work to be used as directed by the principal Agent and to be deducted in whole or in part if not required | Item | 1 | 15000 | 15000
|  | % | 15000 |  | 0
0
SUMMARY
1 | Preliminaries |  |  | 0 | 0
2 | Earthworks |  |  | 0 | 0
3 | Concrete, Formwork and Reinforcement |  |  | 0 | 0
4 | Masonry |  |  | 0 | 0
5 | Waterproofing |  |  | 0 | 0
6 | Roof Coverings |  |  | 0 | 0
7 | Carpentry and Joinery |  |  | 0 | 0
8 | Ceilings, Partitions and Access Flooring |  |  | 0 | 0
9 | Ironmongery |  |  | 0 | 0
10 | Metalwork |  |  | 0 | 0
11 | Plastering |  |  | 0 | 0
12 | Tiling |  |  | 0 | 0
13 | Plumbing and Drainage |  |  | 0 | 0
14 | Glazing |  |  | 0 | 0
15 | Paintwork |  |  | 0 | 0
16 | External works |  |  | 0 | 0
17 | Provisional Amounts |  |  | 0 | 0
Sub-total
| Provide the sum of R 200 000.00 (One Hundred and Seventy Five Thousand Rand) for contingencies to be used as directed by the Principal Agent and deducted in whole or in part if not required | Item | 1 | 200000 | 200000
SUB TOTAL
| Add: Value Added Tax @ 15% |  |  |  | 0
| TOTAL |  |  |  | 0

## Quantities
ITEM | Descriptions | Unit | Quantity
1 | Bulk Excavations | m3 | 1350
2 | Trenches | m3 | 219.0342
3 | Foundation Trench Length | m | 120.68
4 | Blinding | m3 | 9.375
5 | Surface Bed | m3 | 54
6 | Appron Slab | m3 | 18
7 | Strip Foundations | m3 | 44.88
8 | Building Area | m2 | 576
9 | Foundation Brickwall | m2 | 110
10 | Foundation 1n half Brickwall | m2 | 44
11 | Half Brickwall | m2 | 32.912
12 | Brickwall | m2 | 673.5087 | 2.189 | 9.68
13 | 1 n half Brickwall | m2 | 136 | 2.189 | 11.62
14 | 75mm brick force | m | 120.8889
15 | 150mm Brickforce | m |  | 47.715
16 | Plastering | m2 | 602.4809 | 10.5948 | 12.7181
17 | Painting | m2 | 442.2511
18 | Ceiling | m2 | 600
19 | Wall Tilling | m2 | 160.2298
20 | Floor Tiling | m2 | 600
21 | Window Panes | m2 | 78.8934
22
23
24
25
26

## MIG (hidden)
NORTH WEST PROVINCE
MOSES KOTANE LOCAL MUNICIPALITY CONTRACTORS PAYMENT CERTIFICATE
|  | Certificate Number : 1 |  | 5
Project : | CONSTRUCTION OF SIGA COMMUNITY HALL
Works Project Number : | 005/MLKM/2019/2020
Contractor's Name : | BENNIE AND SINAH TRADING
Contractor's Address :
Consultant : | MVE CONSULTING |  |  |  |  | VAT Registration Number :
Consultant's Reference: | 5 |  |  | For period : | 2020-02-26 | to | 2020-07-06
[6 empty] | Value to date | Previous Claimed | This certificate
1. CONTRACT VALUE | [5 empty] | R c | R c | R c
1.1 Original (excluding contingencies) | [5 empty] | 0
1.2 Approved extensions to contract value | [5 empty] | 0
1.3 Approved variations : |  | a. Total additions |  |  |  | 0
|  | b. Total ommisions |  |  |  | 0
|  | c. NET VARIATION (a-b) |  |  |  | 0
1.4 Contingencies |  | a. Original allowance |  |  |  | 200000
|  | b. Net variation (1.3 c.) |  |  |  | 0
|  | c. CONTINGENCIES LEFT |  |  |  | 200000
1.5 PRESENT CONTRACT VALUE (1.1 + 1.2 + 1.3c) | [5 empty] | 0
1.6 Estimate of total escalation to end of contract | [5 empty] | 0
1.7 TOTAL ESTIMATED COST EXCLUDING VAT | [5 empty] | 200000
1.8 Estimate of total Value Added Tax payable | [5 empty] | 30000
1.9 TOTAL ESTIMATED COST INCLUDING VAT | [5 empty] | 230000
2. VALUE OF WORK DONE
2.1 Total from schedule of quantities excluding VAT | [5 empty] | #REF! | 4163380 | #REF!
2.2. Value of materials on site excluding VAT (80%) | [5 empty] | 0 | 0 | 0
2.3 Variations and dayworks completed excluding VAT | [5 empty] | 0 | 0 | 0
2.4 Sub-total (2.1 + 2.2 + 2.3) | [5 empty] | #REF! | 4163380 | #REF!
2.5 Contract Price Adjustment (Escalation / Rise & Fall) on item 2.4 | [5 empty] | 0 | 0 | 0
2.6 Variations completed which are not subject to escalation | [5 empty] | 0 | 0 | 0
2.7 TOTAL VALUE CERTIFIED EXCLUDING VAT (2.4 + 2.5 + 2.6) | [5 empty] | #REF! | 4163380 | #REF!
2.8 Percentage completion (TO DATE) FINANCIAL
a. Excluding escalation | [5 empty] | 0%
b. Including escalation | [5 empty] | 0%
2.9 Percentage progress (TO DATE)
a. Construction Progress | [5 empty] | 100%
3. PAYMENT
3.1 Total value certified (2.7) | [5 empty] | #REF! | 4163380 | #REF!
3.2 Release 100% Retention | [5 empty] | 0 | 416338 | 416338
3.3 Surety, (20% of 3.1) other debits | [5 empty] | 0 | 0 | 0
3.4 Net Total (3.1 - 3.2 - 3.3) | [5 empty] | #REF! | 3747042 | #REF!
3.5 Amount subject to 15% VAT (3.4 - 3.5) | [5 empty] | #REF! | 3747042 | #REF!
3.6 Value Added Tax (15% of 3.5) | [5 empty] | #REF! | 562056.3 | #REF!
3.7 Total including VAT (3.5 + 3.6) | [5 empty] | #REF! | 4309098.3 | #REF!
3.8 Amount paid previously including VAT
3.9 AMOUNT NOW PAYABLE INCLUDING VAT (3.8 - 3.9) | [5 empty] | #REF! | These amount must be identical
AMOUNT NOW PAYABLE TO CESSIONEE NO.1 - INCLUDING VAT | [5 empty] | 0
AMOUNT NOW PAYABLE TO CESSIONEE NO.2 - INCLUDING VAT | [5 empty] | 0
AMOUNT NOW PAYABLE TO CONTRACTOR - INCLUDING VAT | [5 empty] | 0 | #REF!
These figures are documented in detail on the attached schedules | [5 empty] | MUNICIPAL CERTIFICATION - APPROVED FOR PAYMENT
We hereby certify that the above figures are correct
……………………………. |  |  |  | ……………………. |  | ……………………………. |  | …………………….
Consulting Engineer |  |  |  | Date |  | PMU Manager |  | Date
……………………………. |  |  |  | ……………………. |  | ……………………………. |  | …………………….
Contractor |  |  |  | Date |  | Departmental Manager |  | Date