## Sch 1 P & G's
MOSES KOTANE LOCAL MUNICIPALITY
MAHOBIESKRAAL BULK WATER SUPPLY
018/MKLM/2022/2023
Schedule 1
|  |  |  | SCHEDULE 1 : PRELIMINARY & GENERAL |  |  |  |  | Preliminary & General
TENDER
Item | Payment |  |  | Description | Unit | LIC | Qty | Rate | Amount
No. | Ref. | [6 empty] | (R) | (R)
1. | SANS
| 1200A | PRELIMINARY & GENERAL
1.1 | 8.3 | FIXED-CHARGE ITEMS
1.1.1 | 8.3.1 | Contractual Requirements |  |  | Sum |  | 1 |  | 0
1.1.2 | 8.3.2 | Establish Facilities on Site
1.1.2.1 | 8.3.2.1 | i) | Facilities for Engineer
1.1.2.1.1 | PS7.2 |  | a) | Office Equipment for Engineer as and when required | Prov Sum |  | 1 |  | 0
1.1.2.1.2 | PSAB1 |  | b) | Nameboards | no. |  | 2 |  | 0
1.1.2.2 | 8.3.2.2 | ii) | Facilities for Contractor
PS6
1.1.2.2.1 |  |  | a) | Offices and storage sheds | Sum |  | 1 |  | 0
1.1.2.2.2 |  |  | b) | Workshops | Sum |  | 1 |  | 0
1.1.2.2.3 |  |  | c) | Laboratories | Sum |  | 1 |  | 0
1.1.2.2.4 |  |  | d) | Living accommodation | Sum |  | 1 |  | 0
1.1.2.2.5 |  |  | e) | Ablution and latrine facilities | Sum |  | 1 |  | 0
1.1.2.2.6 |  |  | f) | Tools and equipment | Sum |  | 1 |  | 0
1.1.2.2.7 |  |  | g) | Water supplies, electric power and communications | Sum |  | 1 |  | 0
1.1.2.2.8 |  |  | h) | Dealing with water (Subclause 5.5) | Sum |  | 1 |  | 0
1.1.2.2.9 |  |  | i) | Access (Subclause 5.8) | Sum |  | 1 |  | 0
1.1.2.2.10 |  |  | j) | Plant | Sum |  | 1 |  | 0
1.1.3 | 8.3.3 | Other fixed-charge obligations |  |  | Sum |  | 1 |  | 0
1.1.4 | 8.3.4 | Remove Contractor's site establishment on completion |  |  | Sum |  | 1 |  | 0
1.3 | 8.4 | TIME-RELATED ITEMS
1.3.1 | 8.4.1 | Contractual requirements |  |  | Month |  | 10 |  | 0
1.3.2 | 8.4.2 | Operate and maintain facilities on the site:
1.3.2.1 | 8.4.2.1 | i) | Facilities for Engineer
1.3.2.1.1 |  |  | a) | Survey assistants | Sum |  | 1 |  | 0
[7 empty] | Carried Forward |  | 0
C2.2.1
[7 empty] | Brought Forward |  | 0
1.3.2.2 | 8.4.2.2 | Facilities for Contractor
1.3.2.2.1 |  | a) | Offices and storage sheds |  | Month |  | 10 |  | 0
1.3.2.2.2 |  | b) | Workshops |  | Month |  | 10 |  | 0
1.3.2.2.3 |  | c) | Laboratories |  | Month |  | 10 |  | 0
1.3.2.2.4 |  | d) | Living accommodation |  | Month |  | 10 |  | 0
1.3.2.2.5 |  | e) | Ablution and latrine facilities |  | Month |  | 10 |  | 0
1.3.2.2.6 |  | f) | Tools and equipment |  | Month |  | 10 |  | 0
1.3.2.2.7 |  | g) | Water supplies, electric power and communications |  | Month |  | 10 |  | 0
1.3.2.2.8 |  | h) | Dealing with water (Subclause 5.5) |  | Month |  | 10 |  | 0
1.3.2.2.9 |  | i) | Access (Subclause 5.8) |  | Month |  | 10 |  | 0
1.3.2.2.10 |  | j) | Plant |  | Month |  | 10 |  | 0
1.3.3 | 8.4.3 | Supervision for duration of the construction |  |  | Month |  | 10 |  | 0
1.3.4 | 8.4.4 | Company and head office overhead costs |  |  | Month |  | 10 |  | 0
1.3.5 | PSA8.4 | Opening up and closing of Borrow pits |  |  | Sum |  | 1 |  | 0
1.3.6 |  | Pipelines Pressure Testing |  |  | Sum |  | 1 |  | 0
1.3.7 | 8.4.5 | Other time related obligations |  |  | Month |  | 10 |  | 0
1.3.7.1 |  | a) | Community Laison Officer (CLO) Salary |  | Month |  | 10 |  | 0
1.3.7.2 |  | b) | Community involvement, PSC payment |  | Prov Sum |  | 1 | 60000 | 60000
1.3.7.3 |  | c) | Charges and profit on item 1.3.7 (a) , and (b) |  | % |  | 60000 |  | 0
[7 empty] | Carried Forward |  | 60000
C.2.2.2
[7 empty] | Brought Forward |  | 60000
1.4 | PAP10 | HEALTH AND SAFETY
1.4.1 | 10.2.2(a) | Implementation and maintenance of health and safety
|  | plan |  |  | Sum |  | 1 |  | 0
1.4.2 | 10.2.2(b) | Implementation and maintenance of training |  |  | PC Sum |  | 1 | 30000 | 30000
1.4.3 | 10.2.2(c) | Maintenance of personal protective clothing and
|  | equipment |  |  | Sum |  | 1 |  | 0
1.4.4 | 10.2.2.(d) | Maintenance of fences, signs and barricades |  |  | Sum |  | 1 |  | 0
1.4.5 | 10.2.2(e) | Implementation and maintenance of safety administration |  |  | Sum |  | 1 |  | 0
1.4.6 | 10.2.2(f) | Other health and safety time-related obligations |  |  | Sum |  | 1 |  | 0
1.5 | PSA8 | SUMS STATED PROVISIONALLY BY THE
ENGINEER
Provisional Sums
1.5.1 |  | Testing
1.5.1.1 | PSA8.2 | Layerworks, bedding, blanket and backfilling |  |  | Prov Sum |  | 1 | 15000 | 15000
1.5.1.3 |  | Geotechnical Investigation |  |  | Prime Cost |  | 1 | 80000 | 80000
1.5.1.4 | PSA8.3 | Royalties for Borrow Materials |  |  | Prov Sum |  | 1 | 50000 | 50000
1.5.1.5 |  | Charges and profit on items 1.5.1.2, 1.5.1.3 and 1.5.1.4 |  |  | % |  | 145000 | 10% | 14500
[7 empty] | TOTAL SCHEDULE 1 CARRIED FORWARD TO SUMMARY |  | 249500
C2.2.3

## Sch 2 Day Works
MOSES KOTANE LOCAL MUNICIPALITY
MAHOBIESKRAAL BULK WATER SUPPLY
018/MKLM/2022/2023
Schedule 2
|  |  | SCHEDULE 2 : DAY WORKS |  |  |  |  | Day Works
TENDER
Item | Payment |  | Description | Unit | LIC | Qty | Rate | Amount
No. | Ref. | [5 empty] | (R) | (R)
2 | SANS
| 1200A | DAY WORKS
2.1 | 8.7 | LABOUR
2.1.1 |  | a) Unskilled Labourers |  | hrs |  | 1 |  | 0
2.1.2 |  | b) Semi Skilled Labourers |  | hrs |  | 1 |  | 0
2.1.3 |  | c) Skilled Labourers |  | hrs |  | 1 |  | 0
2.1.4 |  | d) Carpenter |  | hrs |  | 1 |  | 0
2.1.5 |  | e) Clerk |  | hrs |  | 1 |  | 0
2.1.6 |  | f) Artisans |  | hrs |  | 1 |  | 0
2.1.7 |  | g) Foreman |  | hrs |  | 1 |  | 0
2.1.8 |  | h) Steel fixer |  | hrs |  | 1 |  | 0
2.1.9 |  | i) Bricklayer or Plasterer |  | hrs |  | 1 |  | 0
2.1.10 |  | j) Welder |  | hrs |  | 1 |  | 0
2.2 |  | PLANT
Tenderers to insert the hire rate at which each item will be charged, which is to cover all relevant costs of plant hire, including operating crew, bringing to site and removal
2.2.1 |  | Bulldozer (D6 or similar equivalent):
2.2.1.1 |  | a) Working |  | hrs |  | 1 |  | 0
2.2.1.2 |  | b) Standing |  | hrs |  | 1 |  | 0
2.2.2 |  | Grader (120G or similar equivalent)
2.2.2.1 |  | a) Working |  | hrs |  | 1 |  | 0
2.2.2.2 |  | b) Standing |  | hrs |  | 1 |  | 0
[5 empty] | Carried Forward |  |  | 0
C2.2.4
[6 empty] | Brought Forward |  | 0
2.2.3 |  | TLB
2.2.3.1 |  | a) Working |  | hrs |  | 1 |  | 0
2.2.3.2 |  | b) Standing |  | hrs |  | 1 |  | 0
2.2.4 |  | Trucks (6m³ tipper)
2.2.4.1 |  | a) Working |  | hrs |  | 1 |  | 0
2.2.4.2 |  | b) Standing |  | hrs |  | 1 |  | 0
2.2.5 |  | Soil compactors (D72Y or similar equivalent)
2.2.5.1 |  | a) Working |  | hrs |  | 1 |  | 0
2.2.5.2 |  | b) Standing |  | hrs |  | 1 |  | 0
2.2.6 |  | Concrete mixer (250 litre)
2.2.6.1 |  | a) Working |  | hrs |  | 1 |  | 0
2.2.6.2 |  | b) Standing |  | hrs |  | 1 |  | 0
2.2.7 |  | Concrete vibrators (Drive unit plus accessories)
2.2.7.1 |  | a) Working |  | hrs |  | 1 |  | 0
2.2.7.2 |  | b) Standing |  | hrs |  | 1 |  | 0
2.2.8 |  | Excavators
|  |  |  | hrs |  | 1 |  | 0
2.2.8.1 |  | a) Working
|  |  |  | hrs |  | 1 |  | 0
2.2.8.2 |  | b) Standing
[5 empty] | Carried Forward |  |  | 0
C2.2.5
[6 empty] | Brought Forward |  | 0
2.2.9 |  | Water tanker (10 000 l)
2.2.9.1 |  | a) Working |  | hrs |  | 1 |  | 0
2.2.9.2 |  | b) Standing |  | hrs |  | 1 |  | 0
2.2.10 |  | LDV
2.2.10.1 |  | a) Working |  | hrs |  | 1 |  | 0
2.2.10.2 |  | b) Standing |  | hrs |  | 1 |  | 0
2.2.11 |  | Dumper (1.4m³)
2.2.11.1 |  | a) Working |  | hrs |  | 1 |  | 0
2.2.11.2 |  | b) Standing |  | hrs |  | 1 |  | 0
`
[6 empty] | TOTAL SCHEDULE 2 CARRIED FORWARD TO SUMMARY |  | 0
C2.2.6

## Sch 3 Earthw Water Trenches
MOSES KOTANE LOCAL MUNICIPALITY
MAHOBIESKRAAL BULK WATER SUPPLY
018/MKLM/2022/2023
Schedule 3
|  |  |  | SCHEDULE 3 : EARTHWORKS (Water Trenches) |  |  |  |  | Earthworks (Water Trenches)
TENDER
Item | Payment |  |  | Description | Unit | LIC | Qty | Rate | Amount
No. | Reference | [6 empty] | (R) | (R)
3 | SANS | EARTHWORKS (Pipe Trenches)
1200DB
3.1 | 8.3.1 | SITE CLEARANCE
3.1.1 | 8.3.1a) | Clear vegetation and trees to a width of 2 m |  |  | m2 |  | 51200 |  | 0
3.1.2 | 8.3.1b) | Clear trees of girth over 1.0m and designated obstacles |  |  | no. |  | 5 |  | 0
3.2 | 8.3.2 | EXCAVATION
PSDB 5.4
3.2.1 | 8.3.2a) | Excavation (soft -intermidiate) for trenches, backfill, compact
and dispose of surplus material
3.2.1.1 |  | a) | 0.0m to 1.1m in depth |  | m |  | 25600 |  | 0
3.2.1.2 |  | b) | 1.1m to 2.0m in depth |  | m |  | 0 |  | 0
3.2.2 | 8.3.2b) | Extra over item 3.2.1 for:
3.2.2.1 |  | b) | Hard rock excavation (Provisional- by blasting or drilling) |  | m³ |  | 4608 |  | 0
3.2.2.2 |  | Excavate and dispose of unsuitable material from
|  | trench bottom |  |  | m³ |  | 4608 |  | 0
3.3 | 8.3.3 | EXCAVATION ANCILARIES
3.3.1 | 8.3.3.1 | Make up deficiency in backfill material (Provisional)
3.3.1.1 |  | a) | From other necessary excavations on site |  | m³ |  | 772 |  | 0
3.3.1.2 |  | b) | By importation from designated borrow pits |  | m³ |  | 192 |  | 0
3.3.1.3 |  | c) | By importation from commercial sources |  | m³ |  | 240 |  | 0
3.3.2 | 8.3.3.3 | Compaction in road reserves |  |  | m³ |  | 50 |  | 0
3.3.3 | 8.3.3.4 | Overhaul
3.3.3.1 |  | a) | Limited overhaul (Provisional) |  | m³ |  | 10 |  | 0
3.3.3.2 |  | b) | Long overhaul (Provisional) |  | m³.km |  | 50 |  | 0
[7 empty] | Carried Forward |  | 0
C2.2.7
[7 empty] | Brought Forward |  | 0
3.4 | 8.3.5 | EXISTING SERVICES
3.4.1 |  | a) | Services that intersect a trench |  | no |  | 20 |  | 0
3.4.2 |  | b) | Services that adjoin a trench |  | m |  | 150 |  | 0
3.5 | SANS | BEDDING
1200LB
3.5.1 | 8.2.1 | PROVISION OF BEDDING FROM TRENCH EXCAVATIONS
3.5.1.1 |  | a) | Selected granular material |  | m³ |  | 1424 |  | 0
3.5.1.2 |  | b) | Selected fill material |  | m³ |  | 1424 |  | 0
3.5.2 | 8.2.2 | SUPPLY ONLY OF BEDDING BY IMPORTATION
3.5.3.1 | 8.2.2.1 | From borrow pits to be arranged by the contractor (Provisional)
3.5.3.1.1 |  | a) | Selected granular material |  | m³ |  | 1424 |  | 0
3.5.3.1.2 |  | b) | Selected fill material |  | m³ |  | 1424 |  | 0
3.5.3 | 8.2.2.3 | From commercial sources (Provisional)
3.5.3.1 |  | a) | Selected granular material |  | m³ |  | 200 |  | 0
3.5.3.2 |  | b) | Selected fill material |  | m³ |  | 200 |  | 0
3.5.4 | 8.2.3 | Concrete bedding cradle |  |  | m³ |  | 24 |  | 0
3.5.4.1 | 8.2.4 | Encasing of pipes in concrete |  |  | m³ |  | 12 |  | 0
3.6 |  | Asphalt Reintatement |  |  | m2 |  | 25 |  | 0
0

## Sch 4 Med Press Pipes
MOSES KOTANE LOCAL MUNICIPALITY
MAHOBIESKRAAL BULK WATER SUPPLY
018/MKLM/2022/2023
Schedule 4
|  |  |  | SCHEDULE 4 : MEDIUM PRESSURE PIPELINES |  |  |  |  | Medium Pressure Pipelines
TENDER
Item | Payment |  |  | Description | Unit | LIC | Qty | Rate | Amount
No. | Reference | [6 empty] | (R) | (R)
4 | SANS | MEDIUM PRESSURE PIPELINES
1200L
4.1 |  | PIPEWORK
4.1.1 | 8.2.1 | Supply, lay, joint, bed (uPVC Class 9 pipes) and test
|  | water pipes complete with couplings (LIC) |  |  |  | LIC
4.1.1.1 |  | a) | 50mm dia - uPVC Class 9 |  | m |  | 0 |  | 0
4.1.1.2 |  | b) | 75mm dia - uPVC Class 9 |  | m
4.1.1.3 |  | c) | 90mm dia - uPVC Class 12 |  | m |  | 2600 |  | 0
4.1.1.4 |  | d) | 110mm dia - uPVC Class 12 |  | m |  | 9800 |  | 0
4.1.1.5 |  | e) | 160mm dia - uPVC Class 12 |  | m |  | 1200 |  | 0
4.1.1.6 |  | f) | 160mm dia - uPVC Class 16 |  | m |  | 12000 |  | 0
4.2 | 8.2.2 | FITTINGS AND SPECIALS
Supply, lay, bed and test the following fittings and specials
|  | on uPVC water pipes. Cutting of pipes and couplings included(LIC) |  |  |  | LIC
4.2.1 |  | uPVC Class 12/16 pressure bends( Socketed)
4.2.1.1 |  | a) | 90° Bends
4.2.1.1.1 |  |  | 50mm |  | no |  |  |  | Rate Only
4.2.1.1.2 |  |  | 75mm |  | no |  |  |  | Rate Only
4.2.1.1.3 |  |  | 90mm |  | no |  | 8
4.2.1.1.4 |  |  | 110mm |  | no |  | 13 |  | 0
4.2.1.1.5 |  |  | 160mm |  | no |  | 8 |  | 0
4.2.1.2 |  | b) | 45° Bends
4.2.1.2.1 |  |  | 50mm |  | no |  |  |  | Rate Only
4.2.1.2.2 |  |  | 75mm |  | no |  |  |  | Rate Only
4.2.1.2.3 |  |  | 90mm |  | no |  | 4
4.2.1.2.4 |  |  | 110mm |  | no |  | 19 |  | 0
4.2.1.2.5 |  |  | 160mm |  | no |  | 12 |  | 0
4.2.1.3 |  | c) | 22½° Bends
4.2.1.3.1 |  |  | 50mm |  | no |  |  |  | Rate Only
4.2.1.3.2 |  |  | 75mm |  | no |  |  |  | Rate Only
4.2.1.3.3 |  |  | 90mm |  | no |  | 3
4.2.1.3.4 |  |  | 110mm |  | no |  | 5 |  | 0
4.2.1.3.5 |  |  | 160mm |  | no |  | 8 |  | 0
[7 empty] | Carried Forward |  | 0
C2.2.9
[7 empty] | Brought Forward |  | 0
4.2.1.4 |  | d) | 11¼° Bends
4.2.1.4.1 |  |  | 50mm |  | no |  |  |  | Rate Only
4.2.1.4.2 |  |  | 75mm |  | no |  |  |  | Rate Only
4.2.1.4.3 |  |  | 90mm |  | no |  | 3
4.2.1.4.4 |  |  | 110mm |  | no |  | 7 |  | 0
4.2.1.4.5 |  |  | 160mm |  | no |  | 4
4.2.2 |  | Socketed cast iron fittings
Cast iron fittings manufactured to SABS 546 with corrosion
protection, to incorporate LYNG rubber seal ring to Class 16
4.2.2.1 |  | Cast iron equal tees
4.2.2.1.1 |  | a) | 160 x 160 mm |  | no |  | 10 |  | 0
4.2.2.1.2 |  | b) | 110 x 110 mm |  | no
4.2.2.2 |  | Cast iron reducer tees including extra reducers if required
4.2.2.2.1 |  | a) | 110 x 90 mm |  | no |  |  |  | Rate Only
4.2.2.2.2 |  | b) | 160 x 110mm |  | no |  | 17 |  | 0
4.2.2.3 |  | Cast iron reducers
4.2.3.1 |  | a) | 160 x 100 mm |  | no |  | 4 |  | 0
4.2.3.2 |  | b) | 110 x 90 mm |  | no |  | 1 |  | 0
4.2.2.4 |  | End Caps
4.2.2.4.1 |  | a) | 90 |  | no |  |  |  | Rate Only
4.2.2.4.2 |  | b) | 110 mm |  | no |  | 14 |  | 0
4.2.2.4.3 |  | b) | 160 mm |  | no |  | 2
4.2.2.5 |  | Fire Hydrants Tees
4.2.2.5.1 |  | a) | 75mm dia |  | no |  | 0 |  | Rate Only
4.2.2.5.2 |  | b) | 110mm dia |  | no |  | 0 |  | Rate Only
4.3 |  | Fire Hydrant Assembly as per detail drawing
4.3.1 |  | Supply, install, bed and test Fire hydrants on
water mains using flanged fittings
to SABS 664 complete, including all fittings
4.3.1.1 |  | a) | 75mm dia |  | no |  | 0 |  | Rate Only
4.3.1.2 |  | b) | 110mm dia |  | no |  |  |  | Rate Only
[7 empty] | Carried Forward |  | 0
C.2.2.10
[7 empty] | Brought Forward |  | 0
4.4 | 8.2.3 | ISOLATING VALVES
4.3.1 |  | Supply, install, bed and test line valve assemblies on uPVC
|  | water mains using socketed resilient seal valves class 9 |  |  |  | LIC
to SABS 664 complete, including all fittings
|  | a) | 80mm dia for 75mm and 90mm pipes |  | no |  | 4 |  | 0
|  | b) | 100 mm dia for 110mm pipes |  | no |  | 13 |  | 0
4.5 | PSL8.2.11 | ANCHOR/THRUST BLOCKS AND PEDESTALS
4.5.1 |  | Cast anchor and thrust blocks in class 15MPa/19 concrete
|  | as per detail drawing PD-018/MKLM/2018/2019/3 |  |  | m3 | LIC | 26 |  | 0
4.6 | 8.2.13 | VALVE CHAMBERS
Supply and construct valve chambers as per
|  | detail drawing PD-018/MKLM/2018/2019/3 |  |  | no | LIC | 26 |  | 0
4.7 | 8.2.13 | FIRE HYDRANT CHAMBERS
Supply and construct valve chambers as per
|  | detail drawing PD-018/MKLM/2018/2019/3 (LIC) |  |  | no | LIC | 0 |  | Rate Only
4.8 | SANS | ERF CONNECTIONS
1200LF
4.8.1 | 8.2.2 | Supply, lay and test erf connections as per detail drawings
PD-018/MKLM/2018/2019/3, including stand taps
4.8..1.1 |  | On existing Pipes
|  | a) | Type 1 (Single near side only) |  | no |  | 0 |  | Rate Only
|  | b) | Type 2 (Double near side only) |  | no |  | 0 |  | Rate Only
4.9 | 8.2.4 | Extra Over item 3.8.1.1
4.9.1 |  | 20mmHDPE pipes for connections from pipe opposite the |  |  | m | LIC | 0 |  | Rate Only
street (long erf connection)
4.1 | 8.2.4 | Supply and assemble water meters with couplings as per drawing |  |  | no |  | 0 |  | Rate Only
PD-018/MKLM/2018/2019/3
4.11 | PSLF8.2.6 | Supply, transport, excavate and install new communal tap for
as per drawing PD-018/MKLM/2018/2019/3
4.11.1 |  | On existing Pipes and new pipes |  |  | no |  | 24 |  | 0
[7 empty] | Carried Forward |  | 0
C2.2.11
[7 empty] | Brought Forward |  | 0
SANS
1200L
4.12 | 8.2.13 | AIR VALVE
|  | Supply and assemble air valve as per drawing PD-018/MKLM/2018/2019/3. The rate shall cover the |  |  | no |  | 6 |  | 0
manufacturing,delivery,install and test pipe specials, site
welding, weld repair and make good protection,connections
to fittings
4.13 | 8.2.13 | SCOUR VALVE
|  | Supply and assemble scour valve as per drawing |  |  | no |  | 7 |  | 0
PD-018/MKLM/2018/2019/3 The rate shall cover the manufacturing,
delivery,install and test pipe specials ,site welding, weld repair
and make good protection,connections to fittings
4.14 | 8.2.13 | AIR VALVE CHAMBERS
Supply and construct valve chambers as per
|  | detail drawing PD-018/MKLM/2018/2019/3 |  |  | no |  | 6 |  | 0
4.15 | 8.2.13 | SCOUR VALVE CHAMBERS
Supply and construct valve chambers as per
|  | detail drawing PD-018/MKLM/2018/2019/3 |  |  | no |  | 7 |  | 0
SANS
1200L
4.16 | 8.2.8 | CONCRETE MARKER BLOCK
|  | Supply and install concrete marker block as per detail drawing |  |  | no |  | 60 |  | 0
PD-018/MKLM/2018/2019/3
4.17 |  | GANTRY OVER RIVER
4.17.1 |  | 30 Mpa Concrete for Plinths |  |  | m³ |  | 20 |  | 0
4.17.2 |  | Formwork for Plinths |  |  | m² |  | 60 |  | 0
4.17.3 |  | Supply and Install 250mm 8mm thk Steel Pipe, 15m lengths |  |  | m |  | 60 |  | 0
TOTAL SCHEDULE 4 CARRIED FORWARD TO SUMMARY | [8 empty] | 0
C2.2.12

## Sch5 Reservoir
MOSES KOTANE LOCAL MUNICIPALITY
MAHOBIESKRAAL BULK WATER SUPPLY
018/MKLM/2022/2023
Schedule 5
|  | SCHEDULE 5: RESERVOIRS AND PUMPSTATION |  |  |  | Reservoirs & Pumpstation
TENDER
Item | Payment | Description | Unit | LIC | Qty | Rate | Amount
No. | Reference |  |  |  |  | (R) | (R)
| SANS1200H | STRUCTURAL STEELWORK
5.1 |  | 500kl RESERVOIR WITH STRUCTURE
(ABEKO or Similar)
5.1.1 | PSH 8.3.11 | Commissiong: Design, supply, fabricate, deliver to site and erection of a | Sum |  | 1 |  | 0
0,5Ml/500kl structural steel stands, complete to suppliers
specifications including the 20m high stand with
associated access ladder, surface dressing, surface
preparation, hot dip galvanising including holding
down bolts & Corrosion Protection
5.1.2 |  | Telemetry System to be supplied by nominated specialist | Prov Sum |  | 1 | 189000 | 189000
5.1.3 |  | Charges and profit on item 4.1.2 | % |  | 189000 |  | 0
5.1.4 | PSH 8.3.12 | Additional Items
|  | k) Sterilization of the 500 kl reservoir | Sum |  | 1 |  | 0
|  | m) Lightning protection for the reservoir | Sum |  | 1 |  | 0
| SANS1200C | EARTHWORKS
5.2 |  | SITE CLEARANCE
5.2.1 | 8.2.1 | Clear and grub site at new reservoir area | m2 |  | 220 |  | 0
5.2.2 | 8.2.2 | Extra over item 5.2.1 for removal of trees with girth | Sum |  | 1 |  | Rate Only
| PSC2 | up 1m
5.2.3 | 8.3.2 | Removal of topsoil to a depth of 100mm and stock pile | m2 |  | 60 |  | 0
5.3 | SANS1200D | EXCAVATION
5.3.1 | PSD | For foundations:
| 8.3.2(a) | Excavate and stockpile on site, to a maximum of 1000mm, | m3 |  | 77 |  | 0
compact to optimum moisture content of 90% MOD
AASHTO maximum density
5.3.2 | PSD | For Storm water trench:
| 8.3.2(a) | Excavate and stockpile on site, to a maximum of 300mm, | m3 |  | 21 |  | 0
compact to optimum moisture content of 90% MOD
AASHTO maximum density
| 8.3.2(b) | Extra over for Item 7.3.1 for excavation in:
5.3.3 |  | Hard Rock | m3 |  | 6 |  | Rate Only
5.3.4 |  | Import of approved G5 quality material from borrow | m3 |  | 5 |  | 0
pit less than 10km, compacted in layers of 150mm to
optimum moisture contentof 90% MOD AASTHO
maximum density
5.3.5 |  | Spread of stockpiled material in suitable areas | m3 |  | 10 |  | 0
[5 empty] | Carried Forward |  | 189000
C2.2.13
[5 empty] | Brought Forward |  | 189000
5.4 |  | FINISHES
5.4.1 | 8.3.10 | Spread of topsoil material in suitable areas | m3 |  | 16 |  | 0
5.4.2 | 8.3.7 | Planting of Kikuyu grass seedlings | m2 |  | 0 |  | Rate Only
5.4.3 | 8.3.11 | Mowing of the lawn on order of the Engineer | m2 |  | 0 |  | Rate Only
5.5 | SANS | CONCRETE (STRUCTURAL)
1200G
| 1200G | SCHEDULED FORMWORK ITEMS
| 8.2.2 | Smooth formwork to Degree of Accuracy II
5.5.1 | a) | Vertical formwork to sides of plinths | m2 |  | 5 |  | 0
5.5.2 | b) | Vertical formwork to sides of ground beams | m2 |  | 44 |  | 0
| 8.3 | SCHEDULED REINFORCEMENT ITEMS
| 8.3.2 | High tensile steel reinforcement in slabs, beams and plinths.
5.5.3 | a) | Y10 | t |  | 0.876 |  | 0
5.5.4 | b) | Y12 | t |  | 0.492 |  | 0
5.5.5 | c) | Y16 | t |  | 0 |  | 0
5.5.6 | d) | Y20 | t |  | 0.576 |  | 0
5.5.7 | e) | Y25 | t |  | 0.276 |  | 0
5.5.8 | f) | Y32 | t |  | 2.4 |  | 0
| 8.4 | SCHEDULED CONCRETE ITEMS
| 8.4.1 | Prescribed Mix Concrete
5.5.9 | 8.4.2 | Blinding Layer in 10 Mpa concrete | m3 |  | 4 |  | 0
| 8.4.3 | Strength Concrete
5.5.10 | a) | 30 MPa Concrete in ground beams | m3 |  | 21.168 |  | 0
5.5.11 | b) | 30 MPa Concrete in surface slab | m3 |  | 26.4 |  | 0
5.5.12 | c) | 30 MPa Concrete in plinths | m3 |  | 1.2 |  | 0
| 8.4.4 | Unformed surface finishes
5.5.13 | a) | Steel floated finish to top of surface slab and exposed beam tops to degree of accuracy II | m2 |  | 75 |  | 0
5.5.14 |  | Cast-in HDBolts (HD1 M24 - 760mm Long) | No. |  | 16 |  | 0
5.6 | 8.4.4 | FENCING
5.5.1 |  | Supply, transport and construct complete 2.4m | m |  | 200 |  | 0
fencing as detailed on PD-018/MKLM/2018/2019/3
5.5.2 |  | Supply, transport and construct complete entrance gate as | No |  | 4 |  | 0
detailed on PD-018/MKLM/2018/2019/3
5.7 |  | Refurbishment of Existing Reservoir | Prov. Sum |  | 1 | 200000 | 200000
[5 empty] | Carried Forward |  | 389000
C2.2.14
[5 empty] | Brought Forward |  | 389000
5.8 | 8.2.13 | PIPEWORK FOR STEELTANKS
5.8.1 |  | Flanged GMS Pipework at Structural Steel Tanks
5.8.1.1 |  | a) 50ND | m |  | 0 |  | Rate Only
5.8.1.2 |  | b) 65ND | m |  | 0 |  | Rate Only
5.8.1.3 |  | c) 80ND | m |  | 0 |  | Rate Only
5.8.1.4 |  | d) 100ND | m |  | 25 |  | 0
5.8.1.5 |  | e) 150ND | m |  | 25 |  | 0
5.8.1.6 |  | f) 200ND | m |  | 0 |  | Rate Only
Flanged GMS Fittings
5.8.2 |  | a) Bends 90°
5.8.2.1 |  | i) 50ND | No. |  | 0 |  | Rate Only
5.8.2.2 |  | ii) 65ND | No. |  | 0 |  | Rate Only
5.8.2.3 |  | iii) 80ND | No. |  | 0 |  | Rate Only
5.8.2.4 |  | iv) 100ND | No. |  | 4 |  | 0
5.8.2.5 |  | v) 150ND | No. |  | 4 |  | 0
5.8.2.6 |  | vi) 200ND | No. |  | 0 |  | Rate Only
5.8.3 | 8.2.5 | b) Tees
5.8.3.1 |  | i) 50ND | No. |  | 0 |  | Rate Only
5.8.3.2 |  | ii) 65ND | No. |  | 0 |  | Rate Only
5.8.3.3 |  | iii) 80ND | No. |  | 0 |  | Rate Only
5.8.3.4 |  | iv) 100ND | No. |  | 2 |  | 0
5.8.3.5 |  | v) 150ND | No. |  | 2 |  | 0
5.8.3.6 |  | vi) 200ND | No. |  | 0 |  | Rate Only
5.9 |  | VALVES
5.9.1 |  | Supply and install Non-rising Spindle valve complete, including cutting of pipes and couplings
5.9.1.1 |  | a) 65ND | No. |  | 0 |  | Rate Only
5.9.1.2 |  | b) 80ND | No. |  | 0 |  | Rate Only
5.9.1.3 |  | c) 100ND | No. |  | 2 |  | 0
5.9.1.4 |  | d) 150ND | No. |  | 2 |  | 0
5.9.1.5 |  | e) 200ND | No. |  | 0 |  | Rate Only
5.9.2 |  | Supply and install Leveldex Float valve complete
5.9.2.1 |  | a) 50 mm Ø | No. |  | 0 |  | Rate Only
5.9.2.2 |  | b) 80 mm Ø | No. |  | 1 |  | 0
[5 empty] | Carried Forward |  | 389000
C2.2.15
[5 empty] | Brought Forward |  | 389000
5.1 |  | PUMP STATION AND RESERVOIR IN LEDIG
5.10.1 |  | PUMP STATION ERECTION, ELECTRIFICATION AND INSTALLATION OF PUMPS
5.10.1.1 |  | a) MCC and associated works
|  | For 2 Etanorm 065-050-160 GG 1A PO with 7.5kW motors | Prov Sum |  | 1 | 200000 | 200000
5.10.1.2 |  | Charges and profit on item 4.10.1.1 | % |  | 200000
5.10.1.3 |  | a) Pumps and Pipework associated with the Pumps | Prov Sum |  | 1 | 115000 | 115000
Sub Contractor) (including Pump & Fittings)
5.10.1.4 |  | Charges and profit on item 4.10.1.2 | % |  | 115000 |  | 0
5.10.1.5 |  | a) Re-Drill Borehole No.2 from 20m to 45m depth | m |  | 0 | 250 | 0
5.10.1.5 |  | Supply, transport and construct complete 2.4m
fencing as detailed on Drawing No PD-018/MKLM/2018/2019/3
|  | around pump houses | m |  | 150 |  | 0
5.10.1.6 |  | Construction of new pump house | No |  | 1 |  | 0
as detailed on Drawing nr. PD-018/MKLM/2018/2019/3
|  | TOTAL SCHEDULE 5 CARRIED FORWARD TO SUMMARY |  |  |  |  | 704000
C2.2.16

## Sch6 Horizontal Drilling
MOSES KOTANE LOCAL MUNICIPALITY
MAHOBIESKRAAL BULK WATER SUPPLY
018/MKLM/2022/2023
Schedule 6
|  | SCHEDULE 6: HORIZONTAL DRILLING |  |  | Horizontal Drilling
TENDER
Item | Payment | Description | Unit | Qty | Rate | Amount
No. | Reference |  |  |  | (R) | (R)
| PHD | SCHEDULE 6: HORIZONTAL DIRECTIONAL DRILLING
Establishment on site
0
6.01 | PHD7.1(a) | (a) Fixed charge items | Sum | 1
6.02 | PHD7.1(b) | (b) Time related items | Sum | 1
| PHD7.2 | Supply of SDR13.6 PE80 PN10 HDPE sleeve pipes for OD:
6.03 |  | (a) 200mm | m | 40
6.04 |  | (b) 250mm | m | 0 |  | Rate only
6.05 |  | (c) 315mm | m | 0 |  | Rate only
6.06 |  | (d) 355mm | m | 0 |  | Rate only
6.07 |  | (e) 400mm | m | 0 |  | Rate only
6.08 |  | (f) 450mm | m | 0 |  | Rate only
6.09 | PHD7.3 | Excavation for launching pits | m³ | 30
6.1 | PHD7.4 | Drilling, locating and logging of pilot bore (incl. report/drilling) in soft materials | m | 40 |  | 0
6.11 | PHD7.5 | Extra over item PHD7.4 for drilling in hard material, up to 20 Mpa | m | 40
| PHD7.6 | Reaming of pilot bore through to accommodate pipe of OD:
0
6.12 |  | (a) 200mm | m | 40
6.13 |  | (b) 250mm | m | 0 |  | Rate only
| PHD7.7 | Installation of SDR13.6 PE80 PN10 HDPE sleeve pipe complete with butt welds, for OD:
6.14 |  | (a) 200mm | m | 40 |  | 0
6.15 |  | (b) 250mm | m | 0 |  | Rate only
| PHD7.8 | Stabilization of unstable areas or grouting of voids where ordered by Engineer (Provisional):
6.16 |  | (a) Provision and establishment of equipment on site, moving equipment between drilling sites, and removal on completion of operation | Sum | 1 |  | 0
6.17 |  | (b) Operation of equipment | day | 4 |  | 0
6.18 |  | (c) Materials used | m³ | 10 |  | 0
6.19 | PHD7.9 | Standing time for drilling gang and equipment covered by item PHD7.1 | hr | 45 |  | 0
|  | TOTAL SCHEDULE 6 CARRIED FORWARD TO SUMMARY |  |  |  | 0
C2.2.17

## Summary
MOSES KOTANE LOCAL MUNICIPALITY
MAHOBIESKRAAL BULK WATER SUPPLY
018/MKLM/2022/2023
BILL OF QUANTITIES
Summary
Summary
TENDER
Schedule No. | Description | Amount ( R )
1 | Preliminary and General | 249500
2 | Day Works | 0
3 | Earthworks (Water Trenches) | 0
4 | Medium Pressure Pipelines | 0
5 | Reservoirs & Pumpstation | 704000
6 | Horizontal Drilling | 0
SUB-TOTAL A |  | 953500
10% CONTIGENCIES (ON SUB-TOTAL A) |  | 95350
SUB-TOTAL B (SUB-TOTAL A + 10% CONTIGENCIES) |  | 1048850
15% VAT (ON SUB-TOTAL B) |  | 157327.5
SUB TOTAL C (SUBTOTAL C+ 15% VAT) |  | 1206177.5
TOTAL |  | 1206177.5
C2.2.18