## P&G
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| SABS 1200A | SECTION 1: PRELIMINARY AND GENERAL
1.1 | 8.3 | FIXED-CHARGE ITEMS
1.1.1 | 8.3.1 | Contractual Requirements | Sum | 1
| PSA 8.3.2 | Establishment of facilities on Site for the duration of construction
| PSA 8.3.2.1 | Facilities for Engineer (SABS 1200AB)
1.1.2 |  | a) Offices per PSAB 3.2.1 - type 2 | No. | 1
1.1.3 |  | b) Nameboards | No. | 2
1.1.4 |  | c) Carports | No. | 1
| 8.3.2.2 | Facilities for Contractor
1.1.5 |  | a) Offices and storage sheds | Sum | 1
1.1.6 |  | b) Laboratories | Sum | 1
1.1.7 |  | c) Living accommodation | Sum | 1
1.1.8 |  | d) Workshops | Sum | 1
1.1.9 |  | e) Ablution and latrine facilities | Sum | 1
1.1.11 |  | f) Tools and equipment | Sum | 1
1.1.12 |  | g) Water supplies, electrical power and telecommunication | Sum | 1
1.1.13 |  | h) Dealing with water | Sum | 1
1.1.14 |  | i) Access and Security | Sum | 1
1.1.15 |  | j) Plant | Sum | 1
| PSA 8.3.3 | Other fixed-charge items (specify)
1.1.16 | PSA 8.3.3 | a) Complying with Health and Safety Specification | Sum | 1
1.1.17 |  | b) Provision for Ocupatioanal Health and Safety Specification | Prov Sum | 1
1.1.18 | 8.3.4 | Removal of site establishment | Sum | 1
1.2 | 8.4 | TIME RELATED ITEMS
1.2.1 | 8.4.1 | Contractual Requirements | Sum | 1
0
| 8.4.2 | Operation and maintenance of facilities on Site, for the duration of construction, except where otherwise stated | Sum | 1
1 |  | Carried forward
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Brought forward
| PSA 8.4.2.1 | Facilities for Engineer (SABS 1200AB)
1.2.2 |  | a) Offices as per PSAB 3.2.1 - type 2 | Sum | 1
1.2.3 |  | b) Name Boards | Sum | 1
1.2.4 |  | c) Survey assistants and equipment | Sum | 1
1.2.5 |  | d) Car ports | Sum | 1
| 8.4.2.2 | Facilities for Contractor
1.2.6 |  | a) Offices and storage sheds | Sum | 1
1.2.7 |  | b) Laboratories | Sum | 1
1.2.8 |  | c) Living accommodation | Sum | 1
1.2.9 |  | d) Workshops | Sum | 1
1.2.10 |  | e) Ablution and latrine facilities | Sum | 1
1.2.11 |  | f) Tools and equipment | Sum | 1
1.2.12 |  | g) Water supplies, electrical power and telecommunication | Sum | 1
1.2.13 |  | h) Dealing with water | Sum | 1
1.2.14 |  | i) Access and Security | Sum | 1
1.2.15 |  | j) Plant | Sum | 1
1.2.16 | 8.4.3 | Supervision for duration of construction | Sum | 1
1.2.17 | 8.4.4 | Company and Head Office overhead costs for the duration of the contract | Sum | 1
| PSA 8.4.5 | Other time related obligations
1.2.18 | PSA 8.4.5 | a) Compliance with OHS Act and Construction Regulations 2014 Including COID Act 130 of 1993 | Sum | 1
|  | b) Compliance with Covid-19 OHS Specifications (Icluding Covid-19 Safety Induction, Employees' Screening, Workplance Readiness Plan and Risk Assessment Safety Procedure file, Re-usable Masks, Hand Sanitiser with Spray and Non-contact forehead body infra-red thermometer. | Sum | 1
|  | c) Safety plan and file incl. all documentation required in terms of the Act, over the entire construction period | Months | 12
1.2.19 | PSA 8.4.5 | d) Tools and Equipment for labour intensive project | Sum | 1
1.2.20 | PSA 8.4.5 | e) Other cost for use of local labour | Sum | 1
1 |  | Carried forward
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Brought forward
1.3.1 |  | a) Independent testing of material | Prov Sum | 1 | 150000 | 150000
|  | b) Overhead, charges and profit on item 1.3.1a) | % | 150000
|  | c) Community Participation | Prov Sum | 1 | 10800 | 10800
|  | d) Overhead, charges and profit on item 1.3.1c) | % | 10800
|  | e) Community Liaison Officer | Prov Sum | 1 | 72000 | 72000
|  | f) Overhead, charges and profit on item 1.3.1e) | % | 72000
|  | g) Provision for Student Training | Prov Sum | 1 | 81000 | 81000
|  | h) Overhead, charges and profit on 1.3.1g) | % | 81000
1.4 | 8.7 | DAY WORKS
1.4.1 |  | Allowance for labour | Prov Sum | 1 | 150000 | 150000
1.4.2 |  | Percentage adjustment to item 1.4.1 | % | 150000
1.4.3 |  | Allowance for material | Prov Sum | 1 | 40000 | 40000
1.4.4 |  | Percentage adjustment to item 1.4.3 | % | 40000
1.4.5 |  | Allowance for plant | Prov Sum | 1 | 50000 | 50000
1.4.6 |  | Percentage adjustment to item 1.4.5 | % | 50000
1.5.1 | PSA 8.8.4 - LI | a) Excavate in soft material to expose existing services | m³ | 10
1.5.2 | PSA 8.8.4 - LI | b) Temporary Protection of Existing Services | Sum | 1
1.5.3 | PSA 8.8.7 | Dealing with other Service Authorities | Sum | 1
1 |  | TOTAL CARRIED TO SUMMARY

## Earthworks & Struct Concrete
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
5ML RESERVOIR
2.1 | SABS 1200C | SITE CLEARANCE
2.1.1 | 8.2.1 | Clear and Grub | m² | 2885
| SABS 1200 DA | EARTHWORKS
2.2 | 8.3.1 | Excavation
2.2.1 | 8.3.1 | a) Remove top soil to nominal depth of 100 mm, stockpile and maintain | m² | 1275
2.2.2 |  | b) Excavate in all materials and dispose | m³ | 1910
c) Extra-over for
2.2.3 |  | 1) Intermediate excavation | m³ | 285.038
2.2.4 |  | 2) Hard rock excavation | m³ | 765
2.2.5 |  | 3) Boulder excavation, Class A | m³ | 574
2.2.6 |  | 4) Boulder excavation, Class B | m³ | rate only
2.3 | 8.3.2 | Restricted Excavation
2.3.1 |  | a) Excavate for restricted foundations, footings, chambers and trenches | m³ | 400
in all materials and dispose
b) Extra-over item (a) above for:
2.3.2 |  | Intermediate excavation | m³ | 40
2.3.3 |  | Hard rock excavation | m³ | 300
2.3.4 | 8.3.6 | Topsoiling | m² | 1990
2.4 | SABS 1200 DM | EARTHWORKS (ROADS, SUBGRADE)
2.4.1 |  | Road bed preparation by compaction of in-situ material to 93%ModAASHTO | m² | 180
2.4.2 |  | Roadbed wearing coarse compacted to 95%ModAASHTO | m³ | 40
| SABS 1200 G | CONCRETE (STRUCTURAL)
| 8.2 | SCHEDULED FORMWORK ITEMS
2.5 | 8.2.1 | Rough
2.5.1 |  | a) Rough vertical plane to walls, footings and slabs in | m² | 660
reservoir below ground
2.5.2 |  | b) Rough vertical planes to walls and footings in pipe chambers | m² | 50
and sumps below the ground
2 |  | Carried forward
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Brought forward
2.6 | 8.2.2 | Smooth
2.6.1 |  | a) Vertical plane to curved walls above ground level | m² | 940
2.6.2 |  | b) Horizontal plane to roof slab soffit | m² | 890
2.6.3 |  | c) Vertical plane to up stand beam around roof slab | m² | 44
2.6.4 |  | d) Inclined plane to form shear cone at column heads | m² | 80
2.6.5 |  | e) Circular vertical plane to 300 mm diameter columns and apron slab | m² | 50
2.6.6 |  | f) Horizontal plane to roof slab soffit of chambers | m² | 20
2.7 | 8.2.5 | Narrow Widths (up to 200 mm wide)
2.7.1 |  | a) In reservoir structure | m | 400
2.7.2 |  | b) In vertical plane to chamber roof slab | m | 7
2.7.3 |  | c) Form 25 mm x 25 mm fillets around all exposed edges | m | 500
2.8 | PSG 8.2.6 | Box Out Holes / Form Voids
| PSG 8.2.6 (a) | Small, circular, of diameter up to and including 0,65 m
Over and up to and including
2.8.1 |  | 1) - 0,5 m deep | No. | 40
| PSG 8.2.6 (d) | Large, other than circular, of area over 0,1 m2 and up and
including to 1,5 m2
Over and up to and including
2.8.2 |  | 1) - 0,5 m deep | No. | 3
2.9 | 8.3 | SCHEDULED REINFORCEMENT ITEMS
2.9.1 | 8.3.1 | a) High tensile steel bars | t | 45
2.9.2 | 8.3.1 | b) Mild steel bars | t | 1
2.9.3 | PSG 8.3.2 | High-tensile welded mesh | t | 2.5
2.1 | SABS 1200 GF | PRESTRESSED CONCRETE
2.10.1 | 8.2.1 | Establishing on site, supply and maintenance | Sum | 1
of tensioning equipment
2.10.2 | 8.2.7.1 | Supply and install sheathing and tendons | MN.m | 2000
2.10.3 | 8.2.7.2 | Supply and install anchorages and couplers to suit
tendons
|  | a) Anchorage at jacking end | MN | 94
2.10.4 | 8.2.3.4 | Post-tensioning and grouting of items supplied under items 8.2.7.1 | No. | 42
and 8.2.7.2
2.10.5 | 8.2.6 | Special tests | Sum | 1
| SABS 1200 G | CONCRETE (STRUCTURAL)
2.11 | 8.4 | SCHEDULED CONCRETE ITEMS
2.11.1 | PSG 8.4.2 (a) | Blinding layer in class 15/19 concrete (100 mm thick) and no fines | m³ | 120
2 |  | Carried forward
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY
Brought forward
2.11.2 | PSG 8.4.2 (b) | No fines concrete, 85 mm thick around 110 geo pipes | m³ | 67
2.12 | 8.4.3 | Strength Concrete
2.12.1 |  | a) Grade 15/19 concrete for pipe surrounds at | m³ | 15
inlet/outlet and scour area
2.12.2 |  | b) Grade 25/19 concrete for floor slabs, walls | m³ | 60
and roof slabs of chambers, apron, V-drain
2.12.3 |  | c) Grade 25/19 mass concrete for levelling to make up for overblasting | m³ | 150
d) Grade 35/19 in reservoir:
2.12.4 |  | i) To column and wall footings | m³ | 45
2.12.5 |  | ii) Reservoir floor slab | m³ | 180
2.12.6 |  | iii) To Reservoir walls & buttresses | m³ | 1277
2.12.7 |  | iv) To internal columns and column heads (shear cones) | m³ | 15
2.12.8 |  | v) To reservoir roof slab | m³ | 180
2.12.9 |  | vi) To up stand beam around roof | m³ | 5
| 8.4.4 | Unformed surface finishes
2.13 |  | a) Wood-floated finish
2.13.1 |  | i) To top of concrete | m² | 423
2.14 |  | b) Steel-floated finish
2.14.1 |  | i) To top of foundation inside reservoir and strip footing | m² | 159
2.14.2 |  | ii) To reservoir floor | m² | 901
2.14.3 |  | iii) To reservoir roof | m² | 980
2.14.4 |  | iv) To top of reservoir wall | m² | 58
2.14.5 |  | v) To top of roof up stand | m² | 32
2.14.6 |  | vi) To top of chamber floor slabs | m² | 12
2.14.7 |  | vii) To top of chamber walls | m² | 4
2.14.8 |  | viii ) To top of chamber roof | m² | 5
2.14.9 | PSG 8.4.7 | Pipes and conduits embedded in concrete | No. | 10
2.14.10 | PSG 8.4.8 | Grouting of pipes / specials through walls | No. | 44
2.15 | 8.5 | Joints
2.15.1 |  | a) Wall construction joint complete as detailed on the drawings | m | 465
2.15.2 |  | b) Joints between floor panels with 250 mm wide bandage and | m | 205
dowels as shown on drawing
2.15.3 |  | c) Joints between floor and wall complete with | m | 106
rear waterbar complete as detailed on the drawings
2 |  | Carried forward
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Brought forward
2.16 | PSG 8.11 | Miscellaneous
2.16.1 |  | a) Supply and install under reservoir wall footings 2 No layers of 500µm | m² | 106
DPC to form slip joint as per details on drawing
2.16.2 |  | b) Supply and install roof Thermo insulation as detailed on drawings | m² | 835
2.16.3 | PSG 8.12 | 110 mm diameter perforated drain pipe | m | 35
2.16.4 | PSG 8.13 | Supply and install Limitgliss bearing strip between wall and roof | m | 215
2.16.5 | PSG 8.14 | Supply and install 6 No roof weepholes as per drawings | No. | 6
| PSG 8.15 | Supply and place 100mm thick layer of 25mm washed crush stone on the roof | m3 | 90
2.17 | PSG 8.16 | Reservoir and chamber access and ventilation
2.17.1 |  | a) Manhole cover and frame for reservoir access complete with locking | No. | 3
bar and lock
2.17.2 |  | b) Supply and install hot dipped galvanised roof ventilators to | No. | 21
the reservoir roof as indicated on the drawings
2.17.3 |  | c) Internal ladder to reservoir installed complete as indicated on the | No. | 1
drawings
2.17.4 |  | d) External ladder to reservoir installed complete as indicated on the | No. | 1
drawings
2.17.5 |  | e) PVC step irons installed in chambers | No. | 14
2.17.6 | PSG 8.9 | Testing for watertightness | Sum | 1
2.17.7 | PSG 8.10 | Cleansing and disinfection | Sum | 1
2.18 | PSG 8.19 | PROVISIONAL SUM
2.18.1 | PSG 8.19.1 | Provisional Sum for the supply and installation of a | Prov Sum | 1 | 5000 | 5000
chlorination dosing plant, with all connections in a 2 room brick building
2.18.2 | PSG 8.19.2 | Extra-over provisional sum for overheads and handling | % | 5000
2.18.3 |  | Provisional Sum for earthing and lightning protection | Prov Sum | 1 | 5000 | 5000
2.18.4 |  | Provisional Sum for telemetry | Prov Sum | 1 | 10000 | 10000
2.18.5 |  | Conduct a full condition assessment on the reservoir and repairs | Prov Sum | 1 | 1345000 | 1345000
|  | Extra-over provisional sum for overheads and handling for item 2.18.5 above | % | 1345000
2.19 |  | FENCING AND GATE
| PSL 8.2.22 | Supply and erection of new fencing material:
2.19.1 |  | Erect 2 100 mm high security fencing with flat rap razor | m | 215
wire on top as indicated on drawings
| PSL 8.2.23 | New gates:
2.19.2 |  | (b) Double leaf, install 5 m wide vehicle gate (Complete with all | No. | 1
gate poles and stay poles as per drawing)
2.19.3 |  | (c) Supply padlocks (50 mm wide) with 2 keys | No. | 2
2.20 |  | Surface preparation for bedding and installation of gabions
2.20.1 |  | Prepare surface for bedding and installation of 1m x 1m x 1m PVC coated hexagonal woven mesh gabion matresses | m² | 190
| 2 | TOTAL CARRIED TO SUMMARY

## Access Roads
SCHEDULE OF QUANTITIES
LEDIG WATER SUPPLY
| DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNTS
ITEM No.
Access Roads to the Works.
| Provision and maintenance of construction access to sites, camp or pipeline routes as required by the contractor. | Prov Sum | 1 | 50000 | 50000
| Overheads, charges and profit on item 6.1.1 | % | 50000
Access Roads to the Residential entrances.
| Provision and maintenance of construction access to residential access as before removal of any concrete or paving as by the contractor. | Prov Sum | 1 | 50000 | 50000
| Overheads, charges and profit on item 6.2.1 | % | 50000
Carried to Summary

## Pipework
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
[5 empty] | R | R
3 |  | PIPEWORK
3.1 | SABS 1200 DB | EARTHWORKS (PIPE TRENCHES)
| PSDB 8.3.2 | EXCAVATION
a) Excavate in all material for trenches, backfill, compact and
dispose of surplus material (base width up to 1,0 metre)
Excavation Depth:
3.1.1 |  | Over and Up to 2.5m | m3 | 8870
b) Extra-over item (a) above for:
3.1.2 |  | Hard rock excavation | m3 | 2660
| 8.3.3 | Excavation ancillaries
| 8.3.3.1 | Backfill material and compact to 90%ModAASHTO
3.1.3 |  | b) by importation from designated borrow pits | m3 | 1775
| SABS 1200 LB | BEDDING (PIPES)
3.1.4 | 8.2.1 | Provision of bedding | m3 | 1290
3.2A | SABS 1200 L | MEDIUM PRESSURE PIPELINES
| PSL 8.2.18 | Supply and installation of 8mm thick galvanised pipes and fittings
for connection to the reservoiras indicated on dwgs
3.2A.1 |  | a) Overflow pipe work 200mm ND (incl bell mouth) | m | 20
3.2A.2 |  | b) Scour pipe work 200mm ND (incl bell mouth) | m | 30
a 250mm x 6081.94m
3.2A.3 |  | c) Inlet pipe work 250mm ND | m | 60 |  |  | 315mm x 5975.54m
3.2A.4 |  | d) Outlet pipe work 315mm ND | m | 70
3.2 B |  | Supply, Lay and Bed uPVC Pipes Complete:
|  | a) 315 mm uPVC pipes - Class 16 | m | 4506
|  | b) 250 mm uPVC pipes - Class 16 | m | 4477
|  | c) Extra-over item for: Steel Pipe | Sum | 1
| PSL 8.2.19 | VALVE CHAMBERS
Rates inclusive of additional excavation, provision of all materials, concrete
and construction of valve chambers, pipes, pipe specials, fittings
and assembly as shown on drawings
3.2.5 |  | a) Scour and Overflow chambers | No. | 1
3.2.6 |  | b) Inlet chamber with 3 isolating valves | No. | 1
3.2.7 |  | c) Outlet chamber with 3 isolating chambers | No. | 1
3.2.8 |  | d) Airvalve chamber | No. | 1
3.2.9 |  | e) Electromagnetic meter chamber | No. | 1
3.2.10 |  | f) Reducer 250/160 complete with flanges | No. | 2
3.2.11 |  | h) Upvc adapter 250mm ND | No. | 1
3.2.12 |  | h) Upvc adapter 350mm ND | No. | 1
Carried forward
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Brought forward
3.3 |  | ROAD CROSSING
|  | Provision for road crossing saw cutting and replace with asphalt surfing 20mm thick by the contractor. | Prov Sum | 1 | 40000 | 40000
|  | Overheads, charges and profit on item 6.3.1 | % | 40000
3.4 | PSL 8.2.20 | VALVE ASSEMBLIES
Rates for the supply and installation of all valves and fittings required
for the different valve chambers as indicated on drawings
inclusive of additional excavation, reinforcement and construction
3.4.1 |  | a) Scour valves 250mm ND PN16 RSV non-rising spindle | No. | 1
3.4.2 |  | b) Inlet valves 250mm ND PN16 RSV non-rising spindle | No. | 3
3.4.3 |  | c) Outlet valves 350mm ND PN16 gate valves non-rising spindle | No. | 3
3.4.4 |  | d) Airvalve Vent-O-Max RBX 1601, 100mm ND | No. | 1
3.4.5 |  | e ) Electromagnetic flow meter 250mm ND | No. | 1
3.4.6 | PSL 8.2.21 | Electrical installation for flow meters | Sum | 1
3.5 | SABS 1200G | CONCRETE
Rates inclusive of additional excavation, provision of all materials,
reinforcement and construction as shown on drawings
3.3.1 |  | a) Scour Pipe concrete (200mm ND pipe) | m3 | 11
3.3.2 |  | b) Overflow Pipe concrete (200mm ND pipe) | m3 | 10
3.3.3 |  | c) Inlet Pipe thrust block concrete (250mm ND pipe) | m3 | 5
3.3.4 |  | d) Outlet Pipe thrust block concrete (350mm ND pipe) | m3 | 3
TOTAL CARRIED TO SUMMARY

## Structured Training
LEDIG WATER SUPPLY
SCHEDULE OF QUANTITIES
ITEM | PAYMENT | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
4 |  | Provision of Structured Training
4.1 |  | Provision for Accredited Training in Generic Skills | Prov.Sum | 1 | 175000 | 175000
4.2 |  | Handling Costs in respect of 4.1 above | % | 175000
4.3 |  | Training Venue (Only If Required) | Lump Sum | 1 | 7500 | 7500
TOTAL CARRIED FORWARD TO SUMMARY

## Summary
SUMMARY OF SECTIONS
NO | ITEM SUMMARY | AMOUNT (R)
1 | Preliminary and General
2 | Earthworks and Structural Concrete Works
3 | Access Roads
4 | Pipework
5 | Provision of Structured Training
SUB TOTAL
CONTINGENCIES (10%) - This amount is under the sole control of the employer
SUB TOTAL
Add 15% VAT
TENDER SUM (CONTRACT) PRICE CARRIED TO FORM OF OFFER OF ACCEPTANCE
TOTAL
0